======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-804

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-CON-001

--------------------------------------------------

ASSEMBLY NAME

Door, Window & Perimeter Contact Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Perimeter Contact Detection System

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-801 Intrusion Detection Control Panel Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Door, Window & Perimeter Contact Assembly

establishes the engineering standard for installing,

configuring, testing, documenting, and commissioning

magnetic contact devices used to monitor perimeter

openings within Digitally Defined intrusion detection

systems.

The assembly standardizes recessed contacts,

surface-mounted contacts, overhead door contacts,

balanced magnetic switches, gate contacts, tamper

monitoring, supervised wiring, and perimeter

protection while maximizing reliability and minimizing

false alarms.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Intrusion control panel operational.

• Protected openings identified.

• Door and window hardware installed.

• Environmental conditions reviewed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Retail

• Warehouses

• Industrial Facilities

• Educational Facilities

======================================================================

STANDARD SCOPE

Includes

• Door Contacts

• Window Contacts

• Recessed Contacts

• Surface Contacts

• Overhead Door Contacts

• Gate Contacts

• Balanced Magnetic Switches

• Tamper Monitoring

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Contact Response

Verified

--------------------------------------------------

Alignment Accuracy

Verified

--------------------------------------------------

False Alarm Resistance

Optimized

--------------------------------------------------

Tamper Monitoring

Verified

--------------------------------------------------

Zone Supervision

Continuous

--------------------------------------------------

Alarm Reporting

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous perimeter protection

--------------------------------------------------

Expandability

Supports future protected openings

--------------------------------------------------

Maintenance Accessibility

Serviceable without structural demolition

--------------------------------------------------

Acceptance Criteria

Every protected opening shall accurately report

its secure or open condition while maintaining

continuous supervision and reliable intrusion

detection performance.

======================================================================

SUPPORTED CONTACT TYPES

Door Contacts

• Recessed Magnetic Contact

• Surface Magnetic Contact

• High-Security Contact

--------------------------------------------------

Window Contacts

• Recessed Window Contact

• Surface Window Contact

--------------------------------------------------

Specialty Contacts

• Overhead Door Contact

• Roller Door Contact

• Gate Contact

• Balanced Magnetic Switch

======================================================================

INSTALLATION REQUIREMENTS

Alignment

Per manufacturer specification

--------------------------------------------------

Gap Distance

Within manufacturer tolerance

--------------------------------------------------

Mounting Method

Secure and permanent

--------------------------------------------------

Fastener Type

Per substrate requirements

--------------------------------------------------

Environmental Rating

Verified for installation location

======================================================================

SUPERVISION REQUIREMENTS

Loop Supervision

Required

--------------------------------------------------

End-of-Line Resistors

Single or Double EOL

Per manufacturer specification

--------------------------------------------------

Tamper Monitoring

Enabled where supported

--------------------------------------------------

Zone Labels

Required

--------------------------------------------------

Wire Integrity

Verified

======================================================================

ENVIRONMENTAL REQUIREMENTS

Indoor

Standard contacts

--------------------------------------------------

Outdoor

Weather-rated contacts

--------------------------------------------------

High-Vibration Areas

Heavy-duty contacts

--------------------------------------------------

Corrosive Environments

Approved corrosion-resistant hardware

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Zone Capacity

Minimum 20% reserve

--------------------------------------------------

Expansion

Future protected openings

Additional perimeter zones

Gate monitoring

Warehouse expansion

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Zone Supervision

Continuous

--------------------------------------------------

Tamper Detection

Enabled

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review protected opening schedule

• Verify contact type

• Verify mounting method

• Verify zone assignment

--------------------------------------------------

MATERIAL VERIFICATION

• Contacts verified

• Magnets verified

• Mounting hardware verified

• Wiring verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable routing

• Verify conduit

• Verify supervised wiring

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install contact

• Install magnet

• Verify alignment

• Connect supervised loop

• Label wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure zone

• Configure supervision

• Configure reporting

• Configure tamper monitoring

--------------------------------------------------

TESTING & COMMISSIONING

• Verify open condition

• Verify closed condition

• Verify alignment

• Verify tamper alarm

• Verify reporting

• Verify supervision

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Contact alignment verified

□ Open/closed reporting verified

□ Tamper verified

□ Zone supervision verified

□ Reporting verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Contacts secure

□ Wiring protected

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Protected Opening Schedule

□ Zone Assignment

□ Contact Type Schedule

□ Alignment Verification

□ Test Report

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Contacts

Manufacturer Warranty

Infrastructure

25+ Years

Annual inspection recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Supervised Zone

• Open

• Closed

• Tamper

• Trouble

• Relay Output

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Magnet Alignment Gauge

• Drill

• Laptop

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Builder

□ Door and window installation verified

--------------------------------------------------

Security

□ Protected opening schedule approved

--------------------------------------------------

Electrical

□ Wiring verified

--------------------------------------------------

Customer

□ Protected opening list approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-805 Sirens, Strobes &

Alarm Notification Assembly

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

ASM-807 Intrusion System Integration &

Automation Assembly

ASM-808 Life Safety &

Environmental Detection Assembly

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every protected opening shall utilize the approved

contact type specified by engineering.

--------------------------------------------------

2.

Contact alignment shall remain within manufacturer

tolerances throughout the full operating range of

the opening.

--------------------------------------------------

3.

Every contact circuit shall utilize supervised

wiring in accordance with manufacturer requirements.

--------------------------------------------------

4.

Weather-rated contacts shall be installed in all

exterior or exposed environments.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include alignment records,

QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Excessive contact gap

• Incorrect contact type

• Poor alignment

• Missing supervision

• Outdoor contact installed indoors only

• Unverified tamper monitoring

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

UL 634 Standards

UL 681 Standards

False Alarm Reduction Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-804

======================================================================