======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-806

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-COM-001

--------------------------------------------------

ASSEMBLY NAME

Alarm Communication & Central Station Monitoring Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Alarm Communications & Monitoring

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-801 Intrusion Detection Control Panel Assembly

ASM-503 Managed Network Switch Assembly

ASM-507 UPS & Power Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Alarm Communication & Central Station Monitoring

Assembly establishes the engineering standard for

configuring, validating, documenting, and

commissioning alarm communication systems and

professional monitoring services.

The assembly standardizes dual-path communication,

central station integration, encrypted signal

transmission, communication supervision, reporting

formats, failover behavior, remote diagnostics,

and long-term reliability.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Intrusion control panel operational.

• Internet service available.

• Cellular service available where specified.

• Central monitoring account established.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Retail

• Warehouses

• Educational Facilities

• Industrial Facilities

======================================================================

STANDARD SCOPE

Includes

• IP Communication

• Cellular Communication

• Dual-Path Reporting

• Central Station Monitoring

• Remote Diagnostics

• Customer Notifications

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Signal Delivery

Verified

--------------------------------------------------

Communication Supervision

Continuous

--------------------------------------------------

Failover Performance

Verified

--------------------------------------------------

Central Station Reporting

Verified

--------------------------------------------------

Encryption

Verified

--------------------------------------------------

Event Logging

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Dual-path communication

--------------------------------------------------

Expandability

Supports future communication methods

--------------------------------------------------

Maintenance Accessibility

Remote diagnostics supported

--------------------------------------------------

Acceptance Criteria

Alarm events shall be securely transmitted to the

approved monitoring destination with verified

redundancy, supervision, and event confirmation.

======================================================================

SUPPORTED COMMUNICATION METHODS

Primary

• Ethernet

• Fiber

--------------------------------------------------

Secondary

• LTE Cellular

• 5G Cellular

--------------------------------------------------

Additional

• Wi-Fi (where approved)

• Radio Network (where applicable)

======================================================================

SUPPORTED REPORTING FORMATS

Reporting Protocols

• Contact ID

• SIA DC-09

• Manufacturer Proprietary Protocols

--------------------------------------------------

Encryption

TLS/HTTPS required where supported

--------------------------------------------------

Communication Polling

Configured

--------------------------------------------------

Supervision Interval

Configured

======================================================================

CENTRAL STATION CONFIGURATION

Monitoring Account

Verified

--------------------------------------------------

Receiver Programming

Verified

--------------------------------------------------

Signal Priorities

Configured

--------------------------------------------------

Opening/Closing Reports

Customer selectable

--------------------------------------------------

Test Signals

Scheduled

--------------------------------------------------

Communication Failure Reporting

Verified

======================================================================

REMOTE DIAGNOSTICS

Supported Functions

• Panel Health

• Communication Status

• Firmware Status

• Event History

• Remote Programming

• Remote Testing

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Communication Capacity

Minimum 20% reserve

--------------------------------------------------

Bandwidth

Verified

--------------------------------------------------

Future Expansion

Cloud monitoring

Enterprise dashboards

AI event verification

Multi-site management

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Remote Access

Encrypted only

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify communication methods

• Verify monitoring requirements

• Verify redundancy requirements

• Verify reporting format

--------------------------------------------------

MATERIAL VERIFICATION

• Communicator verified

• Cellular module verified

• SIM activation verified

• Network hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify communication wiring

• Verify antenna placement

• Verify conduit

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure IP reporting

• Configure cellular reporting

• Configure supervision

• Configure polling intervals

• Configure test reports

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify IP communication

• Verify cellular communication

• Verify failover

• Verify central station receipt

• Verify customer notifications

• Verify remote diagnostics

--------------------------------------------------

PERFORMANCE VERIFICATION

□ IP reporting verified

□ Cellular reporting verified

□ Failover verified

□ Central station receipt verified

□ Test signals verified

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Communication paths documented

□ Signal priorities verified

□ Documentation complete

□ Photos complete

□ Screenshots archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Communication Configuration

□ Monitoring Account Information

□ Receiver Programming

□ Reporting Schedule

□ Test Signal Schedule

□ Communication Test Report

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Communicator

Manufacturer Warranty

Infrastructure

25+ Years

Annual communication verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• LTE

• 5G

• Contact ID

• SIA DC-09

• HTTPS

• TLS

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• Cellular Signal Tester

• Communication Test Software

• Label Printer

======================================================================

INTER-TRADE COORDINATION

IT

□ Internet service verified

--------------------------------------------------

Cellular Provider

□ Signal strength verified

--------------------------------------------------

Monitoring Center

□ Account activation verified

--------------------------------------------------

Customer

□ Notification recipients approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-807 Intrusion System Integration &

Automation Assembly

ASM-808 Life Safety &

Environmental Detection Assembly

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

Future Enterprise Monitoring Standards

======================================================================

INSTALLATION RULES

1.

Dual-path communication shall be utilized whenever

required by engineering design or customer

requirements.

--------------------------------------------------

2.

Communication supervision shall remain enabled at

all times.

--------------------------------------------------

3.

Every monitoring account shall be validated using

live alarm transmission testing.

--------------------------------------------------

4.

Configuration backups shall be completed before

customer acceptance.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include communication test

records, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Single communication path only

• Incorrect receiver programming

• Weak cellular signal

• Disabled supervision

• Unverified failover

• Missing test signal schedule

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

UL 827 Standards

SIA DC-09 Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-806

======================================================================