======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-807

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-INT-001

--------------------------------------------------

ASSEMBLY NAME

Intrusion System Integration & Automation Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Intrusion System Integration

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-503 Managed Network Switch Assembly

ASM-505 Network Controller Assembly

ASM-605 Video Analytics & AI Detection Assembly

ASM-701 Access Control Panel Assembly

ASM-801 Intrusion Detection Control Panel Assembly

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Intrusion System Integration & Automation

Assembly establishes the engineering standard for

integrating intrusion detection systems with

surveillance, access control, automation platforms,

lighting, HVAC, intercoms, emergency notification,

and enterprise management systems.

The assembly standardizes event-driven automation,

cross-platform communication, API integration,

relay logic, synchronized event processing, alarm

verification, and unified system operation throughout

Digitally Defined security environments.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Intrusion detection system operational.

• Network infrastructure operational.

• Integrated platforms available.

• Customer automation requirements approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Estates

• Commercial Offices

• Retail

• Warehouses

• Healthcare

• Educational Facilities

• Enterprise Facilities

======================================================================

STANDARD SCOPE

Includes

• API Integration

• Relay Interfaces

• Surveillance Integration

• Access Control Integration

• Automation Workflows

• Customer Notifications

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Integration Response

Less than 2 seconds

--------------------------------------------------

Alarm Synchronization

Verified

--------------------------------------------------

Automation Reliability

Verified

--------------------------------------------------

Cross-System Communication

Continuous

--------------------------------------------------

Alarm Verification

Verified

--------------------------------------------------

Audit Logging

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Integration

--------------------------------------------------

Reliability

Enterprise-grade interoperability

--------------------------------------------------

Expandability

Supports future integrations

--------------------------------------------------

Maintenance Accessibility

Software configurable

--------------------------------------------------

Acceptance Criteria

Integrated systems shall reliably exchange alarm,

status, and automation events while maintaining

synchronized operation, secure communications,

and complete audit history.

======================================================================

SUPPORTED INTEGRATIONS

Security Systems

• Surveillance Systems

• Access Control Systems

• Central Station Monitoring

• Video Verification

• Intercom Systems

--------------------------------------------------

Building Systems

• Lighting Control

• HVAC

• Gate Operators

• Garage Doors

• Mass Notification

--------------------------------------------------

Automation Platforms

• Control4

• Crestron

• Savant

• Josh.ai

• RTI

======================================================================

AUTOMATION EVENTS

Supported Triggers

• Intrusion Alarm

• Panic Alarm

• Duress Alarm

• Glass Break

• Motion Detection

• Door Contact Alarm

• System Arm

• System Disarm

--------------------------------------------------

Supported Actions

• Camera Recording

• PTZ Presets

• Lighting Activation

• HVAC Shutdown

• Gate Lock

• Push Notifications

• Email Alerts

• Audio Announcements

======================================================================

VIDEO VERIFICATION

Supported Functions

• Camera Pop-Up

• Event Bookmarking

• AI Verification

• Alarm Clip Recording

• Live View Launch

--------------------------------------------------

Recording Verification

Required

--------------------------------------------------

Event Correlation

Verified

======================================================================

SYSTEM SYNCHRONIZATION

Clock Synchronization

Required

--------------------------------------------------

API Health Monitoring

Enabled

--------------------------------------------------

Relay Status

Verified

--------------------------------------------------

Event Time Stamps

Verified

--------------------------------------------------

Failover Recovery

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

API Capacity

Minimum 20% reserve

--------------------------------------------------

Relay Capacity

Minimum 20% reserve

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Future Expansion

Cloud Monitoring

AI Alarm Verification

Enterprise Security Platforms

Unified Security Management

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

API Authentication

Required

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Webhook Security

Verified

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review integration matrix

• Review automation sequences

• Review customer workflows

• Review API requirements

--------------------------------------------------

MATERIAL VERIFICATION

• API licensing verified

• Relay modules verified

• Integration software verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify relay wiring

• Verify communication pathways

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure integrations

• Configure API interfaces

• Configure relay logic

• Configure alarm workflows

• Configure notifications

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify alarm synchronization

• Verify surveillance integration

• Verify access control integration

• Verify automation events

• Verify notifications

• Verify failover

--------------------------------------------------

PERFORMANCE VERIFICATION

□ API communication verified

□ Automation verified

□ Alarm synchronization verified

□ Video verification verified

□ Audit logging verified

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Integration matrix complete

□ API credentials secured

□ Documentation complete

□ Screenshots archived

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Integration Matrix

□ Automation Workflow

□ API Configuration

□ Relay Logic Schedule

□ Notification Matrix

□ Event Correlation Report

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Software

Manufacturer Warranty

Infrastructure

25+ Years

Annual integration validation recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• HTTPS

• TLS

• API Calls

• Webhooks

• Relay Outputs

• Alarm Metadata

• Ethernet

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• API Testing Software

• Network Analyzer

• Automation Programming Software

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Security

□ Integration verified

--------------------------------------------------

Automation

□ Workflows approved

--------------------------------------------------

IT

□ API security verified

--------------------------------------------------

Customer

□ Alarm workflow approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-808 Life Safety &

Environmental Detection Assembly

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

Future Enterprise Security Management Standards

Future Smart Building Standards

======================================================================

INSTALLATION RULES

1.

Integrated systems shall maintain synchronized time

and event logging.

--------------------------------------------------

2.

API credentials shall be securely stored and never

shared between unrelated systems.

--------------------------------------------------

3.

Alarm workflows shall be validated under both

normal and fault conditions.

--------------------------------------------------

4.

Video verification workflows shall be tested before

project turnover.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include automation

workflow documentation, API configuration records,

QC photographs, commissioning reports, and updated

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unsynchronized system clocks

• Incorrect alarm sequencing

• Unsecured API credentials

• Missing relay validation

• Unverified video verification

• Incomplete failover testing

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

API Integration Standards

Cybersecurity Standards

Building Automation Standards

ONVIF Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-807

======================================================================