======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-808

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-LSE-001

--------------------------------------------------

ASSEMBLY NAME

Life Safety & Environmental Detection Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Life Safety & Environmental Monitoring

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-801 Intrusion Detection Control Panel Assembly

ASM-805 Sirens, Strobes &

Alarm Notification Assembly

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Life Safety & Environmental Detection Assembly

establishes the engineering standard for integrating

life safety and environmental monitoring devices into

Digitally Defined intrusion detection systems.

The assembly standardizes smoke interfaces, carbon

monoxide detection, heat detection, flood monitoring,

freeze protection, temperature monitoring, panic and

duress devices, supervisory inputs, emergency

notification, and environmental alarm management.

Life safety shall always take precedence over

security-related functions.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Intrusion control panel operational.

• Notification appliances operational.

• Environmental monitoring requirements approved.

• AHJ requirements reviewed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Warehouses

• Healthcare

• Educational Facilities

• Mixed-Use Buildings

======================================================================

STANDARD SCOPE

Includes

• Smoke Alarm Interfaces

• Carbon Monoxide Detection

• Heat Detection

• Flood Detection

• Freeze Detection

• Temperature Monitoring

• Panic Buttons

• Duress Devices

• Environmental Supervision

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Environmental Detection

Verified

--------------------------------------------------

Life Safety Response

Verified

--------------------------------------------------

Alarm Notification

Verified

--------------------------------------------------

Zone Supervision

Continuous

--------------------------------------------------

Event Reporting

Verified

--------------------------------------------------

Emergency Automation

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous life safety readiness

--------------------------------------------------

Expandability

Supports future environmental sensors

--------------------------------------------------

Maintenance Accessibility

Accessible for servicing

--------------------------------------------------

Acceptance Criteria

Life safety and environmental devices shall

continuously monitor protected conditions,

generate immediate alarms, and integrate with

notification and automation systems in accordance

with engineering requirements.

======================================================================

SUPPORTED DETECTION DEVICES

Life Safety

• Smoke Alarm Interface

• Heat Detector

• Carbon Monoxide Detector

• Manual Panic Button

• Duress Button

--------------------------------------------------

Environmental

• Flood Sensor

• Water Leak Detector

• Freeze Sensor

• Temperature Sensor

• Humidity Sensor

• Sump Pump Failure Monitor

• Power Loss Monitor

======================================================================

ALARM PRIORITY

Priority 1

Life Safety Events

--------------------------------------------------

Priority 2

Environmental Damage

--------------------------------------------------

Priority 3

Security Events

--------------------------------------------------

Priority 4

Supervisory Events

--------------------------------------------------

Notification Routing

Configured

======================================================================

AUTOMATION EVENTS

Supported Actions

• Customer Notification

• Central Station Reporting

• Lighting Activation

• HVAC Shutdown

• Water Shutoff Valve

• Camera Recording

• Push Notifications

• Email Alerts

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Zone Capacity

Minimum 20% reserve

--------------------------------------------------

Power Capacity

Minimum 25% reserve

--------------------------------------------------

Communication Capacity

Verified

--------------------------------------------------

Future Expansion

Additional sensors

Water management

Smart building analytics

Enterprise environmental monitoring

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Alarm History

Protected

--------------------------------------------------

Remote Diagnostics

Encrypted

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review environmental risks

• Review life safety requirements

• Review AHJ requirements

• Review customer notification policy

--------------------------------------------------

MATERIAL VERIFICATION

• Sensors verified

• Interfaces verified

• Notification devices verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify supervised wiring

• Verify conduit

• Verify environmental sensor locations

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure environmental zones

• Configure notification routing

• Configure automation

• Configure supervision

• Configure reporting

--------------------------------------------------

TESTING & COMMISSIONING

• Verify smoke interface

• Verify CO alarm

• Verify flood detection

• Verify freeze detection

• Verify panic button

• Verify customer notifications

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Environmental monitoring verified

□ Life safety alarms verified

□ Notification routing verified

□ Automation verified

□ Zone supervision verified

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Sensors secure

□ Labels complete

□ Documentation complete

□ Photos complete

□ Screenshots archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Environmental Sensor Schedule

□ Life Safety Interface Report

□ Notification Matrix

□ Automation Matrix

□ Functional Test Report

□ Configuration Backup

□ Customer Training Record

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Sensors

Manufacturer Warranty

Infrastructure

25+ Years

Annual functional testing recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Supervised Inputs

• Environmental Alarms

• Panic Inputs

• Relay Outputs

• HTTPS

• TLS

• Ethernet

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Environmental Sensor Tester

• Laptop

• Network Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Sensor power verified

--------------------------------------------------

Plumbing

□ Water shutoff integration verified

--------------------------------------------------

HVAC

□ HVAC shutdown verified

--------------------------------------------------

Fire Alarm

□ Interface verified

--------------------------------------------------

Customer

□ Notification priorities approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

Future Smart Building Standards

Future Enterprise Environmental Monitoring Standards

======================================================================

INSTALLATION RULES

1.

Life safety events shall always receive the highest

notification priority.

--------------------------------------------------

2.

Environmental sensors shall be installed only in

locations approved by engineering.

--------------------------------------------------

3.

Water shutoff automation shall be fully tested prior

to project turnover where installed.

--------------------------------------------------

4.

Every environmental device shall utilize supervised

monitoring where supported.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include environmental test

records, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Improper sensor placement

• Incorrect alarm priorities

• Missing environmental automation

• Disabled supervision

• Untested water shutoff systems

• Missing customer notification testing

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

Environmental Monitoring Standards

NFPA 72

UL Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-808

======================================================================