======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-809

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-COM-001

--------------------------------------------------

ASSEMBLY NAME

Intrusion Detection Commissioning &

Certification Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Intrusion Detection System Commissioning &

Final Acceptance

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-801 Intrusion Detection Control Panel Assembly

ASM-802 Motion Detection Assembly

ASM-803 Glass Break Detection Assembly

ASM-804 Door, Window &

Perimeter Contact Assembly

ASM-805 Sirens, Strobes &

Alarm Notification Assembly

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

ASM-807 Intrusion System Integration &

Automation Assembly

ASM-808 Life Safety &

Environmental Detection Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Intrusion Detection Commissioning &

Certification Assembly establishes the engineering

standard for final inspection, functional testing,

validation, documentation, customer training, and

formal acceptance of all Digitally Defined intrusion

detection systems.

This assembly verifies that every control panel,

sensor, communication path, notification appliance,

integration, environmental device, and automation

workflow operates in accordance with Digitally

Defined engineering standards before project

turnover.

======================================================================

ENGINEERING ASSUMPTIONS

• Installation complete

• Intrusion control panel operational

• Communication paths operational

• Notification appliances operational

• Documentation substantially complete

• Customer account established

======================================================================

STANDARD APPLICATIONS

Required For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Retail

• Warehouses

• Educational Facilities

• Enterprise Facilities

======================================================================

STANDARD SCOPE

Includes

• Engineering Verification

• Functional Testing

• Zone Validation

• Communication Testing

• Integration Testing

• Environmental Testing

• Documentation Review

• Customer Training

• Final Acceptance

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Verify

□ Zone Supervision

□ Motion Detection

□ Glass Break Detection

□ Contact Monitoring

□ Alarm Notification

□ Central Station Reporting

□ Environmental Monitoring

□ Event Logging

□ Battery Backup

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

100% Operational

--------------------------------------------------

Reliability

Continuous during testing

--------------------------------------------------

Performance

Meets engineering specifications

--------------------------------------------------

Documentation

100% Complete

--------------------------------------------------

Customer Acceptance

Required before project closeout

======================================================================

SYSTEM COMMISSIONING CHECKLIST

Intrusion Control Panel

□ Power verified

□ Battery backup verified

□ Firmware current

□ Zone supervision verified

--------------------------------------------------

Motion Detection

□ Walk tests completed

□ Coverage verified

□ Sensitivity verified

□ Tamper verified

--------------------------------------------------

Glass Break Detection

□ Simulator test completed

□ Coverage verified

□ Sensitivity verified

□ Tamper verified

--------------------------------------------------

Door & Window Contacts

□ Open/closed reporting verified

□ Alignment verified

□ Tamper verified

□ Supervision verified

--------------------------------------------------

Notification Appliances

□ Audible notification verified

□ Visual notification verified

□ Output supervision verified

□ Battery calculations verified

======================================================================

COMMUNICATION VALIDATION

Verify

□ IP communication

□ Cellular communication

□ Dual-path failover

□ Central station receipt

□ Test signal scheduling

□ Customer notifications

======================================================================

ENVIRONMENTAL & LIFE SAFETY VALIDATION

Verify

□ CO detection

□ Smoke interface

□ Heat detection

□ Flood detection

□ Freeze monitoring

□ Panic buttons

□ Environmental automation

======================================================================

SYSTEM INTEGRATION VALIDATION

Verify

□ Surveillance integration

□ Access control integration

□ Automation workflows

□ Video verification

□ API communication

□ Event synchronization

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Verify

□ Zone reserve maintained

□ Output reserve maintained

□ Power reserve maintained

□ Communication reserve maintained

□ Future expansion documented

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Verify

□ Default passwords removed

□ Administrator accounts secured

□ Firmware current

□ Configuration backups completed

□ Communication encryption verified

□ Audit logs verified

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING

• Review engineering package

• Review zone schedule

• Review reporting requirements

--------------------------------------------------

ENGINEERING VERIFICATION

• Verify panel

• Verify sensors

• Verify communications

• Verify notification devices

--------------------------------------------------

SYSTEM TESTING

• Zone testing

• Alarm testing

• Communication testing

• Automation testing

• Environmental testing

--------------------------------------------------

PERFORMANCE VALIDATION

• Response verification

• Failover verification

• Reporting verification

• Notification verification

• Automation verification

--------------------------------------------------

CUSTOMER TRAINING

• System operation

• Arming/disarming

• Alarm response

• Mobile applications

• Reporting

• Basic troubleshooting

--------------------------------------------------

FINAL ACCEPTANCE

• Documentation review

• Customer walkthrough

• Questions answered

• Customer approval

======================================================================

PERFORMANCE VERIFICATION

□ Hardware verified

□ Communications verified

□ Environmental monitoring verified

□ Integrations verified

□ Customer training completed

□ Documentation complete

□ Meets engineering design intent

======================================================================

QUALITY CONTROL INSPECTION

Verify

□ Labels complete

□ Firmware current

□ Configuration backups complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Intrusion Commissioning Report

□ Zone Schedule

□ Communication Configuration

□ Monitoring Account Information

□ Environmental Device Schedule

□ Automation Matrix

□ Firmware Inventory

□ Configuration Backups

□ Customer Training Record

□ Customer Acceptance Form

□ Warranty Registration

□ As-Built Drawings

□ Digital Project Record Updated

======================================================================

CUSTOMER ACCEPTANCE

Customer Demonstration

□ Completed

--------------------------------------------------

Monitoring Verification

□ Completed

--------------------------------------------------

Documentation Delivered

□ Completed

--------------------------------------------------

Customer Questions

□ Answered

--------------------------------------------------

Customer Acceptance

□ Signed

======================================================================

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Firmware

Maintain current supported release

Annual preventative maintenance recommended.

======================================================================

SIGNAL CLASSIFICATION

Verified Systems

• Ethernet

• LTE

• TLS

• Supervised Zones

• Relay Outputs

• Alarm Events

• Audit Logs

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Multimeter

• Network Analyzer

• Glass Break Simulator

• Walk Test Tool

• Sound Level Meter

• Cellular Signal Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Power verified

--------------------------------------------------

Network

□ Communication verified

--------------------------------------------------

Security

□ Final acceptance completed

--------------------------------------------------

Customer

□ Final walkthrough completed

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-901 Building Automation Controller Assembly

ASM-902 Smart Sensor Integration Assembly

ASM-903 Intelligent Relay &

I/O Controller Assembly

Future Enterprise Smart Building Standards

======================================================================

INSTALLATION RULES

1.

Every intrusion zone shall be fully tested before

project turnover.

--------------------------------------------------

2.

Every communication path shall be validated using

live alarm transmission testing.

--------------------------------------------------

3.

Every environmental device shall be tested under

approved operating conditions.

--------------------------------------------------

4.

Configuration backups shall be completed before

customer acceptance.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every project shall include commissioning reports,

QC photographs, customer training records,

configuration backups, warranty documentation,

and updated project records.

======================================================================

COMMON ERRORS TO AVOID

• Untested intrusion zones

• Missing communication failover testing

• Environmental devices not verified

• Incomplete automation testing

• Missing configuration backups

• Incomplete customer training

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

UL 681 Standards

UL 827 Standards

SIA Standards

Cybersecurity Standards

Commissioning Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-809

======================================================================