======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-901

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-CTL-001

--------------------------------------------------

ASSEMBLY NAME

Building Automation Controller Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Building Automation Controller

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-503 Managed Network Switch Assembly

ASM-505 Network Controller Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-509 Network Commissioning &

Certification Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Building Automation Controller Assembly

establishes the engineering standard for installing,

configuring, programming, documenting, and

commissioning intelligent building automation

controllers within Digitally Defined smart building

systems.

The assembly standardizes automation processing,

I/O management, protocol interoperability, edge

logic execution, controller redundancy, event

processing, cybersecurity, and long-term

serviceability.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Structured cabling complete.

• Network infrastructure operational.

• Dedicated power available.

• Automation architecture approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Luxury Residential

• Commercial Offices

• Mixed-Use Buildings

• Healthcare

• Educational Facilities

• Hospitality

• Industrial Facilities

======================================================================

STANDARD SCOPE

Includes

• Building Automation Controller

• Expansion Modules

• Local Processing

• Protocol Gateways

• Power Supply

• Controller Programming

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Controller Availability

24/7 Continuous Operation

--------------------------------------------------

Automation Processing

Verified

--------------------------------------------------

I/O Response

Verified

--------------------------------------------------

Network Communication

Verified

--------------------------------------------------

Event Processing

Verified

--------------------------------------------------

System Logging

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade automation

--------------------------------------------------

Expandability

Supports future automation systems

--------------------------------------------------

Maintenance Accessibility

Front-service accessible

--------------------------------------------------

Acceptance Criteria

The controller shall reliably execute automation

logic, communicate with connected systems,

maintain event history, and support future

building expansion without service interruption.

======================================================================

SUPPORTED PROTOCOLS

Native Protocols

• BACnet/IP

• BACnet MS/TP

• Modbus TCP

• Modbus RTU

--------------------------------------------------

Integration Protocols

• MQTT

• OPC UA

• HTTPS REST API

• SNMP

• KNX Gateway

======================================================================

CONTROLLER PERFORMANCE

Logic Execution

Verified

--------------------------------------------------

I/O Processing

Verified

--------------------------------------------------

Scheduling Engine

Verified

--------------------------------------------------

Trend Logging

Enabled

--------------------------------------------------

Alarm Processing

Verified

--------------------------------------------------

Controller Health Monitoring

Continuous

======================================================================

POWER REQUIREMENTS

Primary Power

Dedicated Circuit

--------------------------------------------------

UPS Backup

Required

--------------------------------------------------

Power Monitoring

Enabled

--------------------------------------------------

Low Voltage Monitoring

Verified

--------------------------------------------------

Power Fail Recovery

Automatic

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Controller Capacity

Minimum 25% reserve

--------------------------------------------------

CPU Utilization

Maximum 75%

--------------------------------------------------

Memory Utilization

Maximum 75%

--------------------------------------------------

Future Expansion

Additional controllers

Enterprise automation

Cloud integration

Digital Twin support

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review automation architecture

• Verify controller sizing

• Review protocol requirements

• Verify power requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Controller verified

• Expansion modules verified

• Power supply verified

• Network hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify cabling

• Verify grounding

• Verify network pathways

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install controller

• Install expansion modules

• Connect communications

• Label all wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure protocols

• Configure controller logic

• Configure schedules

• Configure alarms

• Configure trend logs

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify controller operation

• Verify protocol communication

• Verify I/O processing

• Verify alarm generation

• Verify failover recovery

• Verify event logging

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Controller operational

□ Protocol communication verified

□ Logic execution verified

□ Event logging verified

□ Firmware current

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Enclosure secure

□ Wiring organized

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Controller Configuration

□ Protocol Configuration

□ Logic Backup

□ Trend Log Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Controller

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Annual preventative maintenance recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• BACnet/IP

• BACnet MS/TP

• Modbus TCP

• Modbus RTU

• MQTT

• HTTPS

• SNMP

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• BACnet Discovery Tool

• Modbus Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Dedicated power verified

--------------------------------------------------

IT

□ Network verified

--------------------------------------------------

Mechanical

□ HVAC integration reviewed

--------------------------------------------------

Customer

□ Automation strategy approved

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Automation Equipment Rooms

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-902 Smart Sensor Integration Assembly

ASM-903 Intelligent Relay &

I/O Controller Assembly

ASM-904 Lighting Automation &

Scene Control Assembly

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-906 Energy Management &

Load Control Assembly

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

ASM-909 Smart Building Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Building automation controllers shall operate on

dedicated network infrastructure whenever specified

by engineering.

--------------------------------------------------

2.

Controller firmware shall be updated before

commissioning.

--------------------------------------------------

3.

Configuration backups shall be completed before

project turnover.

--------------------------------------------------

4.

CPU and memory utilization shall remain below

75% during normal operation.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include controller backups,

QC photographs, commissioning reports,

configuration records, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Undersized controller

• Incorrect protocol configuration

• Missing UPS protection

• Outdated firmware

• Excessive CPU utilization

• Missing backups

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

BACnet Standards

Modbus Standards

ASHRAE Building Automation Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-901

======================================================================