======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-902

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-SNS-001

--------------------------------------------------

ASSEMBLY NAME

Smart Sensor Integration Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Smart Sensor Integration

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Smart Sensor Integration Assembly establishes

the engineering standard for installing,

configuring, calibrating, documenting, and

commissioning intelligent sensing devices used

within Digitally Defined smart building systems.

The assembly standardizes occupancy detection,

temperature monitoring, humidity sensing,

daylight harvesting, indoor air quality (IAQ),

carbon dioxide (CO₂), volatile organic compound

(VOC), leak detection, vibration monitoring,

wireless sensing, and predictive maintenance data.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Building automation controller operational.

• Network infrastructure operational.

• Sensor locations engineered.

• Environmental conditions reviewed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Luxury Residential

• Healthcare

• Educational Facilities

• Hospitality

• Industrial Facilities

• Mixed-Use Buildings

======================================================================

STANDARD SCOPE

Includes

• Occupancy Sensors

• Temperature Sensors

• Humidity Sensors

• CO₂ Sensors

• VOC Sensors

• IAQ Sensors

• Daylight Sensors

• Leak Detection

• Vibration Monitoring

• Wireless Sensor Nodes

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Sensor Accuracy

Verified

--------------------------------------------------

Data Reporting

Continuous

--------------------------------------------------

Alarm Generation

Verified

--------------------------------------------------

Trend Logging

Verified

--------------------------------------------------

Calibration

Verified

--------------------------------------------------

Sensor Supervision

Continuous

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous sensor operation

--------------------------------------------------

Expandability

Supports future sensor technologies

--------------------------------------------------

Maintenance Accessibility

Accessible for servicing and calibration

--------------------------------------------------

Acceptance Criteria

All sensors shall provide accurate, repeatable,

and continuously monitored environmental data

while supporting intelligent automation,

analytics, and predictive maintenance.

======================================================================

SUPPORTED SENSOR TYPES

Environmental

• Temperature

• Humidity

• CO₂

• VOC

• Indoor Air Quality (IAQ)

--------------------------------------------------

Occupancy

• Passive Infrared (PIR)

• Ultrasonic

• Dual Technology

• Camera-Based Occupancy

--------------------------------------------------

Building Health

• Leak Detection

• Water Presence

• Vibration

• Current Monitoring

• Differential Pressure

• Light Level

======================================================================

CALIBRATION REQUIREMENTS

Factory Calibration

Verified

--------------------------------------------------

Field Calibration

Performed where required

--------------------------------------------------

Calibration Records

Required

--------------------------------------------------

Sensor Drift Monitoring

Enabled

--------------------------------------------------

Recalibration Interval

Per manufacturer specification

======================================================================

DATA COLLECTION

Polling Interval

Configured

--------------------------------------------------

Trend Logging

Enabled

--------------------------------------------------

Historical Retention

Configured

--------------------------------------------------

Alarm Thresholds

Configured

--------------------------------------------------

Data Validation

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Sensor Capacity

Minimum 25% reserve

--------------------------------------------------

Controller Capacity

Verified

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Future Expansion

Predictive analytics

Digital twins

AI optimization

Enterprise dashboards

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Authentication

Required

--------------------------------------------------

Encrypted Communication

TLS/HTTPS where supported

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review sensor schedule

• Verify mounting locations

• Review environmental requirements

• Review polling strategy

--------------------------------------------------

MATERIAL VERIFICATION

• Sensors verified

• Mounting hardware verified

• Network interfaces verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable routing

• Verify conduit

• Verify wireless coverage where applicable

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install sensors

• Verify orientation

• Connect communications

• Label wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure sensor parameters

• Configure polling interval

• Configure alarm thresholds

• Configure trend logging

• Calibrate sensors

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify sensor accuracy

• Verify communication

• Verify alarms

• Verify trend logging

• Verify calibration

• Verify reporting

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Sensor accuracy verified

□ Communication verified

□ Alarm thresholds verified

□ Trend logging verified

□ Calibration documented

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Sensors secure

□ Labels complete

□ Wiring protected

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Sensor Schedule

□ Calibration Records

□ Polling Configuration

□ Alarm Threshold Matrix

□ Trend Log Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Sensors

Manufacturer Warranty

Infrastructure

25+ Years

Calibration

Per manufacturer schedule

Annual verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• BACnet/IP

• Modbus

• MQTT

• SNMP

• Analog Inputs

• Digital Inputs

• Wireless Telemetry

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Sensor Calibration Kit

• Environmental Meter

• Network Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Mechanical

□ HVAC sensor placement verified

--------------------------------------------------

Electrical

□ Power verified

--------------------------------------------------

IT

□ Network communication verified

--------------------------------------------------

Customer

□ Environmental monitoring strategy approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-903 Intelligent Relay &

I/O Controller Assembly

ASM-904 Lighting Automation &

Scene Control Assembly

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-906 Energy Management &

Load Control Assembly

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

ASM-909 Smart Building Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every smart sensor shall be installed in accordance

with the approved engineering drawings and

manufacturer installation requirements.

--------------------------------------------------

2.

Environmental sensors shall be calibrated prior to

project turnover where field calibration is required.

--------------------------------------------------

3.

Polling intervals and alarm thresholds shall match

the approved automation sequence.

--------------------------------------------------

4.

Sensor trend logging shall be enabled wherever

supported by the automation platform.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include calibration records,

QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Improper sensor placement

• Incorrect calibration

• Excessive polling intervals

• Disabled trend logging

• Incorrect alarm thresholds

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

ASHRAE Standards

BACnet Standards

Indoor Air Quality Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-902

======================================================================