======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-903

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-IOC-001

--------------------------------------------------

ASSEMBLY NAME

Intelligent Relay & I/O Controller Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Distributed Intelligent Relay & I/O Controller

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

ASM-902 Smart Sensor Integration Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Intelligent Relay & I/O Controller Assembly

establishes the engineering standard for installing,

configuring, programming, documenting, and

commissioning distributed intelligent relay modules

and field I/O controllers within Digitally Defined

smart building automation systems.

The assembly standardizes digital and analog I/O,

relay control, edge processing, local automation,

motorized equipment interfaces, fail-safe operation,

watchdog supervision, and long-term reliability.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Building automation controller operational.

• Network infrastructure operational.

• Control sequences approved.

• Field devices installed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Hospitality

• Educational Facilities

• Industrial Facilities

• Mixed-Use Buildings

• Luxury Residential

======================================================================

STANDARD SCOPE

Includes

• Digital Inputs

• Digital Outputs

• Analog Inputs

• Analog Outputs

• Relay Modules

• Dry Contact Interfaces

• Motorized Equipment Control

• Valve & Damper Control

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Input Response

Verified

--------------------------------------------------

Output Response

Verified

--------------------------------------------------

Relay Operation

Verified

--------------------------------------------------

Local Logic Processing

Verified

--------------------------------------------------

Fail-Safe Operation

Verified

--------------------------------------------------

Watchdog Monitoring

Continuous

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade distributed control

--------------------------------------------------

Expandability

Supports future I/O expansion

--------------------------------------------------

Maintenance Accessibility

Accessible without building demolition

--------------------------------------------------

Acceptance Criteria

All I/O controllers shall reliably monitor field

inputs, control connected equipment, execute local

logic, and maintain safe operation under both

normal and fault conditions.

======================================================================

SUPPORTED I/O TYPES

Digital Inputs

• Dry Contact

• Wet Contact

• Pulse Input

--------------------------------------------------

Digital Outputs

• Relay Outputs

• Solid State Outputs

• High Current Relays

--------------------------------------------------

Analog Inputs

• 0-10V

• 4-20mA

• Resistance Sensors

• Thermistors

--------------------------------------------------

Analog Outputs

• 0-10V

• 4-20mA

======================================================================

CONTROLLED EQUIPMENT

Supported Devices

• Lighting Contactors

• Motor Starters

• Damper Actuators

• Valve Actuators

• Fans

• Pumps

• Exhaust Systems

• Auxiliary Relays

======================================================================

LOCAL AUTOMATION

Supported Functions

• Local Scheduling

• Safety Interlocks

• Fail-Safe Logic

• Watchdog Recovery

• Emergency Override

• Local Alarm Processing

--------------------------------------------------

Edge Processing

Enabled

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Controller Capacity

Minimum 25% reserve

--------------------------------------------------

I/O Capacity

Minimum 20% reserve

--------------------------------------------------

Relay Capacity

Verified

--------------------------------------------------

Future Expansion

Additional I/O

Distributed automation

Enterprise controllers

AI optimization

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review I/O schedule

• Verify control sequences

• Review safety interlocks

• Verify controller sizing

--------------------------------------------------

MATERIAL VERIFICATION

• I/O controller verified

• Relay modules verified

• Terminal blocks verified

• Network hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify cable routing

• Verify grounding

• Verify panel space

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install I/O controller

• Install relay modules

• Terminate field wiring

• Label all conductors

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure digital inputs

• Configure analog inputs

• Configure relay outputs

• Configure local logic

• Configure watchdog functions

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify digital inputs

• Verify analog values

• Verify relay operation

• Verify fail-safe operation

• Verify local logic

• Verify watchdog recovery

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Digital inputs verified

□ Analog inputs verified

□ Relay outputs verified

□ Local logic verified

□ Fail-safe operation verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Controller secure

□ Wiring organized

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ I/O Schedule

□ Point List

□ Relay Matrix

□ Control Sequence

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Controller

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Annual operational verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• BACnet/IP

• Modbus TCP

• Modbus RTU

• Digital Inputs

• Digital Outputs

• Analog Inputs

• Analog Outputs

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Multimeter

• Loop Calibrator

• Network Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Field wiring verified

--------------------------------------------------

Mechanical

□ Controlled equipment verified

--------------------------------------------------

IT

□ Network communication verified

--------------------------------------------------

Customer

□ Control sequences approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-904 Lighting Automation &

Scene Control Assembly

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-906 Energy Management &

Load Control Assembly

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

ASM-909 Smart Building Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every I/O point shall be labeled and documented in

the approved point schedule.

--------------------------------------------------

2.

Fail-safe states shall be defined for every relay

output controlling life safety or critical equipment.

--------------------------------------------------

3.

Local automation logic shall continue operating

during temporary network communication failures

where supported.

--------------------------------------------------

4.

All analog inputs shall be calibrated before

commissioning where field calibration is required.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include point verification,

QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect point mapping

• Improper relay sizing

• Missing fail-safe programming

• Incorrect analog scaling

• Poor wire labeling

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

BACnet Standards

Modbus Standards

ASHRAE Building Automation Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-903

======================================================================