======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-904

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-LGT-001

--------------------------------------------------

ASSEMBLY NAME

Lighting Automation & Scene Control Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Intelligent Lighting Automation

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

ASM-902 Smart Sensor Integration Assembly

ASM-903 Intelligent Relay & I/O Controller Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Lighting Automation & Scene Control Assembly

establishes the engineering standard for installing,

configuring, programming, documenting, and

commissioning intelligent lighting control systems

within Digitally Defined smart building environments.

The assembly standardizes occupancy-based lighting,

daylight harvesting, dimming technologies,

scene control, scheduling, emergency lighting

interfaces, manual overrides, wireless lighting

systems, and energy optimization.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Building automation controller operational.

• Lighting circuits installed.

• Lighting design approved.

• Occupancy strategy approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Hospitality

• Educational Facilities

• Luxury Residential

• Retail

• Mixed-Use Buildings

======================================================================

STANDARD SCOPE

Includes

• Lighting Controllers

• Relay Panels

• Dimming Modules

• Scene Controllers

• Occupancy Lighting

• Daylight Harvesting

• Manual Overrides

• Touchscreen Interfaces

• Wireless Lighting Controls

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Lighting Response

Verified

--------------------------------------------------

Scene Recall

Verified

--------------------------------------------------

Occupancy Detection

Verified

--------------------------------------------------

Daylight Harvesting

Verified

--------------------------------------------------

Scheduling Accuracy

Verified

--------------------------------------------------

Energy Optimization

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade lighting automation

--------------------------------------------------

Expandability

Supports future lighting zones

--------------------------------------------------

Maintenance Accessibility

Serviceable without building demolition

--------------------------------------------------

Acceptance Criteria

The lighting automation system shall reliably

control lighting loads, execute programmed scenes,

respond to occupancy and daylight conditions,

and minimize energy consumption while maintaining

occupant comfort.

======================================================================

SUPPORTED LIGHTING TECHNOLOGIES

Control Methods

• Relay Switching

• 0–10V Dimming

• DALI

• DMX

• Phase Dimming

• Wireless Lighting Control

--------------------------------------------------

Scene Types

• Presentation

• Meeting

• Cleaning

• Security

• After Hours

• Emergency

• Custom User Scenes

======================================================================

AUTOMATION FEATURES

Supported Functions

• Occupancy Control

• Vacancy Control

• Daylight Harvesting

• Astronomical Scheduling

• Time Scheduling

• Manual Override

• Remote Control

• Load Shedding

======================================================================

USER INTERFACES

Supported Interfaces

• Wall Keypads

• Touchscreens

• Mobile Applications

• Desktop Dashboards

• Voice Control Integration

--------------------------------------------------

Override Priority

Configured

--------------------------------------------------

User Permissions

Role Based

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Lighting Zones

Minimum 25% reserve

--------------------------------------------------

Controller Capacity

Verified

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Future Expansion

Additional lighting zones

Enterprise scheduling

Occupancy analytics

Digital twin integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review lighting schedules

• Review scene requirements

• Verify occupancy strategy

• Verify daylight harvesting zones

--------------------------------------------------

MATERIAL VERIFICATION

• Controllers verified

• Dimming modules verified

• Keypads verified

• Interfaces verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify lighting control wiring

• Verify network connectivity

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install controllers

• Install interfaces

• Install keypads

• Label all wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure lighting zones

• Configure scenes

• Configure schedules

• Configure occupancy logic

• Configure daylight harvesting

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify scene recall

• Verify occupancy operation

• Verify daylight harvesting

• Verify dimming curves

• Verify manual overrides

• Verify energy optimization

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Lighting zones verified

□ Scene control verified

□ Occupancy automation verified

□ Daylight harvesting verified

□ Manual override verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Controllers secure

□ Labels complete

□ Wiring organized

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Lighting Zone Schedule

□ Scene Matrix

□ Occupancy Configuration

□ Daylight Harvesting Settings

□ Dimming Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Lighting Controllers

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Annual operational verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• BACnet/IP

• DALI

• DMX

• 0–10V

• Relay Outputs

• MQTT

• HTTPS

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• DALI Commissioning Tool

• DMX Tester

• Light Meter

• Network Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Lighting circuits verified

--------------------------------------------------

Architect

□ Lighting design approved

--------------------------------------------------

IT

□ Network communication verified

--------------------------------------------------

Customer

□ Scene programming approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-906 Energy Management &

Load Control Assembly

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

ASM-909 Smart Building Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Lighting scenes shall be programmed in accordance

with the approved customer operational requirements.

--------------------------------------------------

2.

Occupancy and daylight harvesting zones shall be

fully commissioned before project turnover.

--------------------------------------------------

3.

Manual override stations shall remain operational

during controller communication failures where

supported.

--------------------------------------------------

4.

Emergency lighting interfaces shall not interfere

with code-required emergency operation.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include scene programming

records, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect lighting zone assignments

• Poor daylight sensor placement

• Improper dimming calibration

• Conflicting scene priorities

• Missing manual overrides

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

ASHRAE Standards

DALI Standards

DMX Standards

BACnet Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-904

======================================================================