======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-905

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-HVC-001

--------------------------------------------------

ASSEMBLY NAME

HVAC Integration & Environmental Control Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

HVAC Automation & Environmental Control

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 HVAC Controls Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

ASM-902 Smart Sensor Integration Assembly

ASM-903 Intelligent Relay & I/O Controller Assembly

ASM-503 Managed Network Switch Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The HVAC Integration & Environmental Control

Assembly establishes the engineering standard for

installing, configuring, programming, documenting,

and commissioning HVAC automation systems within

Digitally Defined smart building environments.

The assembly standardizes HVAC integration,

temperature regulation, demand-controlled

ventilation, equipment optimization, occupancy-

based control, predictive maintenance, and

enterprise environmental management.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• HVAC equipment installed.

• Building automation controller operational.

• Network infrastructure operational.

• Mechanical schedules approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Hospitality

• Educational Facilities

• Industrial Facilities

• Luxury Residential

• Mixed-Use Buildings

======================================================================

STANDARD SCOPE

Includes

• Air Handling Units (AHUs)

• Rooftop Units (RTUs)

• Variable Air Volume (VAV)

• Fan Coil Units (FCUs)

• Chillers

• Boilers

• Heat Pumps

• Variable Frequency Drives (VFDs)

• Thermostats

• Environmental Sensors

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Temperature Stability

Verified

--------------------------------------------------

Humidity Control

Verified

--------------------------------------------------

CO₂ Regulation

Verified

--------------------------------------------------

HVAC Response

Verified

--------------------------------------------------

Equipment Monitoring

Continuous

--------------------------------------------------

Energy Optimization

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade HVAC automation

--------------------------------------------------

Expandability

Supports future HVAC equipment

--------------------------------------------------

Maintenance Accessibility

Serviceable without building demolition

--------------------------------------------------

Acceptance Criteria

The HVAC automation system shall reliably control

building environmental conditions while optimizing

energy consumption, maintaining occupant comfort,

and protecting connected mechanical equipment.

======================================================================

SUPPORTED HVAC EQUIPMENT

Air Distribution

• Air Handling Units

• Rooftop Units

• VAV Boxes

• Fan Coil Units

--------------------------------------------------

Mechanical Equipment

• Chillers

• Boilers

• Heat Pumps

• Cooling Towers

• Exhaust Fans

• Make-Up Air Units

--------------------------------------------------

Control Equipment

• Thermostats

• VFDs

• Dampers

• Valves

• Actuators

======================================================================

SUPPORTED PROTOCOLS

Native

• BACnet/IP

• BACnet MS/TP

• Modbus TCP

• Modbus RTU

--------------------------------------------------

Gateway

• MQTT

• OPC UA

• REST API

======================================================================

ENVIRONMENTAL CONTROL

Supported Functions

• Occupancy Scheduling

• Demand-Controlled Ventilation

• CO₂ Reset

• Static Pressure Reset

• Supply Air Reset

• Economizer Control

• Night Setback

• Freeze Protection

======================================================================

ALARM & EQUIPMENT MONITORING

Monitor

• High Temperature

• Low Temperature

• High Humidity

• Low Humidity

• Filter Status

• Equipment Faults

• VFD Faults

• Compressor Faults

• Pump Status

• Fan Status

--------------------------------------------------

Trend Logging

Enabled

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Controller Capacity

Minimum 25% reserve

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Mechanical Expansion

Supported

--------------------------------------------------

Future Expansion

AI Optimization

Digital Twins

Predictive Maintenance

Enterprise Building Analytics

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review HVAC sequences

• Review mechanical drawings

• Verify protocol compatibility

• Verify equipment schedules

--------------------------------------------------

MATERIAL VERIFICATION

• Controllers verified

• Thermostats verified

• Sensors verified

• VFD interfaces verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify communications

• Verify equipment wiring

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install controllers

• Install thermostats

• Connect equipment

• Label all wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure HVAC schedules

• Configure temperature control

• Configure CO₂ control

• Configure economizers

• Configure alarms

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify heating

• Verify cooling

• Verify VAV operation

• Verify economizer

• Verify alarms

• Verify trend logging

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Heating verified

□ Cooling verified

□ Environmental control verified

□ Equipment monitoring verified

□ Trend logging verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Equipment documented

□ Labels complete

□ Wiring organized

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ HVAC Point List

□ Equipment Schedule

□ Sequence of Operation

□ Alarm Matrix

□ Trend Log Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Controllers

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Seasonal operational verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• BACnet/IP

• BACnet MS/TP

• Modbus TCP

• Modbus RTU

• Analog Inputs

• Analog Outputs

• MQTT

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• BACnet Discovery Tool

• Loop Calibrator

• Airflow Meter

• Temperature Meter

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Mechanical

□ HVAC startup verified

--------------------------------------------------

Electrical

□ Power verified

--------------------------------------------------

IT

□ Network communication verified

--------------------------------------------------

Customer

□ HVAC operating strategy approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-906 Energy Management &

Load Control Assembly

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

ASM-909 Smart Building Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

HVAC automation sequences shall match the approved

mechanical sequence of operation.

--------------------------------------------------

2.

Environmental sensors shall be calibrated before

project turnover where field calibration is required.

--------------------------------------------------

3.

Critical HVAC equipment shall generate alarms upon

fault detection.

--------------------------------------------------

4.

Trend logging shall be enabled for critical HVAC

operating parameters.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include HVAC sequence

verification, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect HVAC sequences

• Improper thermostat placement

• Missing economizer configuration

• Disabled trend logging

• Incorrect VFD programming

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

ASHRAE Standards

BACnet Standards

Modbus Standards

HVAC Control Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-905

======================================================================