======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-906

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-ENG-001

--------------------------------------------------

ASSEMBLY NAME

Energy Management & Load Control Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Energy Management & Load Control

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Licensed Electrician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

ASM-903 Intelligent Relay &

I/O Controller Assembly

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-507 UPS & Power Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Energy Management & Load Control Assembly

establishes the engineering standard for installing,

configuring, programming, documenting, and

commissioning intelligent energy management systems

within Digitally Defined smart building environments.

The assembly standardizes real-time electrical

monitoring, load management, demand response,

renewable energy integration, battery storage,

power quality monitoring, and enterprise energy

optimization.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Electrical distribution operational.

• Building automation controller operational.

• Utility service established.

• Metering strategy approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Hospitality

• Industrial Facilities

• Educational Facilities

• Mixed-Use Buildings

• Luxury Residential

======================================================================

STANDARD SCOPE

Includes

• Revenue Power Meters

• Branch Circuit Monitoring

• Demand Response

• Automatic Load Shedding

• Generator Integration

• UPS Monitoring

• Solar PV Integration

• Battery Energy Storage (BESS)

• EV Charger Integration

• Energy Dashboards

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Power Monitoring

Continuous

--------------------------------------------------

Load Response

Verified

--------------------------------------------------

Demand Limiting

Verified

--------------------------------------------------

Power Quality

Verified

--------------------------------------------------

Energy Reporting

Verified

--------------------------------------------------

System Availability

24/7 Continuous Operation

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous Energy Monitoring

--------------------------------------------------

Reliability

Enterprise-grade operation

--------------------------------------------------

Expandability

Supports future electrical infrastructure

--------------------------------------------------

Maintenance Accessibility

Accessible for servicing

--------------------------------------------------

Acceptance Criteria

The energy management system shall continuously

monitor electrical consumption, optimize demand,

coordinate distributed energy resources, and

maintain reliable power management while supporting

future expansion.

======================================================================

SUPPORTED ENERGY SYSTEMS

Electrical

• Main Service Monitoring

• Branch Circuit Monitoring

• Panel Monitoring

• Generator Monitoring

• UPS Monitoring

--------------------------------------------------

Renewables

• Solar PV

• Battery Energy Storage (BESS)

• Wind (where applicable)

--------------------------------------------------

Vehicle Infrastructure

• EV Chargers

• Fleet Charging

• Load Sharing

======================================================================

POWER QUALITY MONITORING

Monitor

• Voltage

• Current

• Frequency

• Power Factor

• Harmonics

• Voltage Sag

• Voltage Swell

• Phase Loss

• Phase Imbalance

--------------------------------------------------

Trend Logging

Enabled

======================================================================

LOAD CONTROL FUNCTIONS

Supported Functions

• Peak Demand Limiting

• Automatic Load Shedding

• Demand Response

• Utility Rate Optimization

• Generator Transfer Coordination

• UPS Monitoring

• Critical Load Prioritization

• Carbon Emissions Reporting

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Meter Capacity

Minimum 25% reserve

--------------------------------------------------

Controller Capacity

Verified

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Future Expansion

Microgrids

Distributed Energy Resources

AI Energy Optimization

Enterprise Energy Analytics

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review one-line diagrams

• Review metering strategy

• Verify load priorities

• Review utility requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Power meters verified

• CTs verified

• Communication modules verified

• Gateway devices verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify communications

• Verify CT installation locations

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install meters

• Install CTs

• Install gateways

• Label all wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure meters

• Configure CT ratios

• Configure load priorities

• Configure dashboards

• Configure alarms

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify meter accuracy

• Verify demand calculations

• Verify load shedding

• Verify generator interface

• Verify BESS interface

• Verify reporting

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Power monitoring verified

□ Demand management verified

□ Load shedding verified

□ Dashboard reporting verified

□ Trend logging verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Meter installation complete

□ CT orientation verified

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Meter Schedule

□ CT Schedule

□ One-Line Diagram Updates

□ Energy Dashboard Configuration

□ Alarm Matrix

□ Trend Log Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

WARRANTY & LIFECYCLE

Energy Meters

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Annual calibration verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• BACnet/IP

• Modbus TCP

• Modbus RTU

• SNMP

• MQTT

• Analog Values

• Energy Telemetry

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Power Quality Analyzer

• CT Ratio Tester

• Clamp Meter

• Network Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Meter installation verified

--------------------------------------------------

Utility Provider

□ Service requirements verified

--------------------------------------------------

Mechanical

□ HVAC load priorities reviewed

--------------------------------------------------

Customer

□ Energy management strategy approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

ASM-909 Smart Building Commissioning &

Certification Assembly

Future Smart Grid Standards

======================================================================

INSTALLATION RULES

1.

Revenue and branch energy meters shall be installed

using approved current transformer orientations and

manufacturer torque specifications.

--------------------------------------------------

2.

Critical electrical loads shall be assigned approved

priority levels before enabling automatic load

shedding.

--------------------------------------------------

3.

Demand response and generator coordination shall be

fully tested before project turnover.

--------------------------------------------------

4.

Trend logging shall be enabled for all critical

energy parameters.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include meter calibration

records, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect CT orientation

• Improper CT ratio programming

• Missing demand response testing

• Incorrect load priorities

• Disabled trend logging

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

IEEE Power Quality Standards

ASHRAE Energy Standards

BACnet Standards

Modbus Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-906

======================================================================