======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-907

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-INT-001

--------------------------------------------------

ASSEMBLY NAME

Smart Building Integration &

Enterprise Automation Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Enterprise Smart Building Integration

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Automation Engineer

1 Level-2 Network Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

ASM-902 Smart Sensor Integration Assembly

ASM-903 Intelligent Relay &

I/O Controller Assembly

ASM-904 Lighting Automation &

Scene Control Assembly

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-906 Energy Management &

Load Control Assembly

ASM-605 Video Analytics &

AI Detection Assembly

ASM-707 Access Control Integration &

Automation Assembly

ASM-807 Intrusion System Integration &

Automation Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Smart Building Integration &

Enterprise Automation Assembly establishes the

engineering standard for integrating all building

systems into a unified automation platform.

The assembly standardizes interoperability,

enterprise automation workflows, API integration,

event synchronization, centralized dashboards,

analytics, cloud connectivity, digital twins,

cross-platform security, and intelligent building

operations.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• All subsystem installations completed.

• Building automation controller operational.

• Network infrastructure operational.

• Enterprise automation strategy approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Enterprise Campuses

• Healthcare

• Commercial High-Rise

• Industrial Facilities

• Educational Campuses

• Hospitality

• Smart Residential Estates

======================================================================

STANDARD SCOPE

Includes

• Building Automation Integration

• Security System Integration

• Energy Management Integration

• Lighting Integration

• HVAC Integration

• AV Integration

• Cloud Platforms

• Enterprise Dashboards

• APIs

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

System Synchronization

Verified

--------------------------------------------------

Cross-System Communication

Continuous

--------------------------------------------------

Enterprise Automation

Verified

--------------------------------------------------

Event Processing

Verified

--------------------------------------------------

Cloud Connectivity

Verified

--------------------------------------------------

Analytics

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade interoperability

--------------------------------------------------

Expandability

Unlimited subsystem expansion

--------------------------------------------------

Maintenance Accessibility

Remote administration supported

--------------------------------------------------

Acceptance Criteria

All connected building systems shall exchange

real-time operational data, execute approved

automation workflows, maintain synchronized event

history, and operate as a unified enterprise

building management ecosystem.

======================================================================

SUPPORTED SYSTEM INTEGRATIONS

Building Systems

• HVAC

• Lighting

• Energy Management

• Environmental Monitoring

--------------------------------------------------

Security Systems

• Surveillance

• Access Control

• Intrusion Detection

• Visitor Management

--------------------------------------------------

Enterprise Systems

• Facility Management

• CMMS

• Help Desk

• ERP

• Asset Management

--------------------------------------------------

Other Systems

• Elevators

• Fire Alarm Interfaces

• Digital Signage

• Parking Management

• EV Charging

======================================================================

SUPPORTED COMMUNICATION PROTOCOLS

Native

• BACnet/IP

• Modbus TCP

• MQTT

• OPC UA

--------------------------------------------------

Enterprise

• REST API

• GraphQL

• HTTPS

• SNMP

• Webhooks

======================================================================

ENTERPRISE AUTOMATION

Supported Workflows

• Occupancy-Based Automation

• Security Response

• Energy Optimization

• Environmental Response

• Predictive Maintenance

• Space Utilization

• Equipment Health Monitoring

• Automated Notifications

======================================================================

DIGITAL TWIN & ANALYTICS

Supported Functions

• Real-Time Dashboards

• Historical Analytics

• Predictive Analytics

• KPI Reporting

• Alarm Correlation

• Asset Mapping

• Building Visualization

• Digital Twin Synchronization

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Integration Capacity

Minimum 30% reserve

--------------------------------------------------

API Capacity

Verified

--------------------------------------------------

Database Capacity

Verified

--------------------------------------------------

Future Expansion

AI Operations

Autonomous Buildings

Enterprise Portfolio Management

Multi-Site Synchronization

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Role-Based Access Control (RBAC)

--------------------------------------------------

Encryption

TLS 1.3 / HTTPS

--------------------------------------------------

API Authentication

OAuth 2.0 / API Keys

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Security Monitoring

Continuous

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review enterprise architecture

• Review integration matrix

• Review automation workflows

• Review cybersecurity policy

--------------------------------------------------

MATERIAL VERIFICATION

• Integration servers verified

• API licenses verified

• Cloud subscriptions verified

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure APIs

• Configure MQTT brokers

• Configure dashboards

• Configure enterprise workflows

• Configure analytics

• Configure user permissions

--------------------------------------------------

INTEGRATION TESTING

• Verify API communication

• Verify event synchronization

• Verify enterprise dashboards

• Verify cloud communication

• Verify digital twin updates

• Verify analytics

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Enterprise automation verified

□ API communication verified

□ Dashboard operation verified

□ Event synchronization verified

□ Digital twin synchronization verified

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ API documentation complete

□ Dashboards operational

□ User permissions verified

□ Documentation complete

□ Screenshots archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Enterprise Integration Matrix

□ API Documentation

□ Automation Workflow Matrix

□ Dashboard Configuration

□ Analytics Configuration

□ User Permission Matrix

□ Configuration Backup

□ Firmware Inventory

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

WARRANTY & LIFECYCLE

Software

Manufacturer Warranty

Infrastructure

25+ Years

Enterprise Platform

Maintain supported software releases

Annual integration audit recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• BACnet/IP

• MQTT

• Modbus TCP

• REST API

• HTTPS

• Webhooks

• OPC UA

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• API Testing Software

• MQTT Explorer

• BACnet Discovery Tool

• Network Analyzer

• Dashboard Configuration Software

======================================================================

INTER-TRADE COORDINATION

IT

□ Enterprise infrastructure verified

--------------------------------------------------

Mechanical

□ HVAC integration verified

--------------------------------------------------

Electrical

□ Energy systems verified

--------------------------------------------------

Security

□ Security integrations verified

--------------------------------------------------

Customer

□ Enterprise automation approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

ASM-909 Smart Building Commissioning &

Certification Assembly

Future AI Building Management Standards

Future Autonomous Facility Standards

======================================================================

INSTALLATION RULES

1.

All enterprise integrations shall utilize approved,

secure communication protocols.

--------------------------------------------------

2.

Every integrated subsystem shall synchronize time

using a common enterprise time source.

--------------------------------------------------

3.

API credentials shall be securely managed using

approved credential management practices.

--------------------------------------------------

4.

Enterprise dashboards shall accurately represent

real-time operational status.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include enterprise

integration records, QC photographs,

commissioning reports, configuration backups,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unsynchronized system clocks

• Broken API integrations

• Duplicate automation logic

• Missing user permission controls

• Incomplete dashboard mapping

• Outdated software versions

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

ASHRAE Standards

BACnet Standards

OPC UA Standards

MQTT Standards

Cybersecurity Standards

Digital Twin Standards

Enterprise Integration Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-907

======================================================================