======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-908

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-CLD-001

--------------------------------------------------

ASSEMBLY NAME

Cloud Services, Remote Management &

Analytics Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Cloud Services & Enterprise Remote Management

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Automation Engineer

1 Network Engineer

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-509 Network Commissioning &

Certification Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Cloud Services, Remote Management &

Analytics Assembly establishes the engineering

standard for securely connecting Digitally Defined

smart building systems to cloud platforms for

remote management, enterprise monitoring,

analytics, predictive maintenance, reporting,

portfolio management, and disaster recovery.

The assembly standardizes cloud connectivity,

remote administration, SaaS integration, AI

analytics, firmware deployment, centralized alarm

management, long-term data retention, and secure

enterprise operations.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Smart building platform operational.

• Internet connectivity available.

• Enterprise cloud platform approved.

• Cybersecurity policies established.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Enterprise Campuses

• Multi-Site Commercial Facilities

• Healthcare Networks

• Hospitality Groups

• Educational Campuses

• Industrial Facilities

• Luxury Residential Portfolios

======================================================================

STANDARD SCOPE

Includes

• Cloud Building Management

• Remote Administration

• Enterprise Dashboards

• Mobile Applications

• Alarm Notification Services

• AI Analytics

• Predictive Maintenance

• Firmware Management

• Disaster Recovery

• Documentation

• Commissioning

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Cloud Connectivity

Continuous

--------------------------------------------------

Remote Access

Verified

--------------------------------------------------

Alarm Delivery

Verified

--------------------------------------------------

Analytics Processing

Verified

--------------------------------------------------

Data Synchronization

Verified

--------------------------------------------------

System Availability

99.9% Target Availability

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous Cloud Synchronization

--------------------------------------------------

Reliability

Enterprise-grade cloud services

--------------------------------------------------

Expandability

Unlimited portfolio expansion

--------------------------------------------------

Maintenance Accessibility

Remote administration supported

--------------------------------------------------

Acceptance Criteria

Cloud services shall securely synchronize building

data, provide remote management capabilities,

support enterprise analytics, and maintain secure

communications between field devices and cloud

resources.

======================================================================

SUPPORTED CLOUD SERVICES

Cloud Functions

• Remote Monitoring

• Remote Administration

• Alarm Management

• Device Management

• Configuration Backup

• Firmware Deployment

• Enterprise Reporting

• Portfolio Management

--------------------------------------------------

Analytics

• AI Analytics

• Predictive Maintenance

• Trend Analysis

• KPI Dashboards

• Fault Detection

• Energy Analytics

======================================================================

REMOTE MANAGEMENT

Supported Functions

• Secure Remote Login

• Device Configuration

• Live Diagnostics

• Firmware Updates

• Configuration Restore

• Health Monitoring

• Remote Testing

• Remote Commissioning

======================================================================

DATA MANAGEMENT

Storage

• Historical Data

• Event Logs

• Alarm History

• Trend Logs

• Asset Records

--------------------------------------------------

Retention

Per customer policy

--------------------------------------------------

Backups

Automated

--------------------------------------------------

Disaster Recovery

Verified

======================================================================

MOBILE & ENTERPRISE ACCESS

Supported Clients

• Mobile Applications

• Web Dashboards

• Desktop Clients

• Enterprise Portals

--------------------------------------------------

Authentication

Role-Based Access Control (RBAC)

--------------------------------------------------

Multi-Factor Authentication

Required

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Cloud Capacity

Scalable

--------------------------------------------------

Storage Capacity

Expandable

--------------------------------------------------

API Capacity

Verified

--------------------------------------------------

Future Expansion

AI Automation

Autonomous Buildings

Enterprise Digital Twins

Global Portfolio Management

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Authentication

RBAC + MFA Required

--------------------------------------------------

Encryption

TLS 1.3

--------------------------------------------------

API Security

OAuth 2.0

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Backup Encryption

Required

--------------------------------------------------

Continuous Security Monitoring

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review cloud architecture

• Review cybersecurity policy

• Review enterprise access requirements

• Review retention policies

--------------------------------------------------

MATERIAL VERIFICATION

• Cloud licensing verified

• User accounts verified

• Certificates verified

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure cloud connectivity

• Configure enterprise users

• Configure analytics

• Configure backups

• Configure notifications

• Configure firmware deployment

--------------------------------------------------

TESTING & COMMISSIONING

• Verify cloud synchronization

• Verify remote login

• Verify notifications

• Verify backups

• Verify disaster recovery

• Verify analytics

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Cloud synchronization verified

□ Remote administration verified

□ Analytics verified

□ Mobile access verified

□ Disaster recovery verified

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Cloud accounts documented

□ MFA enabled

□ User permissions verified

□ Documentation complete

□ Screenshots archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Cloud Architecture Diagram

□ User Permission Matrix

□ Backup Policy

□ Disaster Recovery Plan

□ Notification Matrix

□ Analytics Configuration

□ Firmware Deployment Policy

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

WARRANTY & LIFECYCLE

Cloud Platform

Vendor Subscription

Infrastructure

25+ Years

Software

Maintain supported releases

Annual cybersecurity audit recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• HTTPS

• TLS 1.3

• MQTT

• REST API

• Webhooks

• SNMP

• Cloud Telemetry

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• Cloud Management Portal

• API Testing Software

• MFA Authentication Device

======================================================================

INTER-TRADE COORDINATION

IT

□ Internet connectivity verified

--------------------------------------------------

Cybersecurity

□ Security policies verified

--------------------------------------------------

Customer

□ User permissions approved

--------------------------------------------------

Enterprise Management

□ Reporting requirements approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-909 Smart Building Commissioning &

Certification Assembly

Future AI Operations Standards

Future Enterprise Cloud Standards

======================================================================

INSTALLATION RULES

1.

All remote access shall require multi-factor

authentication.

--------------------------------------------------

2.

Cloud communications shall utilize encrypted

transport protocols only.

--------------------------------------------------

3.

Automated backups shall be verified before project

turnover.

--------------------------------------------------

4.

Disaster recovery procedures shall be tested and

documented.

--------------------------------------------------

5.

Only approved Digitally Defined cloud platforms

shall be utilized.

--------------------------------------------------

6.

Every installation shall include cloud architecture

documentation, QC screenshots, commissioning

reports, backup verification, and updated project

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unsecured remote access

• Missing MFA

• Incomplete backup verification

• Incorrect user permissions

• Unverified disaster recovery

• Outdated cloud software

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

NIST Cybersecurity Framework

ISO/IEC 27001

BACnet Standards

MQTT Standards

Cloud Security Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-908

======================================================================