======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-909

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-BAS-COM-001

--------------------------------------------------

ASSEMBLY NAME

Smart Building Commissioning &

Certification Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Smart Building Automation & Control Systems

--------------------------------------------------

Assembly Type

Smart Building System Commissioning &

Final Acceptance

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Automation Engineer

1 Commissioning Engineer

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-901 Building Automation Controller Assembly

ASM-902 Smart Sensor Integration Assembly

ASM-903 Intelligent Relay &

I/O Controller Assembly

ASM-904 Lighting Automation &

Scene Control Assembly

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-906 Energy Management &

Load Control Assembly

ASM-907 Smart Building Integration &

Enterprise Automation Assembly

ASM-908 Cloud Services,

Remote Management &

Analytics Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Smart Building Commissioning &

Certification Assembly establishes the engineering

standard for final inspection, commissioning,

validation, documentation, customer training,

cybersecurity verification, analytics validation,

and formal acceptance of all Digitally Defined

smart building automation systems.

This assembly confirms that every controller,

sensor, I/O module, lighting system, HVAC system,

energy management platform, enterprise integration,

cloud service, dashboard, automation workflow,

and cybersecurity control operates in accordance

with Digitally Defined engineering standards.

======================================================================

ENGINEERING ASSUMPTIONS

• Installation complete

• Automation platform operational

• Network infrastructure operational

• Cloud platform operational

• Documentation substantially complete

• Customer administrative accounts established

======================================================================

STANDARD APPLICATIONS

Required For

• Enterprise Campuses

• Commercial Buildings

• Healthcare

• Hospitality

• Industrial Facilities

• Educational Campuses

• Smart Residential Estates

======================================================================

STANDARD SCOPE

Includes

• Engineering Verification

• Functional Testing

• Automation Validation

• Cybersecurity Verification

• Analytics Validation

• Documentation Review

• Customer Training

• Final Acceptance

======================================================================

SMART BUILDING PERFORMANCE REQUIREMENTS (SBPR)

Verify

□ Controller Operation

□ Sensor Accuracy

□ Lighting Automation

□ HVAC Automation

□ Energy Monitoring

□ Enterprise Integration

□ Cloud Connectivity

□ Analytics

□ Event Logging

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

100% Operational

--------------------------------------------------

Reliability

Continuous During Testing

--------------------------------------------------

Performance

Meets Engineering Specifications

--------------------------------------------------

Documentation

100% Complete

--------------------------------------------------

Customer Acceptance

Required Before Project Closeout

======================================================================

COMMISSIONING CHECKLIST

Automation Controllers

□ Online

□ Firmware Current

□ Logic Verified

□ Backups Complete

--------------------------------------------------

Smart Sensors

□ Calibrated

□ Reporting Correctly

□ Trend Logging Verified

□ Alarm Thresholds Verified

--------------------------------------------------

Lighting Automation

□ Scene Operation Verified

□ Occupancy Control Verified

□ Daylight Harvesting Verified

□ Scheduling Verified

--------------------------------------------------

HVAC Automation

□ Heating Verified

□ Cooling Verified

□ CO₂ Control Verified

□ Equipment Alarms Verified

--------------------------------------------------

Energy Management

□ Meter Accuracy Verified

□ Load Shedding Verified

□ Generator Interface Verified

□ Dashboard Reporting Verified

======================================================================

ENTERPRISE INTEGRATION VALIDATION

Verify

□ Security Integration

□ Surveillance Integration

□ Access Control Integration

□ Intrusion Integration

□ API Communication

□ MQTT Communication

□ Dashboard Synchronization

□ Digital Twin Synchronization

======================================================================

CLOUD SERVICES VALIDATION

Verify

□ Remote Administration

□ Mobile Applications

□ Alarm Notifications

□ Automated Backups

□ Disaster Recovery

□ Firmware Deployment

□ Analytics Platform

======================================================================

CYBERSECURITY VALIDATION

Verify

□ MFA Enabled

□ RBAC Configured

□ Encryption Verified

□ API Authentication Verified

□ Certificates Current

□ Audit Logs Verified

□ Backups Encrypted

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Verify

□ Controller Reserve Capacity

□ Network Reserve Capacity

□ Storage Reserve Capacity

□ API Reserve Capacity

□ Future Expansion Documented

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING

• Review engineering package

• Review integration matrix

• Review commissioning procedures

--------------------------------------------------

ENGINEERING VERIFICATION

• Verify controllers

• Verify sensors

• Verify lighting

• Verify HVAC

• Verify energy systems

--------------------------------------------------

SYSTEM TESTING

• Functional testing

• Automation testing

• Analytics testing

• Cybersecurity testing

• Cloud testing

--------------------------------------------------

PERFORMANCE VALIDATION

• Response verification

• Trend verification

• Alarm verification

• Dashboard verification

• Digital twin verification

--------------------------------------------------

CUSTOMER TRAINING

• Building dashboards

• Mobile applications

• Alarm management

• Scheduling

• Reporting

• Basic troubleshooting

--------------------------------------------------

FINAL ACCEPTANCE

• Documentation review

• Customer walkthrough

• Questions answered

• Customer approval

======================================================================

PERFORMANCE VERIFICATION

□ Hardware verified

□ Automation verified

□ Cloud services verified

□ Analytics verified

□ Customer training completed

□ Documentation complete

□ Meets engineering design intent

======================================================================

QUALITY CONTROL INSPECTION

Verify

□ Labels complete

□ Firmware current

□ Configuration backups complete

□ Documentation complete

□ Screenshots archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Smart Building Commissioning Report

□ Automation Matrix

□ Sensor Calibration Records

□ Dashboard Configuration

□ Analytics Configuration

□ Cybersecurity Report

□ Backup Verification

□ Firmware Inventory

□ Configuration Backups

□ Customer Training Record

□ Customer Acceptance Form

□ Warranty Registration

□ As-Built Drawings

□ Digital Project Record Updated

======================================================================

CUSTOMER ACCEPTANCE

Customer Demonstration

□ Completed

--------------------------------------------------

Administrator Training

□ Completed

--------------------------------------------------

Documentation Delivered

□ Completed

--------------------------------------------------

Customer Questions

□ Answered

--------------------------------------------------

Customer Acceptance

□ Signed

======================================================================

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Software

Maintain current supported release

Cloud Services

Maintain supported subscription

Annual preventative maintenance recommended.

======================================================================

SIGNAL CLASSIFICATION

Verified Systems

• BACnet/IP

• Modbus TCP

• MQTT

• HTTPS

• REST API

• Webhooks

• Enterprise Dashboards

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• BACnet Discovery Tool

• API Testing Software

• Cloud Management Portal

• Environmental Calibration Kit

• Power Quality Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Energy systems verified

--------------------------------------------------

Mechanical

□ HVAC systems verified

--------------------------------------------------

IT

□ Enterprise infrastructure verified

--------------------------------------------------

Customer

□ Final walkthrough completed

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

Future AI Building Standards

Future Digital Twin Standards

Future Smart City Standards

Future Enterprise Portfolio Standards

======================================================================

INSTALLATION RULES

1.

Every automation subsystem shall be fully tested

before project turnover.

--------------------------------------------------

2.

Cybersecurity verification shall be completed before

customer acceptance.

--------------------------------------------------

3.

Configuration backups shall be completed for every

controller, server, and cloud platform.

--------------------------------------------------

4.

Customer administrative accounts shall be verified

before project closeout.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every project shall include commissioning reports,

QC documentation, customer training records,

configuration backups, warranty documentation,

and updated project records.

======================================================================

COMMON ERRORS TO AVOID

• Untested automation workflows

• Missing cybersecurity validation

• Incomplete cloud synchronization

• Missing backup verification

• Incorrect dashboard configuration

• Incomplete customer training

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

ASHRAE Standards

BACnet Standards

MQTT Standards

NIST Cybersecurity Framework

Digital Twin Standards

Smart Building Commissioning Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-909

======================================================================