======================================================================

DIGITALLY DEFINED

DOCUMENT 002

MATERIAL LIBRARY

DOCUMENT ID:

DD-002

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Material Library establishes the master list of approved

installation materials used by Digitally Defined for all standard

builder projects.

Materials are the consumable and installation components required to

complete approved assemblies. This document standardizes material

selection to ensure consistency, purchasing efficiency, inventory

control, and installation quality.

======================================================================

SCOPE

This document applies to:

• Builder Projects

• Production Homes

• Standard Installations

• Purchasing

• Warehouse Inventory

• Installation Teams

This document does not include:

• Finished Products

• Labor Standards

• Product Pricing

• Package Pricing

======================================================================

01 CABLES

Approved Materials

• Category 6 Cable (Cat6)

• RG6 Quad Shield Coaxial Cable

• 16/2 Speaker Cable

• 14/2 Speaker Cable

• Fiber Optic Cable (Future Use)

======================================================================

02 CONDUIT & PATHWAYS

Approved Materials

• 2" ENT (Smurf Tube)

• ENT Couplings

• ENT Connectors

• ENT Straps

• Pull String

======================================================================

03 LOW VOLTAGE MOUNTING

Approved Materials

• Single Gang Low Voltage Brackets

• Dual Gang Low Voltage Brackets

• Adjustable Low Voltage Brackets

• Mud Rings

======================================================================

04 WALL PLATES & INSERTS

Approved Materials

• Single Gang Wall Plates

• Dual Gang Wall Plates

• Brush Plates

• Blank Plates

• Keystone Wall Plates

Approved Inserts

• Cat6 Keystone Jack

• Coax Keystone Jack

• Blank Keystone Insert

======================================================================

05 STRUCTURED WIRING

Approved Materials

• Structured Wiring Enclosure

• Structured Wiring Cover

• Patch Panel

• Network Shelf

• Mounting Hardware

======================================================================

06 FASTENERS

Approved Materials

• Cable Staples

• Cable Clamps

• Zip Ties

• Velcro Cable Straps

• J-Hooks

• Beam Clamps

• Mounting Screws

• Drywall Anchors

• Wood Screws

======================================================================

07 IDENTIFICATION

Approved Materials

• Cable Labels

• Equipment Labels

• Port Labels

• Permanent Marker

• Label Printer Tape

======================================================================

08 FIRE STOPPING

Approved Materials

• Fire Stop Sealant

• Fire Rated Putty

• Fire Stop Foam

All penetrations shall comply with applicable building codes.

======================================================================

09 NETWORK RACK MATERIALS

Approved Materials

• Rack Screws

• Cage Nuts

• Cable Management Panels

• Rack Shelves

• Horizontal Cable Managers

• Vertical Cable Managers

• Brush Panels

• Blank Panels

======================================================================

10 CLEANING & FINISHING

Approved Materials

• Microfiber Towels

• Surface Cleaner

• Cable Wipes

• Vacuum

• Touch-Up Materials

======================================================================

MATERIAL STANDARDIZATION RULES

1.

Only approved materials shall be used.

--------------------------------------------------

2.

Material substitutions require management approval.

--------------------------------------------------

3.

Warehouse inventory shall only stock approved materials.

--------------------------------------------------

4.

All materials shall meet or exceed applicable manufacturer

specifications.

--------------------------------------------------

5.

Materials shall be selected based upon:

• Quality

• Reliability

• Availability

• Builder Acceptance

• Installation Efficiency

• Long-Term Serviceability

======================================================================

MATERIAL LIFECYCLE

ACTIVE

Approved for purchase and installation.

--------------------------------------------------

LIMITED

Approved while existing inventory remains.

--------------------------------------------------

DISCONTINUED

No longer purchased.

Existing inventory may be consumed until depleted.

--------------------------------------------------

RETIRED

Removed from all future installations.

======================================================================

REFERENCED DOCUMENTS

DD-001 Product Library

DD-003 Labor Library

DD-004 Assembly Library

DD-008 Pricing Matrix

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-002

======================================================================