======================================================================

DIGITALLY DEFINED

DOCUMENT 003

LABOR LIBRARY

DOCUMENT ID:

DD-003

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Labor Library establishes the standard labor units used by

Digitally Defined for estimating, scheduling, production planning,

pricing, and project management.

Every labor operation performed by Digitally Defined shall be defined

within this document.

======================================================================

SCOPE

This document applies to:

• Builder Projects

• Production Homes

• Estimating

• Scheduling

• Installation

• Quality Control

• Service Work

This document does not establish pricing.

Labor pricing is maintained within DD-008 Pricing Matrix.

======================================================================

LABOR CLASSIFICATIONS

L1

Prewire Labor

--------------------------------------------------

L2

Trim & Finish Labor

--------------------------------------------------

L3

Equipment Installation

--------------------------------------------------

L4

Programming & Configuration

--------------------------------------------------

L5

Testing & Quality Control

--------------------------------------------------

L6

Service & Warranty

======================================================================

L1 — PREWIRE LABOR

Standard Operations

• Layout Device Location

• Measure Installation Height

• Install Low Voltage Bracket

• Drill Top Plate

• Install ENT (Smurf Tube)

• Secure ENT

• Install Pull String

• Pull Cat6 Cable

• Pull RG6 Cable

• Pull Speaker Wire

• Pull Camera Cable

• Pull Access Point Cable

• Pull Security Cable

• Install Structured Wiring Panel

• Fire Stop Penetrations

• Label All Cables

======================================================================

L2 — TRIM & FINISH LABOR

Standard Operations

• Install Wall Plates

• Install Keystone Jacks

• Install Coax Connectors

• Install Structured Panel Components

• Install Volume Controls

• Install Speaker Grilles

• Install Camera Bases

• Install Alarm Devices

• Install Access Points

• Install Rack Hardware

======================================================================

L3 — EQUIPMENT INSTALLATION

Standard Operations

• Install Television Mount

• Mount Television

• Install Soundbar

• Install Receiver

• Install Network Switch

• Install Router

• Install UPS

• Install Patch Panel

• Install Camera

• Install Doorbell Camera

• Install Alarm Panel

• Install Rack Equipment

======================================================================

L4 — PROGRAMMING & CONFIGURATION

Standard Operations

• Configure Router

• Configure Network Switch

• Configure Wireless Network

• Configure Access Points

• Configure Camera System

• Configure Alarm System

• Configure Mobile Applications

• Configure Audio System

• Configure Receiver

• Perform Firmware Updates

======================================================================

L5 — TESTING & QUALITY CONTROL

Standard Operations

• Test Cat6 Cable

• Test Coax Cable

• Verify Speaker Operation

• Verify Camera Operation

• Verify Alarm Operation

• Verify Wi-Fi Coverage

• Verify TV Operation

• Verify Audio Zones

• Photograph Installation

• Complete Quality Checklist

======================================================================

L6 — SERVICE & WARRANTY

Standard Operations

• Troubleshoot System

• Replace Device

• Replace Cable

• Reconfigure Network

• Software Updates

• Warranty Inspection

• Customer Education

• Service Documentation

======================================================================

LABOR STANDARDIZATION RULES

1.

Every labor operation shall follow approved installation standards.

--------------------------------------------------

2.

No labor operation shall be estimated outside of this library.

--------------------------------------------------

3.

Labor units shall be reusable across all builder floor plans.

--------------------------------------------------

4.

Every labor operation shall support scheduling,

estimating, and production planning.

--------------------------------------------------

5.

Labor operations shall remain standardized regardless

of builder or community.

======================================================================

LABOR SKILL LEVELS

LEVEL 1

Installation Technician

Standard prewire and trim operations.

--------------------------------------------------

LEVEL 2

Lead Technician

Advanced installation and troubleshooting.

--------------------------------------------------

LEVEL 3

Systems Specialist

Programming, commissioning, and complex systems.

--------------------------------------------------

LEVEL 4

Project Manager

Oversight, inspections, builder coordination,

and project execution.

======================================================================

REFERENCED DOCUMENTS

DD-001 Product Library

DD-002 Material Library

DD-004 Assembly Library

DD-008 Pricing Matrix

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-003

======================================================================