======================================================================

DIGITALLY DEFINED

DOCUMENT 004

ASSEMBLY LIBRARY

DOCUMENT ID:

DD-004

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Assembly Library establishes the standard installation assemblies

used throughout the Digitally Defined Builder Program.

An assembly is a repeatable installation consisting of approved

materials, approved products, and standardized labor.

Every estimate, floor plan, package, and work order shall be built

using these assemblies.

======================================================================

SCOPE

This document applies to:

• Builder Estimating

• Builder Packages

• Floor Plans

• Installation

• Purchasing

• Scheduling

• Quality Control

======================================================================

ASSEMBLY CLASSIFICATIONS

INF - Infrastructure Assemblies

AUD - Audio Assemblies

VID - Video Assemblies

NET - Network Assemblies

SEC - Security Assemblies

ACC - Accessory Assemblies

======================================================================

INFRASTRUCTURE ASSEMBLIES

--------------------------------------------------

INF-001

TV Conduit Stub

Description

Install 2" ENT conduit from television outlet location

vertically into accessible attic space with pull string.

Includes

• Low Voltage Bracket

• 2" ENT

• Pull String

• Secure Conduit

• Fire Stop

• Label

Reference

DD-002

DD-003

--------------------------------------------------

INF-002

Single Cat6 Drop

Description

Install one Cat6 cable from structured wiring panel

to designated outlet location.

Includes

• Cat6 Cable

• Cable Supports

• Labeling

• Testing

--------------------------------------------------

INF-003

Dual Cat6 Drop

Description

Install two Cat6 cables from structured wiring panel

to designated outlet location.

--------------------------------------------------

INF-004

TV Location Standard

Description

Install one RG6 and one Cat6 to television location.

Includes

• One Cat6

• One RG6

• Labeling

• Testing

--------------------------------------------------

INF-005

Wireless Access Point Drop

Description

Install one Cat6 cable to ceiling mounted wireless

access point location.

--------------------------------------------------

INF-006

Structured Wiring Panel

Description

Install structured wiring enclosure including

mounting, conduit entry, cable organization,

and labeling.

======================================================================

AUDIO ASSEMBLIES

--------------------------------------------------

AUD-001

Single In-Ceiling Speaker

--------------------------------------------------

AUD-002

Speaker Pair

--------------------------------------------------

AUD-003

Stereo Audio Zone

--------------------------------------------------

AUD-004

5.1 Surround Prewire

--------------------------------------------------

AUD-005

7.2 Surround Prewire

--------------------------------------------------

AUD-006

Outdoor Speaker Pair

--------------------------------------------------

AUD-007

Rock Speaker Pair

--------------------------------------------------

AUD-008

Indoor Volume Control

--------------------------------------------------

AUD-009

Outdoor Volume Control

======================================================================

VIDEO ASSEMBLIES

--------------------------------------------------

VID-001

Small TV Mount

--------------------------------------------------

VID-002

Medium TV Mount

--------------------------------------------------

VID-003

Large TV Mount

--------------------------------------------------

VID-004

Small Full Motion Mount

--------------------------------------------------

VID-005

Medium Full Motion Mount

--------------------------------------------------

VID-006

Large Full Motion Mount

======================================================================

NETWORK ASSEMBLIES

--------------------------------------------------

NET-001

Router Installation

--------------------------------------------------

NET-002

Managed Network Switch

--------------------------------------------------

NET-003

Unmanaged Network Switch

--------------------------------------------------

NET-004

Wireless Access Point

--------------------------------------------------

NET-005

Network Rack

--------------------------------------------------

NET-006

UPS Installation

--------------------------------------------------

NET-007

Patch Panel Installation

======================================================================

SECURITY ASSEMBLIES

--------------------------------------------------

SEC-001

Alarm Panel

--------------------------------------------------

SEC-002

Door Contact

--------------------------------------------------

SEC-003

Window Contact

--------------------------------------------------

SEC-004

Motion Detector

--------------------------------------------------

SEC-005

Glass Break Detector

--------------------------------------------------

SEC-006

Doorbell Camera

--------------------------------------------------

SEC-007

Single Camera

--------------------------------------------------

SEC-008

Four Camera Package

--------------------------------------------------

SEC-009

Eight Camera Package

--------------------------------------------------

SEC-010

Sixteen Camera Package

======================================================================

ASSEMBLY STANDARD

Every assembly shall contain:

• Assembly Number

• Assembly Name

• Description

• Approved Materials

• Approved Products

• Required Labor

• Quality Standard

• Inspection Requirement

======================================================================

ASSEMBLY RULES

1.

Assemblies shall only utilize approved materials.

--------------------------------------------------

2.

Assemblies shall only utilize approved products.

--------------------------------------------------

3.

Assemblies shall only utilize approved labor

operations.

--------------------------------------------------

4.

Assemblies are reusable across all builders,

communities, and floor plans.

--------------------------------------------------

5.

Assemblies are the foundation for all estimating,

pricing, purchasing, scheduling, and installation.

======================================================================

REFERENCED DOCUMENTS

DD-001 Product Library

DD-002 Material Library

DD-003 Labor Library

DD-005 Room Template Library

DD-008 Pricing Matrix

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-004

======================================================================