======================================================================

DIGITALLY DEFINED

DOCUMENT 005

ROOM TEMPLATE LIBRARY

DOCUMENT ID:

DD-005

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Room Template Library establishes the standard technology

infrastructure for every room type used within the Digitally Defined

Builder Program.

Room Templates eliminate custom estimating by assigning standardized

assemblies to each room. Floor plans are created by combining approved

room templates.

======================================================================

SCOPE

This document applies to:

• Builder Floor Plans

• Builder Packages

• Estimating

• Installation

• Purchasing

• Scheduling

======================================================================

ROOM TEMPLATE STANDARD

Every room template shall contain:

• Room Name

• Standard Assemblies

• Optional Upgrades

• Notes

======================================================================

RM-001

LIVING ROOM

Standard Assemblies

• INF-001 TV Conduit Stub

• INF-004 TV Location Standard

Optional Assemblies

• INF-003 Dual Cat6 Drop

• AUD-003 Stereo Audio Zone

• AUD-004 5.1 Surround Prewire

• AUD-005 7.2 Surround Prewire

• VID-001 through VID-006 TV Mount

• SEC-006 Doorbell Camera Viewing Connection

======================================================================

RM-002

PRIMARY BEDROOM

Standard Assemblies

• INF-001 TV Conduit Stub

• INF-004 TV Location Standard

Optional Assemblies

• INF-003 Dual Cat6 Drop

• AUD-003 Stereo Audio Zone

• VID-001 through VID-006 TV Mount

======================================================================

RM-003

STANDARD BEDROOM

Standard Assemblies

• INF-001 TV Conduit Stub

• INF-004 TV Location Standard

Optional Assemblies

• INF-003 Dual Cat6 Drop

• VID-001 through VID-006 TV Mount

======================================================================

RM-004

OFFICE

Standard Assemblies

• INF-002 Single Cat6 Drop

Optional Assemblies

• INF-003 Dual Cat6 Drop

• INF-005 Wireless Access Point Drop

======================================================================

RM-005

MEDIA ROOM

Standard Assemblies

• INF-001 TV Conduit Stub

• INF-004 TV Location Standard

• INF-003 Dual Cat6 Drop

Optional Assemblies

• AUD-004 5.1 Surround Prewire

• AUD-005 7.2 Surround Prewire

• NET-005 Network Rack

• VID-001 through VID-006 TV Mount

======================================================================

RM-006

PATIO

Optional Assemblies

• AUD-006 Outdoor Speaker Pair

• AUD-009 Outdoor Volume Control

• SEC-007 Single Camera

======================================================================

RM-007

GARAGE

Optional Assemblies

• INF-002 Single Cat6 Drop

• SEC-007 Single Camera

======================================================================

RM-008

BONUS ROOM / FLEX ROOM

Standard Assemblies

• INF-001 TV Conduit Stub

• INF-004 TV Location Standard

Optional Assemblies

• INF-003 Dual Cat6 Drop

• AUD-003 Stereo Audio Zone

======================================================================

RM-009

UPSTAIRS APARTMENT / GUEST SUITE

Standard Assemblies

• INF-001 TV Conduit Stub

• INF-004 TV Location Standard

• INF-002 Single Cat6 Drop

Optional Assemblies

• AUD-003 Stereo Audio Zone

• AUD-006 Outdoor Speaker Pair

======================================================================

ROOM TEMPLATE RULES

1.

Every room shall utilize one approved room template.

--------------------------------------------------

2.

Room templates may only use approved assemblies.

--------------------------------------------------

3.

Custom room configurations require management approval.

--------------------------------------------------

4.

Room templates shall remain standardized across all builders.

--------------------------------------------------

5.

Floor plans shall be created by combining approved room templates.

======================================================================

REFERENCED DOCUMENTS

DD-001 Product Library

DD-002 Material Library

DD-003 Labor Library

DD-004 Assembly Library

DD-006 Floor Plan Formula Library

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-005

======================================================================