======================================================================

DIGITALLY DEFINED

DOCUMENT 011

INSTALLATION STANDARDS

DOCUMENT ID:

DD-011

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Installation Standards establish the minimum workmanship,

installation quality, and execution requirements for every project

performed by Digitally Defined.

Every installation shall be completed using these standards to ensure

consistent quality, reduced warranty claims, and a professional

customer experience.

======================================================================

SCOPE

This document applies to:

• Builder Projects

• Production Homes

• Model Homes

• Homeowner Upgrades

• Service Replacements

======================================================================

GENERAL INSTALLATION STANDARD

Every installation shall be:

• Safe

• Clean

• Neat

• Properly Supported

• Properly Labeled

• Fully Tested

• Fully Documented

======================================================================

PREWIRE STANDARDS

All cable runs shall:

• Follow approved routing paths.

• Avoid electrical interference.

• Be properly supported.

• Avoid sharp bends.

• Maintain manufacturer bend radius.

• Be protected from physical damage.

• Be labeled at both ends.

• Be tested before trim.

======================================================================

CONDUIT STANDARDS

Every TV conduit installation shall:

• Utilize approved 2" ENT.

• Be securely fastened.

• Include pull string.

• Extend into accessible attic space.

• Be protected from damage.

• Be clearly identified.

======================================================================

STRUCTURED WIRING PANEL

Every structured wiring panel shall:

• Be level.

• Be securely mounted.

• Have organized cable routing.

• Have labeled cables.

• Allow future expansion.

• Maintain service accessibility.

======================================================================

NETWORK INSTALLATION

Network equipment shall:

• Be securely mounted.

• Have organized cable management.

• Maintain service loops where required.

• Be properly ventilated.

• Be labeled.

• Be tested prior to completion.

======================================================================

AUDIO INSTALLATION

Speakers shall:

• Be centered where applicable.

• Be securely mounted.

• Be free of vibration.

• Match approved layout drawings.

• Be polarity verified.

• Be tested before completion.

======================================================================

VIDEO INSTALLATION

Television installations shall:

• Be level.

• Be securely mounted.

• Meet manufacturer specifications.

• Conceal wiring where applicable.

• Be fully tested.

======================================================================

SECURITY INSTALLATION

Camera installations shall:

• Provide intended field of view.

• Be securely mounted.

• Be weather protected where required.

• Be properly sealed.

• Be fully configured.

Alarm installations shall:

• Be tested.

• Be programmed.

• Be labeled.

• Be demonstrated.

======================================================================

FINISH STANDARDS

Completed installations shall:

• Be clean.

• Be free of debris.

• Have no visible damage.

• Have straight wall plates.

• Have clean device alignment.

• Have organized equipment.

======================================================================

TESTING STANDARD

Every completed installation shall include:

• Cable testing.

• Device verification.

• Network verification.

• Audio verification.

• Camera verification.

• Alarm verification.

• Final walkthrough.

======================================================================

DOCUMENTATION STANDARD

Every completed installation shall include:

• Photos.

• Test results.

• Device inventory.

• Installation notes.

• Warranty information.

======================================================================

INSTALLATION RULES

1.

No installation shall deviate from approved assemblies.

--------------------------------------------------

2.

No unapproved products shall be installed.

--------------------------------------------------

3.

All workmanship shall meet Digitally Defined quality standards.

--------------------------------------------------

4.

All systems shall be tested before project completion.

--------------------------------------------------

5.

Every installation shall be documented prior to project closeout.

======================================================================

REFERENCED DOCUMENTS

DD-001 Product Library

DD-002 Material Library

DD-003 Labor Library

DD-004 Assembly Library

DD-005 Room Template Library

DD-007 Builder Package Library

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-011

======================================================================