======================================================================

DIGITALLY DEFINED

DOCUMENT 012

QUALITY CONTROL STANDARDS

DOCUMENT ID:

DD-012

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Quality Control Standards establish the inspection procedures

required to verify that every installation performed by Digitally

Defined meets company standards before project completion.

Quality Control verifies that installations are complete,

functional, documented, and ready for customer turnover.

======================================================================

SCOPE

This document applies to:

• Builder Projects

• Production Homes

• Model Homes

• Homeowner Upgrades

• Warranty Repairs

• Service Replacements

======================================================================

QUALITY CONTROL OBJECTIVES

Every inspection shall verify:

• Workmanship

• Functionality

• Safety

• Appearance

• Documentation

• Customer Readiness

======================================================================

QC LEVELS

QC-1

Prewire Inspection

--------------------------------------------------

QC-2

Trim Inspection

--------------------------------------------------

QC-3

Equipment Inspection

--------------------------------------------------

QC-4

Programming Verification

--------------------------------------------------

QC-5

Final System Inspection

======================================================================

QC-1

PREWIRE INSPECTION

Verify:

• Correct cable type

• Correct cable quantity

• Proper routing

• Proper support

• Proper bend radius

• Proper labeling

• Fire stopping completed

• Conduit installed correctly

• Structured panel complete

======================================================================

QC-2

TRIM INSPECTION

Verify:

• Wall plates straight

• Connectors properly terminated

• Volume controls installed correctly

• Speaker grilles aligned

• Cameras mounted correctly

• Alarm devices installed

• Clean appearance

======================================================================

QC-3

EQUIPMENT INSPECTION

Verify:

• Router installed

• Switch installed

• Rack organized

• UPS installed

• Receiver installed

• TV mount level

• Equipment labeled

• Cable management complete

======================================================================

QC-4

PROGRAMMING VERIFICATION

Verify:

• Network configured

• Wi-Fi operational

• Cameras online

• Alarm programmed

• Audio functioning

• Firmware updated

• Mobile applications configured

======================================================================

QC-5

FINAL SYSTEM INSPECTION

Verify:

• All systems operational

• Customer options installed

• Photos completed

• Documentation complete

• Jobsite cleaned

• Builder ready

======================================================================

PHOTO DOCUMENTATION

Required Photos

• Structured Panel

• Rack

• Every TV Location

• Every Camera

• Equipment Installations

• Audio Equipment

• Exterior Devices

• Completed Rooms

======================================================================

TESTING REQUIREMENTS

Every project shall verify:

• Cat6 continuity

• Coax continuity

• Speaker polarity

• Network performance

• Camera operation

• Alarm operation

• Internet connectivity

• Wi-Fi coverage

======================================================================

QUALITY CONTROL CHECKLIST

Every inspection shall verify:

□ Correct Products

□ Correct Materials

□ Correct Assemblies

□ Correct Installation

□ Proper Labeling

□ System Testing

□ Documentation

□ Cleanliness

□ Customer Ready

======================================================================

QUALITY CONTROL RULES

1.

Every project shall receive a QC inspection.

--------------------------------------------------

2.

No project shall be released without passing QC.

--------------------------------------------------

3.

Failed inspections require correction before release.

--------------------------------------------------

4.

All deficiencies shall be documented.

--------------------------------------------------

5.

QC inspections shall be completed independently from

the original installer whenever possible.

======================================================================

PROJECT STATUS

PASS

Project meets all Digitally Defined standards.

--------------------------------------------------

PASS WITH CORRECTIONS

Minor deficiencies documented and corrected before

release.

--------------------------------------------------

FAIL

Project shall not be released until all deficiencies

have been corrected.

======================================================================

REFERENCED DOCUMENTS

DD-001 Product Library

DD-002 Material Library

DD-003 Labor Library

DD-004 Assembly Library

DD-011 Installation Standards

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-012

======================================================================