======================================================================

DIGITALLY DEFINED

SERVICE STANDARDS LIBRARY

STANDARD ID

DD-0602

--------------------------------------------------

STANDARD CLASSIFICATION CODE

SER-CS-001

--------------------------------------------------

STANDARD NAME

Corrective Service Call Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Service Standards

--------------------------------------------------

Standard Type

Corrective Service

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

(Additional personnel as required by scope)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-0601 Preventative Maintenance

Inspection Standard

QC Library

LAB Library

Asset Register

Digital Project Record

Service Ticket System

======================================================================

PURPOSE

The Corrective Service Call Standard establishes

the Digitally Defined process for responding to,

diagnosing, repairing, testing, documenting,

and closing customer service calls involving

installed low-voltage systems.

The objective is to restore customer systems to

full operational condition safely, efficiently,

professionally, and consistently while maintaining

complete documentation and customer communication.

======================================================================

SERVICE OBJECTIVES

Restore system operation.

--------------------------------------------------

Identify root cause of failure.

--------------------------------------------------

Minimize customer downtime.

--------------------------------------------------

Prevent repeat failures.

--------------------------------------------------

Maintain accurate documentation.

--------------------------------------------------

Provide professional customer experience.

======================================================================

STANDARD APPLICATIONS

Approved For

• Audio Systems

• Video Systems

• Surveillance Systems

• Access Control

• Intrusion Systems

• Networking Equipment

• Building Automation

• Equipment Racks

• UPS Systems

• Fiber Infrastructure

======================================================================

SERVICE PRIORITY LEVELS

Priority 1

Critical

Complete system failure

Immediate dispatch

--------------------------------------------------

Priority 2

High

Partial system failure

Same-day response

--------------------------------------------------

Priority 3

Standard

Non-critical issue

Next available technician

--------------------------------------------------

Priority 4

Low

Adjustment or cosmetic issue

Scheduled service

======================================================================

PRE-DISPATCH REQUIREMENTS

Before Dispatch

□ Review service ticket

□ Review customer history

□ Review previous repairs

□ Review system documentation

□ Verify required tools

□ Verify replacement parts

□ Contact customer

□ Confirm site access

======================================================================

REQUIRED TOOLS

• Laptop

• Digital Multimeter

• Network Tester

• Fiber Test Equipment (if applicable)

• Camera Test Monitor

• Hand Tools

• Label Printer

• Cleaning Supplies

• Spare Consumables

======================================================================

SITE ARRIVAL PROCEDURE

1.

Check in with customer representative.

--------------------------------------------------

2.

Review reported issue.

--------------------------------------------------

3.

Confirm affected systems.

--------------------------------------------------

4.

Verify work authorization.

--------------------------------------------------

5.

Determine operational impact.

--------------------------------------------------

6.

Begin diagnostic process.

======================================================================

DIAGNOSTIC PROCEDURE

Verify

□ Power

□ Network Connectivity

□ Device Status

□ Cabling

□ Configuration

□ Firmware

□ Error Logs

□ Environmental Conditions

--------------------------------------------------

Identify

□ Root cause

□ Secondary issues

□ Safety concerns

======================================================================

CORRECTIVE ACTION

Perform

□ Component replacement

□ Configuration correction

□ Firmware update (if approved)

□ Cable repair

□ Device reset

□ Software correction

□ Programming correction

--------------------------------------------------

Replacement Parts

Record all installed components.

======================================================================

SYSTEM TESTING

Verify

□ Device operation

□ System operation

□ Customer functionality

□ Alarm conditions cleared

□ Event logs normal

□ Communications restored

□ Performance verified

======================================================================

QUALITY CONTROL

Verify

□ Repair completed

□ System fully operational

□ Labels updated

□ Firmware documented

□ Photos captured

□ Work area clean

======================================================================

CUSTOMER COMMUNICATION

Review

• Cause of failure

• Repairs performed

• Parts replaced

• Recommendations

• Preventative maintenance opportunities

• Future upgrade recommendations

======================================================================

DEFICIENCY REPORTING

If additional issues are discovered

Classify

□ Critical

□ Major

□ Minor

□ Advisory

--------------------------------------------------

Generate quote if required.

======================================================================

DOCUMENTATION

Required

□ Service Report

□ Root Cause Analysis

□ Parts Used

□ Firmware Inventory

□ QC Photographs

□ Customer Recommendations

□ Customer Signature

□ Digital Project Record Updated

======================================================================

CUSTOMER SIGNOFF

Verify

□ Repair demonstrated

□ Customer satisfied

□ Questions answered

□ Documentation reviewed

□ Signature obtained

======================================================================

SERVICE COMPLETION REQUIREMENTS

Before Leaving

□ System operational

□ Customer approval received

□ Area cleaned

□ Documentation complete

□ Ticket closed

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

First-Time Fix Rate

--------------------------------------------------

Average Response Time

--------------------------------------------------

Average Repair Time

--------------------------------------------------

Repeat Service Rate

--------------------------------------------------

Customer Satisfaction Score

--------------------------------------------------

Documentation Accuracy

======================================================================

SERVICE RULES

1.

Every corrective service call shall begin with a

complete diagnostic process before replacing

components.

--------------------------------------------------

2.

Technicians shall identify and document the root

cause of every service event whenever possible.

--------------------------------------------------

3.

Customer approval shall be obtained before

performing billable work outside the approved

service agreement.

--------------------------------------------------

4.

Only approved replacement parts and Digitally

Defined procedures shall be used.

--------------------------------------------------

5.

Every repair shall be functionally tested before

leaving the site.

--------------------------------------------------

6.

Every corrective service call shall conclude with a

completed service report, customer review,

updated asset records, and Digital Project Record.

======================================================================

COMMON ERRORS TO AVOID

• Replacing parts without diagnosis

• Failure to identify root cause

• Incomplete testing

• Poor customer communication

• Missing documentation

• Failure to update asset records

• Leaving unresolved deficiencies undocumented

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-0601 Preventative Maintenance

Inspection Standard

QC Library

LAB Library

Asset Register

Customer Service Agreements

Digital Project Record

Manufacturer Service Manuals

======================================================================

REVISION APPROVAL

Service Manager Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0602

======================================================================