======================================================================

DIGITALLY DEFINED

SERVICE STANDARDS LIBRARY

STANDARD ID

DD-0604

--------------------------------------------------

STANDARD CLASSIFICATION CODE

SER-RST-001

--------------------------------------------------

STANDARD NAME

Remote Support &

Troubleshooting Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Service Standards

--------------------------------------------------

Standard Type

Remote Technical Support

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

Escalate to Level-2+ Engineer as Required

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-0602 Corrective Service Call Standard

DD-0603 Emergency Service Dispatch Standard

QC Library

LAB Library

Customer Service Agreements

Digital Project Record

======================================================================

PURPOSE

The Remote Support & Troubleshooting Standard

establishes the Digitally Defined procedures for

providing secure remote diagnostics, customer

assistance, troubleshooting, programming review,

configuration support, and remote issue resolution.

The objective is to resolve customer issues as

quickly as possible while reducing unnecessary

site visits, maintaining cybersecurity, and

ensuring complete documentation of all remote

support activities.

======================================================================

SERVICE OBJECTIVES

Resolve issues remotely whenever practical.

--------------------------------------------------

Minimize customer downtime.

--------------------------------------------------

Reduce unnecessary dispatches.

--------------------------------------------------

Maintain secure remote access.

--------------------------------------------------

Provide consistent customer communication.

--------------------------------------------------

Maintain complete service documentation.

======================================================================

STANDARD APPLICATIONS

Approved For

• Surveillance Systems

• Access Control

• Intrusion Systems

• Audio Systems

• Video Systems

• Networking Equipment

• Building Automation

• Remote Management Platforms

======================================================================

REMOTE SUPPORT ELIGIBILITY

Remote Support May Be Used For

□ Configuration Issues

□ Programming Adjustments

□ Software Errors

□ User Assistance

□ Firmware Verification

□ Event Log Review

□ Alarm Review

□ Performance Verification

--------------------------------------------------

On-Site Dispatch Required For

□ Hardware Failure

□ Physical Damage

□ Cabling Issues

□ Power Failure

□ Equipment Replacement

□ Safety Hazards

======================================================================

PRE-SUPPORT REQUIREMENTS

Before Connecting

□ Verify customer identity

□ Verify service agreement

□ Obtain customer authorization

□ Review previous service history

□ Review system documentation

□ Verify secure remote connection

□ Open service ticket

======================================================================

APPROVED REMOTE ACCESS METHODS

Approved Methods

• Manufacturer Cloud Portal

• VPN Connection

• Secure HTTPS Session

• Encrypted Remote Desktop

• Approved Remote Support Software

--------------------------------------------------

Prohibited

• Shared passwords

• Unencrypted remote access

• Personal remote access software

======================================================================

CYBERSECURITY REQUIREMENTS

Verify

□ MFA Enabled

□ Secure credentials

□ Customer authorization

□ Session logging enabled

□ Encryption verified

□ Audit logs maintained

□ Remote session terminated upon completion

======================================================================

REMOTE DIAGNOSTIC PROCEDURE

Verify

□ System online

□ Device status

□ Event logs

□ Firmware version

□ Configuration

□ Network connectivity

□ Power status (where available)

□ Performance metrics

--------------------------------------------------

Determine

□ Root cause

□ Remote repair feasibility

======================================================================

REMOTE CORRECTIVE ACTIONS

Approved Actions

□ Configuration updates

□ Programming corrections

□ User account management

□ Software restart

□ Firmware verification

□ Remote diagnostics

□ Log collection

□ Performance optimization

--------------------------------------------------

Restricted Actions

Require customer approval before significant

configuration or firmware changes.

======================================================================

ESCALATION CRITERIA

Escalate To On-Site Service When

□ Hardware failure confirmed

□ Remote access unavailable

□ Physical inspection required

□ Safety concerns identified

□ Customer requests on-site support

□ Remote repair unsuccessful

======================================================================

CUSTOMER COMMUNICATION

Provide Updates

□ Connection established

□ Findings explained

□ Corrective actions reviewed

□ Testing completed

□ Recommendations provided

□ Next steps explained

======================================================================

QUALITY CONTROL

Verify

□ System operational

□ Customer functionality verified

□ Remote session documented

□ Configuration backed up

□ Customer informed

□ Service ticket updated

======================================================================

DOCUMENTATION

Required

□ Remote Support Report

□ Root Cause Analysis

□ Configuration Changes

□ Firmware Verification

□ Event Log Summary

□ Customer Communication Record

□ Digital Project Record Updated

======================================================================

CUSTOMER SIGNOFF

Verify

□ Issue resolved

□ Customer confirms operation

□ Recommendations reviewed

□ Questions answered

□ Service ticket acknowledged

======================================================================

SERVICE COMPLETION REQUIREMENTS

Before Closing Ticket

□ Remote session disconnected

□ System operational

□ Configuration backup completed

□ Documentation complete

□ Customer satisfied

□ Ticket closed

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Remote Resolution Rate

--------------------------------------------------

Average Resolution Time

--------------------------------------------------

Dispatch Avoidance Rate

--------------------------------------------------

Customer Satisfaction Score

--------------------------------------------------

Repeat Remote Support Rate

--------------------------------------------------

Documentation Accuracy

======================================================================

SERVICE RULES

1.

Every remote support session shall begin with

customer verification and authorization.

--------------------------------------------------

2.

Only approved secure remote access methods shall

be utilized.

--------------------------------------------------

3.

Configuration changes shall be documented before

and after implementation.

--------------------------------------------------

4.

Major programming or firmware changes require

customer approval unless covered under an active

service agreement.

--------------------------------------------------

5.

Every remote support session shall conclude with

functional testing and customer confirmation.

--------------------------------------------------

6.

All remote support activities shall be documented

within the Digital Project Record before closing

the service ticket.

======================================================================

COMMON ERRORS TO AVOID

• Unauthorized remote access

• Failure to document configuration changes

• Leaving remote sessions active

• Skipping customer verification

• Poor communication

• Missing configuration backups

• Incomplete service documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-0602 Corrective Service Call Standard

DD-0603 Emergency Service Dispatch Standard

QC Library

LAB Library

Customer Service Agreements

Digital Project Record

Manufacturer Remote Access Guidelines

======================================================================

REVISION APPROVAL

Service Manager Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0604

======================================================================