======================================================================

DIGITALLY DEFINED

SERVICE STANDARDS LIBRARY

STANDARD ID

DD-0605

--------------------------------------------------

STANDARD CLASSIFICATION CODE

SER-FSU-001

--------------------------------------------------

STANDARD NAME

Firmware & Software Update Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Service Standards

--------------------------------------------------

Standard Type

Firmware & Software Lifecycle Management

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Systems Engineer (When Required)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-0602 Corrective Service Call Standard

DD-0604 Remote Support &

Troubleshooting Standard

QC Library

LAB Library

Asset Register

Digital Project Record

Manufacturer Release Notes

======================================================================

PURPOSE

The Firmware & Software Update Standard

establishes the Digitally Defined procedures for

planning, approving, validating, executing,

testing, documenting, and verifying firmware and

software updates across supported systems.

The objective is to maintain system stability,

improve cybersecurity, ensure compatibility,

minimize customer downtime, and provide complete

change documentation.

======================================================================

SERVICE OBJECTIVES

Maintain supported software versions.

--------------------------------------------------

Improve cybersecurity.

--------------------------------------------------

Increase system reliability.

--------------------------------------------------

Reduce software-related failures.

--------------------------------------------------

Maintain manufacturer compliance.

--------------------------------------------------

Document every software change.

======================================================================

STANDARD APPLICATIONS

Approved For

• Surveillance Systems

• Access Control

• Intrusion Systems

• Audio DSPs

• Video Systems

• Network Equipment

• Building Automation

• Servers

• Workstations

• Mobile Applications

======================================================================

UPDATE CLASSIFICATIONS

Routine Update

Scheduled maintenance update.

--------------------------------------------------

Security Update

Critical cybersecurity update.

--------------------------------------------------

Feature Update

Adds supported functionality.

--------------------------------------------------

Emergency Update

Immediate action required due to security,

stability, or manufacturer advisory.

======================================================================

PRE-UPDATE REQUIREMENTS

Before Beginning

□ Review manufacturer release notes

□ Verify compatibility

□ Review customer environment

□ Verify backup availability

□ Confirm maintenance window

□ Obtain customer approval

□ Notify affected users

□ Open change record

======================================================================

REQUIRED TOOLS

• Laptop

• Programming Software

• Firmware Repository

• Configuration Backup Software

• Network Analyzer

• Internet Connection

• Digital Project Record

======================================================================

PRE-UPDATE BACKUP

Required

□ Configuration backup

□ Programming backup

□ Database backup

□ User account backup

□ License backup

□ Firmware inventory

--------------------------------------------------

Backups shall be verified before proceeding.

======================================================================

CHANGE CONTROL

Verify

□ Customer approval received

□ Maintenance window approved

□ Rollback plan documented

□ Update sequence defined

□ Dependencies reviewed

□ Risk assessment completed

======================================================================

UPDATE EXECUTION

Perform

□ Upload firmware/software

□ Verify installation

□ Reboot if required

□ Verify successful startup

□ Review system logs

□ Confirm communication

--------------------------------------------------

Only approved manufacturer releases shall be

installed.

======================================================================

POST-UPDATE TESTING

Verify

□ Device operational

□ Communications restored

□ Programming retained

□ User accounts functional

□ Event logging operational

□ Alarm reporting operational

□ Customer functionality verified

======================================================================

ROLLBACK PROCEDURE

If update fails

□ Restore configuration backup

□ Restore firmware (if supported)

□ Restore database

□ Restore programming

□ Verify full operation

□ Notify customer

□ Document failure

======================================================================

CYBERSECURITY REQUIREMENTS

Verify

□ Security patches installed

□ Default credentials removed

□ Encryption maintained

□ MFA operational

□ Audit logs enabled

□ Certificates verified

======================================================================

QUALITY CONTROL

Verify

□ Update completed

□ Firmware versions documented

□ Backup verified

□ Customer testing completed

□ Photos/screenshots archived (where applicable)

□ Documentation complete

======================================================================

CUSTOMER COMMUNICATION

Review

• Purpose of update

• Changes implemented

• New features

• Security improvements

• Downtime experienced

• Recommendations

======================================================================

DOCUMENTATION

Required

□ Firmware Update Report

□ Software Version Inventory

□ Configuration Backup Record

□ Change Control Record

□ Rollback Documentation (if used)

□ QC Verification

□ Customer Approval

□ Digital Project Record Updated

======================================================================

CUSTOMER SIGNOFF

Verify

□ Update reviewed

□ System demonstrated

□ Questions answered

□ Customer approval obtained

======================================================================

SERVICE COMPLETION REQUIREMENTS

Before Closing

□ System operational

□ Backup verified

□ Documentation complete

□ Customer satisfied

□ Change record closed

□ Ticket closed

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Update Success Rate

--------------------------------------------------

Rollback Rate

--------------------------------------------------

Average Update Time

--------------------------------------------------

Customer Downtime

--------------------------------------------------

Security Compliance Rate

--------------------------------------------------

Documentation Accuracy

======================================================================

SERVICE RULES

1.

Every firmware or software update shall include a

verified configuration backup before implementation.

--------------------------------------------------

2.

Only manufacturer-supported firmware and software

versions approved by Digitally Defined shall be

installed.

--------------------------------------------------

3.

Major updates shall only be performed during

approved maintenance windows unless responding to

an emergency security event.

--------------------------------------------------

4.

Rollback procedures shall be prepared before

beginning every update.

--------------------------------------------------

5.

Customer approval shall be obtained before any

non-emergency software modification.

--------------------------------------------------

6.

Every update shall conclude with functional

testing, documentation, customer review, and an

updated Digital Project Record.

======================================================================

COMMON ERRORS TO AVOID

• Updating without verified backups

• Installing unsupported firmware

• Ignoring manufacturer release notes

• Failure to validate compatibility

• Missing rollback planning

• Incomplete post-update testing

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-0602 Corrective Service Call Standard

DD-0604 Remote Support &

Troubleshooting Standard

QC Library

LAB Library

Asset Register

Digital Project Record

Manufacturer Firmware Release Notes

Cybersecurity Best Practices

======================================================================

REVISION APPROVAL

Service Manager Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0605

======================================================================