======================================================================

DIGITALLY DEFINED

QUALITY ASSURANCE STANDARDS LIBRARY

STANDARD ID

DD-0611

--------------------------------------------------

STANDARD CLASSIFICATION CODE

QA-QIV-001

--------------------------------------------------

STANDARD NAME

Quality Inspection &

Verification Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Quality Assurance Standards

--------------------------------------------------

Standard Type

Quality Inspection &

Verification

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Lead Technician

Quality Inspector (As Required)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-060 Service Standards Library

QC Library

ROOM Library

Asset Register

Digital Project Record

Project Drawings

Project Scope of Work

======================================================================

PURPOSE

The Quality Inspection & Verification Standard

establishes the Digitally Defined procedures for

performing systematic inspections of all installed

systems, workmanship, documentation, and project

deliverables prior to customer acceptance.

The objective is to ensure every installation meets

Digitally Defined engineering standards, project

requirements, manufacturer recommendations, and

customer expectations before project turnover.

======================================================================

QUALITY OBJECTIVES

Deliver defect-free installations.

--------------------------------------------------

Verify compliance with engineering standards.

--------------------------------------------------

Identify deficiencies before customer turnover.

--------------------------------------------------

Improve installation consistency.

--------------------------------------------------

Reduce warranty callbacks.

--------------------------------------------------

Maintain measurable quality metrics.

======================================================================

STANDARD APPLICATIONS

Required For

• New Installations

• Renovation Projects

• Service Upgrades

• Equipment Replacements

• System Expansions

• Commissioning Activities

• Final Project Turnover

======================================================================

INSPECTION PHASES

Required

□ Rough-In Inspection

□ Trim Inspection

□ Device Installation Inspection

□ Programming Verification

□ System Testing

□ Final Quality Inspection

□ Customer Acceptance Inspection

======================================================================

PRE-INSPECTION REQUIREMENTS

Before Inspection

□ Review project drawings

□ Review scope of work

□ Review approved submittals

□ Review change orders

□ Verify project completion

□ Gather inspection tools

□ Open inspection checklist

======================================================================

REQUIRED TOOLS

• Laptop

• Digital Inspection Forms

• Label Printer

• Camera

• Digital Multimeter

• Network Tester

• Fiber Test Equipment

(Where Applicable)

• Flashlight

======================================================================

GENERAL INSTALLATION INSPECTION

Verify

□ Equipment securely mounted

□ Labels installed

□ Equipment level

□ Fasteners secure

□ Covers installed

□ Finish quality acceptable

□ No visible damage

□ Workmanship professional

======================================================================

CABLING INSPECTION

Verify

□ Proper support

□ Bend radius maintained

□ Cable separation maintained

□ Cable labels correct

□ No exposed conductors

□ Proper terminations

□ Fire stopping complete

□ Pathways compliant

======================================================================

EQUIPMENT INSPECTION

Verify

□ Correct equipment installed

□ Model numbers verified

□ Serial numbers recorded

□ Firmware documented

□ Power verified

□ Communications verified

□ Grounding verified

□ Asset tags installed

======================================================================

SYSTEM OPERATION

Verify

□ System powers correctly

□ Programming operational

□ Customer functions operational

□ Network communication verified

□ Alarms operational

□ Reports operational

□ User permissions verified

======================================================================

SAFETY INSPECTION

Verify

□ Electrical safety

□ Fire stopping complete

□ Grounding complete

□ Secure mounting

□ Hazard-free installation

□ OSHA compliance

======================================================================

DOCUMENTATION INSPECTION

Verify

□ Drawings updated

□ Asset inventory complete

□ Programming backups complete

□ Labels accurate

□ QC photographs complete

□ Warranty documentation complete

======================================================================

QUALITY DEFICIENCY CLASSIFICATION

Level 1

Critical

Must be corrected immediately.

--------------------------------------------------

Level 2

Major

Must be corrected before customer acceptance.

--------------------------------------------------

Level 3

Minor

Correct prior to project closeout.

--------------------------------------------------

Level 4

Observation

Improvement recommended.

======================================================================

QUALITY VERIFICATION

Verify

□ Engineering standards followed

□ Manufacturer standards followed

□ Company standards followed

□ Customer requirements met

□ Scope complete

□ Project ready for turnover

======================================================================

QUALITY CONTROL

Verify

□ Inspection complete

□ Deficiencies documented

□ Photos uploaded

□ Documentation verified

□ Inspector approval

□ Operations approval

======================================================================

DOCUMENTATION

Required

□ Quality Inspection Report

□ Deficiency Log

□ QC Photographs

□ Inspection Checklist

□ Corrective Action List

□ Inspector Approval

□ Digital Project Record Updated

======================================================================

PROJECT ACCEPTANCE

Verify

□ All deficiencies resolved

□ Quality approved

□ Documentation complete

□ Customer walkthrough scheduled

□ Project ready for turnover

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

First-Pass Inspection Rate

--------------------------------------------------

Deficiency Rate

--------------------------------------------------

Rework Percentage

--------------------------------------------------

Quality Score

--------------------------------------------------

Customer Acceptance Rate

--------------------------------------------------

Inspection Completion Time

======================================================================

QUALITY RULES

1.

Every project shall receive a documented quality

inspection before customer acceptance.

--------------------------------------------------

2.

Critical and major deficiencies shall be corrected

before project turnover.

--------------------------------------------------

3.

Quality inspections shall verify workmanship,

functionality, documentation, and compliance.

--------------------------------------------------

4.

Photographic documentation shall accompany every

final quality inspection.

--------------------------------------------------

5.

Only approved Digitally Defined inspection

procedures shall be utilized.

--------------------------------------------------

6.

Every inspection shall conclude with completed

documentation, updated Digital Project Records,

and formal approval before project turnover.

======================================================================

COMMON ERRORS TO AVOID

• Skipping inspection steps

• Missing documentation

• Incomplete testing

• Incorrect labeling

• Failure to verify programming

• Missing QC photographs

• Accepting unresolved deficiencies

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-060 Service Standards Library

QC Library

ROOM Library

LAB Library

Asset Register

Digital Project Record

Manufacturer Installation Standards

======================================================================

REVISION APPROVAL

Quality Manager Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0611

======================================================================