======================================================================

DIGITALLY DEFINED

QUALITY ASSURANCE STANDARDS LIBRARY

STANDARD ID

DD-0612

--------------------------------------------------

STANDARD CLASSIFICATION CODE

QA-PDS-001

--------------------------------------------------

STANDARD NAME

Photo Documentation Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Quality Assurance Standards

--------------------------------------------------

Standard Type

Project Photo Documentation

--------------------------------------------------

Difficulty Level

2 of 5

--------------------------------------------------

Required Crew

All Field Personnel

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-1

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

QC Library

Digital Project Record

Asset Register

CRM / Project Management Platform

======================================================================

PURPOSE

The Photo Documentation Standard establishes the

Digitally Defined requirements for capturing,

organizing, storing, and maintaining photographic

records throughout every phase of a project.

The objective is to create a complete visual record

of installation quality, concealed infrastructure,

equipment placement, testing, service work,

customer turnover, and future service reference.

======================================================================

QUALITY OBJECTIVES

Document every project consistently.

--------------------------------------------------

Provide visual verification of workmanship.

--------------------------------------------------

Support future service work.

--------------------------------------------------

Reduce disputes.

--------------------------------------------------

Support warranty claims.

--------------------------------------------------

Maintain complete project records.

======================================================================

STANDARD APPLICATIONS

Required For

• New Construction

• Retrofit Projects

• Service Calls

• Preventative Maintenance

• Warranty Repairs

• Equipment Replacements

• Final Project Closeout

======================================================================

PHOTO REQUIREMENTS

Photos Shall Be

□ Clear

□ In Focus

□ Properly Exposed

□ Properly Framed

□ High Resolution

□ Color Images

□ Free of Obstructions

□ Taken Before Area Cleanup

======================================================================

REQUIRED EQUIPMENT

• Company Mobile Device

or

• Company Camera

--------------------------------------------------

Minimum Resolution

12 Megapixels

--------------------------------------------------

Flash

When Required

--------------------------------------------------

GPS Metadata

Enabled Where Supported

======================================================================

REQUIRED PROJECT PHOTOS

PRE-INSTALLATION

□ Existing conditions

□ Equipment locations

□ Ceiling conditions

□ Wall conditions

□ Rack locations

□ Utility pathways

□ Customer concerns

--------------------------------------------------

ROUGH-IN

□ Cable pathways

□ Conduit installation

□ J-hooks

□ Sleeves

□ Fire stopping

□ Backboxes

□ Above ceiling work

□ Wall rough-in

--------------------------------------------------

TRIM PHASE

□ Device installation

□ Faceplates

□ Equipment racks

□ Patch panels

□ Cable management

□ Labeling

□ Rack elevations

--------------------------------------------------

FINAL INSTALLATION

□ Completed room overview

□ Equipment racks

□ Displays

□ Speakers

□ Cameras

□ Access control devices

□ Control systems

□ Network equipment

--------------------------------------------------

DETAIL PHOTOS

□ Device labels

□ Serial numbers

□ Asset tags

□ Rack cable management

□ Fiber terminations

□ Patch panels

□ Programming screens (if applicable)

--------------------------------------------------

TESTING & COMMISSIONING

□ Test equipment setup

□ Certification reports

□ System operation

□ Customer demonstration

--------------------------------------------------

SERVICE WORK

Before Repair

□ Existing condition

□ Failed equipment

□ Damage

--------------------------------------------------

After Repair

□ Completed repair

□ Replacement equipment

□ Final workmanship

======================================================================

PHOTO NAMING STANDARD

Format

ProjectNumber_Date_Location_Description

--------------------------------------------------

Example

24015_2026-08-15_IDF1_RackFront

--------------------------------------------------

Do Not Use

IMG_00456

Picture1

Camera0001

======================================================================

PHOTO ORGANIZATION

Organize By

Project

↓

Phase

↓

Room

↓

Device

--------------------------------------------------

Required Folders

01 Existing Conditions

02 Rough-In

03 Trim

04 Equipment

05 Testing

06 Service

07 Closeout

======================================================================

PHOTO STORAGE

Upload To

□ Digital Project Record

□ CRM

□ Project Folder

□ Cloud Storage

--------------------------------------------------

Photos shall not remain only on technician devices.

======================================================================

PHOTO QUALITY REVIEW

Verify

□ All required photos taken

□ Images clear

□ Correct project

□ Correct room

□ Correct equipment

□ Proper file names

□ Successfully uploaded

======================================================================

PROHIBITED PHOTOS

Do Not Photograph

□ Customer passwords

□ Sensitive personal information

□ Security codes

□ Customer financial information

□ Protected confidential documents

--------------------------------------------------

Follow customer confidentiality requirements at all

times.

======================================================================

QUALITY CONTROL

Verify

□ Required photos complete

□ Naming standard followed

□ Uploaded successfully

□ Project folder organized

□ Documentation complete

□ Ready for inspection

======================================================================

DOCUMENTATION

Required

□ Photo Log

□ Upload Verification

□ QC Checklist

□ Project Folder Verification

□ Digital Project Record Updated

======================================================================

PROJECT CLOSEOUT

Before Closeout

□ Photo documentation complete

□ All folders organized

□ Photos uploaded

□ Linked to project

□ Quality verified

□ Ready for archive

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Photo Completion Rate

--------------------------------------------------

Upload Compliance Rate

--------------------------------------------------

Image Quality Score

--------------------------------------------------

Documentation Accuracy

--------------------------------------------------

Inspection Pass Rate

--------------------------------------------------

Photo Retrieval Success Rate

======================================================================

QUALITY RULES

1.

Every project shall include photographic

documentation from pre-installation through final

closeout.

--------------------------------------------------

2.

Photographs shall accurately represent actual field

conditions and shall not be altered except for basic

cropping or brightness adjustments.

--------------------------------------------------

3.

Required photographs shall be uploaded before

project closeout.

--------------------------------------------------

4.

Photographs shall follow the approved Digitally

Defined naming convention.

--------------------------------------------------

5.

Sensitive customer information shall never be

captured or distributed.

--------------------------------------------------

6.

Every project shall include organized photo records

within the Digital Project Record before final

acceptance.

======================================================================

COMMON ERRORS TO AVOID

• Blurry photographs

• Missing rough-in photos

• Missing rack photos

• Generic file names

• Photos stored only on technician phones

• Missing upload verification

• Incomplete project photo library

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

QC Library

LAB Library

Digital Project Record

Asset Register

CRM Standards

======================================================================

REVISION APPROVAL

Quality Manager Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0612

======================================================================