======================================================================

DIGITALLY DEFINED

QUALITY ASSURANCE STANDARDS LIBRARY

STANDARD ID

DD-0614

--------------------------------------------------

STANDARD CLASSIFICATION CODE

QA-TAV-001

--------------------------------------------------

STANDARD NAME

Testing &

Acceptance Verification Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Quality Assurance Standards

--------------------------------------------------

Standard Type

Functional Testing &

Acceptance Verification

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

Lead Technician

Project Manager (As Required)

Quality Inspector

Customer Representative (Witness Testing)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

DD-0612 Photo Documentation Standard

DD-0613 Deficiency &

Punch List Management Standard

QC Library

Project Drawings

Customer Scope of Work

Digital Project Record

======================================================================

PURPOSE

The Testing & Acceptance Verification Standard

establishes the Digitally Defined procedures for

functional testing, performance verification,

customer witness testing, acceptance validation,

and documentation of completed installations.

The objective is to verify every installed system

performs as designed, satisfies the approved scope

of work, meets manufacturer specifications, and is

ready for customer acceptance.

======================================================================

QUALITY OBJECTIVES

Verify complete system functionality.

--------------------------------------------------

Confirm compliance with project requirements.

--------------------------------------------------

Identify deficiencies before turnover.

--------------------------------------------------

Reduce warranty callbacks.

--------------------------------------------------

Document all acceptance testing.

--------------------------------------------------

Provide objective quality verification.

======================================================================

STANDARD APPLICATIONS

Required For

• New Installations

• Renovation Projects

• System Expansions

• Major Equipment Replacements

• Commissioning Activities

• Final Project Acceptance

======================================================================

PRE-TEST REQUIREMENTS

Before Testing

□ Installation complete

□ Programming complete

□ Labels complete

□ Deficiencies corrected

□ Power verified

□ Network operational

□ Documentation available

□ Test equipment calibrated

======================================================================

REQUIRED TEST EQUIPMENT

As Applicable

• Digital Multimeter

• Network Tester

• Cable Certification Tester

• Fiber Certification Equipment

• Audio Analyzer

• Video Test Generator

• Camera Test Monitor

• Thermal Camera

• Laptop

======================================================================

FUNCTIONAL TESTING

Verify

□ Power-up sequence

□ Device operation

□ Communications

□ User interface

□ Programming

□ Scheduled events

□ Alarm conditions

□ Notifications

□ Redundancy (Where Applicable)

======================================================================

SYSTEM-SPECIFIC TESTING

Verify Applicable Functions

□ Audio quality

□ Video quality

□ Camera recording

□ Access control operation

□ Intrusion alarm reporting

□ Network connectivity

□ Wireless connectivity

□ UPS operation

□ Environmental monitoring

□ Automation sequences

======================================================================

PERFORMANCE VERIFICATION

Verify

□ Response times

□ Signal quality

□ Network performance

□ Storage functionality

□ Power stability

□ System reliability

□ Environmental conditions

--------------------------------------------------

Performance shall meet project specifications and

manufacturer requirements.

======================================================================

CUSTOMER WITNESS TESTING

Demonstrate

□ Normal operation

□ User functions

□ Administrative functions

□ Alarm conditions

□ Reports

□ Scheduled events

□ Emergency operation (Where Applicable)

--------------------------------------------------

Customer questions shall be answered during testing.

======================================================================

PASS / FAIL CRITERIA

PASS

□ All required functions operational

□ No critical deficiencies

□ Documentation complete

□ Customer demonstration successful

--------------------------------------------------

FAIL

□ Functional failure

□ Safety issue

□ Major programming issue

□ Incomplete installation

□ Missing documentation

--------------------------------------------------

Failed testing shall require corrective action and

retesting.

======================================================================

RETEST PROCEDURE

If Testing Fails

□ Correct deficiencies

□ Update documentation

□ Perform complete retest

□ Record results

□ Obtain approval

======================================================================

QUALITY CONTROL

Verify

□ Test procedures completed

□ Results documented

□ Photos captured

□ Customer participation documented

□ Pass/Fail status recorded

□ Inspector approval

======================================================================

DOCUMENTATION

Required

□ Test Report

□ Acceptance Checklist

□ Equipment Test Results

□ Certification Reports

□ QC Photographs

□ Customer Witness Record

□ Acceptance Form

□ Digital Project Record Updated

======================================================================

CUSTOMER ACCEPTANCE

Verify

□ Testing completed

□ Demonstration successful

□ Documentation received

□ Questions answered

□ Customer approval obtained

□ Acceptance signed

======================================================================

PROJECT COMPLETION REQUIREMENTS

Before Turnover

□ Testing passed

□ Documentation complete

□ Customer acceptance complete

□ Deficiencies closed

□ Digital records updated

□ Ready for project closeout

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

First-Pass Test Rate

--------------------------------------------------

Retest Percentage

--------------------------------------------------

Acceptance Rate

--------------------------------------------------

Testing Accuracy

--------------------------------------------------

Customer Satisfaction

--------------------------------------------------

Average Testing Duration

======================================================================

QUALITY RULES

1.

Every completed installation shall undergo

documented functional testing before customer

acceptance.

--------------------------------------------------

2.

Testing shall be performed using approved

Digitally Defined procedures and calibrated test

equipment.

--------------------------------------------------

3.

Customer witness testing shall be completed whenever

required by the contract or project scope.

--------------------------------------------------

4.

Failed tests shall require documented corrective

action before retesting.

--------------------------------------------------

5.

Only approved pass/fail criteria shall determine

system acceptance.

--------------------------------------------------

6.

Every project shall include completed testing

documentation, customer acceptance records, and

updated Digital Project Records before turnover.

======================================================================

COMMON ERRORS TO AVOID

• Skipping functional tests

• Using uncalibrated test equipment

• Incomplete customer demonstrations

• Missing certification reports

• Failing to retest after corrections

• Missing acceptance signatures

• Incomplete testing documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

DD-0612 Photo Documentation Standard

DD-0613 Deficiency &

Punch List Management Standard

QC Library

LAB Library

Project Drawings

Digital Project Record

Manufacturer Testing Procedures

======================================================================

REVISION APPROVAL

Quality Manager Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0614

======================================================================