======================================================================

DIGITALLY DEFINED

QUALITY ASSURANCE STANDARDS LIBRARY

STANDARD ID

DD-0615

--------------------------------------------------

STANDARD CLASSIFICATION CODE

QA-NCA-001

--------------------------------------------------

STANDARD NAME

Non-Conformance &

Corrective Action Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Quality Assurance Standards

--------------------------------------------------

Standard Type

Non-Conformance Management &

Corrective Action

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

Project Manager

Quality Manager

Assigned Technician(s)

Operations Manager (As Required)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

DD-0613 Deficiency &

Punch List Management Standard

DD-0614 Testing &

Acceptance Verification Standard

QC Library

Digital Project Record

======================================================================

PURPOSE

The Non-Conformance & Corrective Action Standard

establishes the Digitally Defined procedures for

identifying, documenting, containing,

investigating, correcting, verifying, and

preventing non-conforming work.

The objective is to eliminate recurring quality

issues through systematic root cause analysis,

effective corrective actions, preventive measures,

and continuous operational improvement.

======================================================================

QUALITY OBJECTIVES

Prevent recurring failures.

--------------------------------------------------

Improve installation consistency.

--------------------------------------------------

Reduce warranty callbacks.

--------------------------------------------------

Increase accountability.

--------------------------------------------------

Improve customer satisfaction.

--------------------------------------------------

Support continuous improvement.

======================================================================

STANDARD APPLICATIONS

Required For

• Installation Errors

• Failed Inspections

• Failed Acceptance Testing

• Service Quality Issues

• Warranty Trends

• Safety Violations

• Customer Complaints

• Internal Audit Findings

======================================================================

NON-CONFORMANCE DEFINITION

A Non-Conformance Exists When

□ Installation differs from approved drawings

□ Company standards are not followed

□ Manufacturer requirements are violated

□ Customer requirements are unmet

□ Testing fails

□ Documentation is incomplete

□ Safety requirements are violated

□ Quality expectations are not achieved

======================================================================

NON-CONFORMANCE CLASSIFICATION

LEVEL 1

Critical

Examples

• Life safety issue

• Code violation

• Severe customer impact

• Major security risk

Immediate action required.

--------------------------------------------------

LEVEL 2

Major

Examples

• Failed system

• Major workmanship issue

• Failed acceptance testing

Correct before turnover.

--------------------------------------------------

LEVEL 3

Minor

Examples

• Label corrections

• Cosmetic repairs

• Documentation deficiencies

Correct before project closeout.

--------------------------------------------------

LEVEL 4

Observation

Improvement opportunity only.

======================================================================

CONTAINMENT PROCEDURE

Immediately

□ Identify affected work

□ Prevent additional impact

□ Notify Operations

□ Notify customer (If required)

□ Isolate defective equipment

□ Secure work area

--------------------------------------------------

Containment shall occur before corrective action.

======================================================================

ROOT CAUSE ANALYSIS

Determine

□ What happened?

□ When did it occur?

□ Why did it occur?

□ Who was involved?

□ Which systems were affected?

□ Could it occur elsewhere?

--------------------------------------------------

Use documented root cause analysis methods.

======================================================================

CORRECTIVE ACTION PLAN

Develop

□ Immediate correction

□ Permanent correction

□ Responsible person

□ Required resources

□ Completion deadline

□ Verification method

--------------------------------------------------

Corrective actions shall eliminate the root cause,

not only the symptom.

======================================================================

PREVENTIVE ACTION

Evaluate

□ Training improvements

□ Process improvements

□ Documentation revisions

□ Engineering revisions

□ Tool improvements

□ Material changes

□ Supplier improvements

--------------------------------------------------

Prevent recurrence whenever practical.

======================================================================

IMPLEMENTATION

Complete

□ Corrective work

□ Documentation updates

□ Training updates

□ Drawing revisions

□ Inventory corrections

□ Customer communication

======================================================================

VERIFICATION OF EFFECTIVENESS

Verify

□ Issue resolved

□ Root cause eliminated

□ No recurrence

□ Testing passed

□ Customer satisfied

□ Documentation complete

--------------------------------------------------

Verification shall be completed before closure.

======================================================================

ESCALATION

Escalate When

□ Repeat occurrence

□ Multiple projects affected

□ Customer escalation

□ Safety concern

□ Manufacturer issue

□ Financial impact exceeds approval limits

======================================================================

QUALITY CONTROL

Verify

□ Root cause documented

□ Corrective action completed

□ Preventive action reviewed

□ Verification completed

□ Documentation complete

□ Management approval

======================================================================

DOCUMENTATION

Required

□ Non-Conformance Report

□ Root Cause Analysis

□ Corrective Action Plan

□ Preventive Action Record

□ Verification Report

□ QC Photographs

□ Management Approval

□ Digital Project Record Updated

======================================================================

MANAGEMENT REVIEW

Review

□ Cause

□ Resolution

□ Trends

□ Training opportunities

□ Process improvements

□ Future prevention

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Non-Conformance Rate

--------------------------------------------------

Corrective Action Completion Time

--------------------------------------------------

Repeat Issue Rate

--------------------------------------------------

Warranty Callback Reduction

--------------------------------------------------

Root Cause Completion Rate

--------------------------------------------------

Preventive Action Effectiveness

======================================================================

QUALITY RULES

1.

Every non-conformance shall be documented before

corrective work begins.

--------------------------------------------------

2.

Containment actions shall protect the customer,

project, and company before permanent corrections

are implemented.

--------------------------------------------------

3.

Corrective actions shall address the documented

root cause, not only the observed symptom.

--------------------------------------------------

4.

Repeat non-conformances shall trigger management

review and preventive action.

--------------------------------------------------

5.

All corrective actions shall be verified before

closure.

--------------------------------------------------

6.

Every non-conformance shall conclude with complete

documentation, management approval, and updated

Digital Project Records.

======================================================================

COMMON ERRORS TO AVOID

• Correcting symptoms instead of root causes

• Poor documentation

• Missing verification

• Failure to identify recurring trends

• No preventive action

• Delayed containment

• Closing reports prematurely

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

DD-0613 Deficiency &

Punch List Management Standard

DD-0614 Testing &

Acceptance Verification Standard

QC Library

LAB Library

Digital Project Record

Company Training Standards

======================================================================

REVISION APPROVAL

Quality Manager Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0615

======================================================================