======================================================================

DIGITALLY DEFINED

QUALITY ASSURANCE STANDARDS LIBRARY

STANDARD ID

DD-0617

--------------------------------------------------

STANDARD CLASSIFICATION CODE

QA-CWA-001

--------------------------------------------------

STANDARD NAME

Customer Walkthrough &

Acceptance Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Quality Assurance Standards

--------------------------------------------------

Standard Type

Customer Project Walkthrough &

Formal Acceptance

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

Project Manager

Lead Technician

Customer Representative

Operations Manager (As Required)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

DD-0612 Photo Documentation Standard

DD-0613 Deficiency &

Punch List Management Standard

DD-0614 Testing &

Acceptance Verification Standard

Digital Project Record

Customer Documentation Package

======================================================================

PURPOSE

The Customer Walkthrough & Acceptance Standard

establishes the Digitally Defined procedures for

conducting professional customer walkthroughs,

demonstrating completed systems, reviewing project

deliverables, documenting customer feedback, and

obtaining formal project acceptance.

The objective is to ensure every completed project

is professionally presented, all contractual

requirements are verified, customer expectations

are met, and formal acceptance is documented prior

to project closeout.

======================================================================

QUALITY OBJECTIVES

Verify customer satisfaction.

--------------------------------------------------

Demonstrate completed systems.

--------------------------------------------------

Confirm project scope completion.

--------------------------------------------------

Document customer feedback.

--------------------------------------------------

Complete formal project acceptance.

--------------------------------------------------

Ensure successful project turnover.

======================================================================

STANDARD APPLICATIONS

Required For

• New Installations

• Renovation Projects

• System Expansions

• Major Equipment Replacements

• Commissioned Systems

• Projects Requiring Customer Acceptance

======================================================================

PRE-WALKTHROUGH REQUIREMENTS

Before Walkthrough

□ Installation complete

□ Testing complete

□ Quality inspection complete

□ Punch list complete

□ Documentation prepared

□ Training completed (if applicable)

□ Customer appointment confirmed

□ Acceptance package prepared

======================================================================

REQUIRED MATERIALS

• Customer Documentation Package

• As-Built Drawings

• Asset Inventory

• Warranty Information

• Test Reports

• Acceptance Forms

• Service Contact Information

• Digital Walkthrough Checklist

======================================================================

WALKTHROUGH AGENDA

Review

□ Project scope

□ Completed work

□ System overview

□ Equipment locations

□ Installed products

□ Documentation package

□ Warranty information

□ Service options

======================================================================

SYSTEM DEMONSTRATION

Demonstrate

□ Normal operation

□ User controls

□ Administrative functions

□ Scheduled operations

□ Alarm conditions

□ Notifications

□ Backup procedures

(Where Applicable)

□ Emergency operation

(Where Applicable)

--------------------------------------------------

Customer shall observe successful operation of all

contracted system functions.

======================================================================

PROJECT VERIFICATION

Verify

□ Scope complete

□ Equipment installed

□ Labels complete

□ Workmanship acceptable

□ Programming operational

□ Documentation complete

□ Training completed

□ Site clean

======================================================================

CUSTOMER FEEDBACK

Review

□ Overall satisfaction

□ Questions

□ Requested adjustments

□ Future expansion plans

□ Service needs

□ Improvement suggestions

--------------------------------------------------

All customer feedback shall be documented.

======================================================================

FINAL DEFICIENCY REVIEW

Verify

□ No open critical deficiencies

□ No open major deficiencies

□ Remaining items documented

□ Completion schedule reviewed

(If Applicable)

======================================================================

QUALITY CONTROL

Verify

□ Walkthrough completed

□ Demonstration successful

□ Documentation delivered

□ Customer questions answered

□ Acceptance ready

□ Records updated

======================================================================

DOCUMENTATION

Required

□ Walkthrough Checklist

□ Customer Feedback Form

□ Acceptance Checklist

□ Documentation Delivery Record

□ Warranty Acknowledgement

□ QC Verification

□ Customer Acceptance Form

□ Digital Project Record Updated

======================================================================

FORMAL ACCEPTANCE

Verify

□ Customer satisfied

□ Scope accepted

□ Documentation received

□ Warranty reviewed

□ Service contacts provided

□ Acceptance signed

--------------------------------------------------

If acceptance is withheld, document reasons and

initiate corrective action procedures.

======================================================================

POST-WALKTHROUGH ACTIONS

Complete

□ Resolve remaining action items

□ Update project records

□ Notify Operations

□ Notify Accounting

□ Schedule follow-up (If Required)

□ Archive documentation

======================================================================

PROJECT COMPLETION REQUIREMENTS

Before Closeout

□ Customer acceptance received

□ Documentation complete

□ Digital records updated

□ Project ready for final review

□ Accounting notified

□ Project transitioned to service

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Customer Acceptance Rate

--------------------------------------------------

Customer Satisfaction Score

--------------------------------------------------

Walkthrough Completion Rate

--------------------------------------------------

Outstanding Deficiency Rate

--------------------------------------------------

Follow-Up Request Rate

--------------------------------------------------

Project Turnover Success Rate

======================================================================

QUALITY RULES

1.

Every qualifying project shall include a formal

customer walkthrough before final project

closeout.

--------------------------------------------------

2.

All contracted system functions shall be

demonstrated to the customer.

--------------------------------------------------

3.

Customer questions and requested adjustments shall

be documented during the walkthrough.

--------------------------------------------------

4.

Formal customer acceptance shall be obtained

whenever practical prior to project turnover.

--------------------------------------------------

5.

Any unresolved items shall be documented with an

agreed completion plan.

--------------------------------------------------

6.

Every walkthrough shall conclude with completed

documentation, customer acceptance records, and

updated Digital Project Records.

======================================================================

COMMON ERRORS TO AVOID

• Conducting walkthroughs before testing is complete

• Incomplete system demonstrations

• Missing documentation package

• Failing to document customer concerns

• Missing customer signatures

• Leaving unresolved action items undocumented

• Incomplete project records

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

DD-0612 Photo Documentation Standard

DD-0613 Deficiency &

Punch List Management Standard

DD-0614 Testing &

Acceptance Verification Standard

QC Library

LAB Library

Digital Project Record

Customer Documentation Package

======================================================================

REVISION APPROVAL

Quality Manager Approval

______________________

Operations Approval

______________________

Project Manager Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0617

======================================================================