======================================================================

DIGITALLY DEFINED

QUALITY ASSURANCE STANDARDS LIBRARY

STANDARD ID

DD-0618

--------------------------------------------------

STANDARD CLASSIFICATION CODE

QA-FQR-001

--------------------------------------------------

STANDARD NAME

Final Project

Quality Review Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Quality Assurance Standards

--------------------------------------------------

Standard Type

Final Internal Project

Quality Review

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

Operations Manager

Project Manager

Lead Technician

Quality Manager

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Management

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-0611 Quality Inspection &

Verification Standard

DD-0612 Photo Documentation Standard

DD-0613 Deficiency &

Punch List Management Standard

DD-0614 Testing &

Acceptance Verification Standard

DD-0615 Non-Conformance &

Corrective Action Standard

DD-0617 Customer Walkthrough &

Acceptance Standard

Digital Project Record

======================================================================

PURPOSE

The Final Project Quality Review Standard

establishes the Digitally Defined procedures for

performing the final internal review of every

completed project before operational closeout,

billing completion, warranty activation, and

transition into long-term service support.

The objective is to ensure every project is fully

complete, accurately documented, financially ready,

and meets Digitally Defined quality standards

before being considered complete.

======================================================================

QUALITY OBJECTIVES

Verify complete project execution.

--------------------------------------------------

Confirm documentation accuracy.

--------------------------------------------------

Ensure customer acceptance.

--------------------------------------------------

Prepare project for billing.

--------------------------------------------------

Transition project to service.

--------------------------------------------------

Protect company quality standards.

======================================================================

STANDARD APPLICATIONS

Required For

• New Installations

• Renovation Projects

• Equipment Replacements

• Major Service Projects

• Commissioned Systems

• Customer Acceptance Projects

======================================================================

PRE-REVIEW REQUIREMENTS

Before Review

□ Installation complete

□ Testing complete

□ Customer walkthrough complete

□ Customer acceptance received

□ Documentation complete

□ Asset inventory updated

□ Service records complete

□ Project manager review completed

======================================================================

FINAL QUALITY REVIEW

Verify

□ Scope completed

□ Approved products installed

□ Installation standards followed

□ Workmanship acceptable

□ Labels complete

□ Equipment operational

□ Documentation complete

□ Customer requirements satisfied

======================================================================

ENGINEERING COMPLIANCE

Verify

□ DD Assembly Standards followed

□ Company standards followed

□ Manufacturer standards followed

□ Approved change orders incorporated

□ Approved substitutions documented

□ Engineering intent maintained

======================================================================

DOCUMENTATION REVIEW

Verify

□ As-Built Drawings

□ Asset Register

□ Programming Backups

□ Configuration Backups

□ Test Reports

□ Warranty Documents

□ Photo Documentation

□ Customer Acceptance Forms

□ Training Records

□ Digital Project Record

======================================================================

QUALITY RECORD REVIEW

Confirm

□ No open critical deficiencies

□ No open major deficiencies

□ Corrective actions complete

□ Punch list closed

□ Inspection reports approved

□ Acceptance testing passed

======================================================================

CUSTOMER REVIEW

Verify

□ Customer acceptance signed

□ Documentation delivered

□ Warranty reviewed

□ Training completed

□ Outstanding issues documented

□ Service transition approved

======================================================================

FINANCIAL READINESS

Verify

□ Labor complete

□ Material costs complete

□ Change orders processed

□ Purchase orders reconciled

□ Billing information complete

□ Project ready for invoicing

======================================================================

SERVICE TRANSITION

Transfer

□ Asset Register

□ Warranty information

□ Maintenance schedule

□ Service agreement

□ Customer contacts

□ Support documentation

--------------------------------------------------

Operations shall notify the Service Department upon

successful completion of the review.

======================================================================

MANAGEMENT APPROVAL

Required

□ Project Manager

□ Operations Manager

□ Quality Manager

--------------------------------------------------

Large projects may also require Owner approval.

======================================================================

QUALITY CONTROL

Verify

□ Final review completed

□ Documentation approved

□ Financial review complete

□ Service transition complete

□ Records archived

□ Closeout authorized

======================================================================

DOCUMENTATION

Required

□ Final Quality Review Checklist

□ Management Approval Form

□ Financial Readiness Verification

□ Service Transition Checklist

□ Final QC Report

□ Project Closeout Authorization

□ Digital Project Record Updated

======================================================================

PROJECT COMPLETION REQUIREMENTS

Before Final Closeout

□ Quality approved

□ Customer accepted

□ Documentation complete

□ Financial review complete

□ Service transition complete

□ Management approval received

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Final Review Pass Rate

--------------------------------------------------

Documentation Accuracy

--------------------------------------------------

Outstanding Deficiency Rate

--------------------------------------------------

Billing Readiness Rate

--------------------------------------------------

Service Transition Success Rate

--------------------------------------------------

Overall Project Quality Score

======================================================================

QUALITY RULES

1.

Every qualifying project shall undergo a Final

Project Quality Review before closeout.

--------------------------------------------------

2.

No project shall proceed to billing until quality,

documentation, and customer acceptance have been

verified.

--------------------------------------------------

3.

All required approvals shall be obtained before

project closure.

--------------------------------------------------

4.

Projects shall not transition to Service until all

required project documentation has been completed.

--------------------------------------------------

5.

Management approval shall be documented before

archiving project records.

--------------------------------------------------

6.

Every Final Project Quality Review shall conclude

with complete documentation, management approval,

service transition, and updated Digital Project

Records.

======================================================================

COMMON ERRORS TO AVOID

• Closing projects with open deficiencies

• Missing customer acceptance

• Incomplete documentation

• Missing programming backups

• Inaccurate asset inventory

• Billing before quality approval

• Incomplete service transition

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-061 Quality Assurance Standards Library

QC Library

LAB Library

Digital Project Record

Asset Register

Customer Documentation Package

======================================================================

REVISION APPROVAL

Quality Manager Approval

______________________

Operations Approval

______________________

Owner Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0618

======================================================================