======================================================================

DIGITALLY DEFINED

DOCUMENTATION STANDARDS LIBRARY

STANDARD ID

DD-0622

--------------------------------------------------

STANDARD CLASSIFICATION CODE

DOC-ABD-001

--------------------------------------------------

STANDARD NAME

As-Built Drawings &

Record Documents Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Documentation Standards

--------------------------------------------------

Standard Type

As-Built Documentation &

Record Drawing Management

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

Project Manager

Lead Technician

Design Coordinator (As Required)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-061 Quality Assurance Standards Library

DD-0621 Project Documentation Standard

Digital Project Record

Project Drawings

Asset Register

======================================================================

PURPOSE

The As-Built Drawings & Record Documents Standard

establishes the Digitally Defined procedures for

recording field changes, updating engineering

documents, preparing final record drawings, and

maintaining accurate as-built documentation.

The objective is to ensure every completed project

accurately reflects the installed infrastructure,

equipment locations, cable routing, programming,

and field modifications for future maintenance,

service, and expansion.

======================================================================

DOCUMENTATION OBJECTIVES

Provide accurate record drawings.

--------------------------------------------------

Capture all field modifications.

--------------------------------------------------

Support future maintenance.

--------------------------------------------------

Improve troubleshooting efficiency.

--------------------------------------------------

Maintain engineering accuracy.

--------------------------------------------------

Provide professional customer documentation.

======================================================================

STANDARD APPLICATIONS

Required For

• New Construction

• Renovation Projects

• Equipment Replacements

• Infrastructure Expansions

• System Upgrades

• Commissioned Projects

======================================================================

AS-BUILT REQUIREMENTS

Record All Field Changes

□ Device relocation

□ Cable routing changes

□ Equipment substitutions

□ Rack modifications

□ Panel modifications

□ Programming revisions

□ Label changes

□ Circuit changes

□ Network changes

======================================================================

REQUIRED DRAWINGS

As Applicable

□ Floor Plans

□ Device Layouts

□ Rack Elevations

□ Cable Schedules

□ Fiber Schedules

□ Equipment Schedules

□ Network Diagrams

□ Signal Flow Diagrams

□ Single-Line Diagrams

□ System Block Diagrams

======================================================================

FIELD VERIFICATION

Verify

□ Installed equipment

□ Equipment locations

□ Cable pathways

□ Device numbering

□ Asset tags

□ Labels

□ Network addresses

□ Rack elevations

--------------------------------------------------

Drawings shall reflect actual installed conditions.

======================================================================

REVISION MANAGEMENT

Every Revision Shall Include

□ Revision number

□ Revision date

□ Description of change

□ Responsible person

□ Approval

--------------------------------------------------

Previous revisions shall be retained according to

Document Control procedures.

======================================================================

DRAWING STANDARDS

Verify

□ Correct project number

□ Correct title block

□ Current revision

□ Scale verified

□ North orientation (when applicable)

□ Symbols consistent

□ Labels legible

□ Sheet numbering complete

======================================================================

ENGINEERING REVIEW

Review

□ Accuracy

□ Completeness

□ Coordination with scope

□ Consistency with installed work

□ Revision history

□ Final approval

======================================================================

QUALITY CONTROL

Verify

□ Drawings complete

□ Field conditions verified

□ Revisions documented

□ Asset Register updated

□ Digital records updated

□ Customer package complete

======================================================================

DOCUMENTATION

Required

□ Final As-Built Drawings

□ Revision Log

□ Equipment Schedule

□ Cable Schedule

□ Rack Elevations

□ Network Diagrams

□ Approval Record

□ Digital Project Record Updated

======================================================================

CUSTOMER DELIVERABLES

Provide

□ PDF Record Drawings

□ Native Drawing Files

(When Required By Contract)

□ Revision Log

□ Equipment Schedules

□ Network Documentation

□ Asset Register

======================================================================

PROJECT COMPLETION REQUIREMENTS

Before Closeout

□ As-Builts complete

□ Engineering approved

□ Customer copy prepared

□ Files archived

□ Digital records updated

□ Documentation complete

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

As-Built Accuracy

--------------------------------------------------

Revision Accuracy

--------------------------------------------------

Drawing Completion Rate

--------------------------------------------------

Customer Acceptance Rate

--------------------------------------------------

Document Retrieval Time

--------------------------------------------------

Engineering Approval Rate

======================================================================

DOCUMENTATION RULES

1.

Every completed project shall include accurate

as-built drawings reflecting final installed

conditions.

--------------------------------------------------

2.

All field changes shall be incorporated into the

record drawings before project closeout.

--------------------------------------------------

3.

Only approved revisions shall be released to the

customer.

--------------------------------------------------

4.

As-built documentation shall be coordinated with

the Asset Register and Digital Project Record.

--------------------------------------------------

5.

Drawing revisions shall be fully documented and

maintained under formal document control.

--------------------------------------------------

6.

Every project shall conclude with approved

record drawings, revision history, customer

deliverables, and archived documentation.

======================================================================

COMMON ERRORS TO AVOID

• Using design drawings as as-built drawings

• Missing field modifications

• Incorrect device locations

• Outdated revision numbers

• Missing approval signatures

• Inconsistent labeling

• Incomplete drawing packages

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-060 Service Standards Library

DD-061 Quality Assurance Standards Library

DD-0621 Project Documentation Standard

Digital Project Record

Asset Register

Engineering Drawing Standards

Document Control Procedures

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Documentation Manager Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0622

======================================================================