======================================================================

DIGITALLY DEFINED

DOCUMENTATION STANDARDS LIBRARY

STANDARD ID

DD-0623

--------------------------------------------------

STANDARD CLASSIFICATION CODE

DOC-AIL-001

--------------------------------------------------

STANDARD NAME

Asset Identification &

Labeling Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Documentation Standards

--------------------------------------------------

Standard Type

Asset Identification,

Equipment Labeling &

Lifecycle Tracking

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

All Installation Personnel

Lead Technician

Project Manager (Verification)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-1

--------------------------------------------------

Dependencies

DD-058 Assembly Standards Library

DD-061 Quality Assurance Standards Library

DD-0621 Project Documentation Standard

DD-0622 As-Built Drawings &

Record Documents Standard

Asset Register

Digital Project Record

QR Asset Database

======================================================================

PURPOSE

The Asset Identification & Labeling Standard

establishes Digitally Defined's company-wide

requirements for identifying, labeling, numbering,

tracking, and documenting all installed equipment,

infrastructure, and customer assets.

The objective is to ensure every installed asset

can be uniquely identified throughout its lifecycle,

improving installation quality, documentation,

future serviceability, inventory management, and

customer support.

======================================================================

OBJECTIVES

Create one standardized identification system.

--------------------------------------------------

Improve technician efficiency.

--------------------------------------------------

Support future service work.

--------------------------------------------------

Improve inventory accuracy.

--------------------------------------------------

Support warranty tracking.

--------------------------------------------------

Provide complete asset traceability.

======================================================================

STANDARD APPLICATIONS

Required For

• Equipment Racks

• Cameras

• Access Control Devices

• Audio Equipment

• Video Equipment

• Network Equipment

• Fiber Infrastructure

• Copper Infrastructure

• UPS Systems

• Workstations

• Servers

• Customer-Owned Equipment

======================================================================

GENERAL LABEL REQUIREMENTS

All Labels Shall Be

□ Permanent

□ Machine Printed

□ Legible

□ Waterproof

□ UV Resistant

□ Smudge Resistant

□ Properly Positioned

□ Consistent Company Wide

--------------------------------------------------

Handwritten labels are prohibited except during

temporary construction activities.

======================================================================

ASSET IDENTIFICATION FORMAT

Every Asset Shall Include

□ Company Asset ID

□ Device Name

□ Equipment Type

□ Room Identifier

□ Rack Identifier (If Applicable)

□ Installation Date

□ QR Code (Where Applicable)

--------------------------------------------------

Example

CAM-1F-012

SW-IDF1-01

DSP-CONF-A-01

======================================================================

RACK LABELING

Identify

□ Rack Number

□ Rack Name

□ Rack Location

□ Elevation Reference

□ Circuit Identification

□ UPS Identification

□ Network Uplink

--------------------------------------------------

Rack labels shall be visible from the front of the

rack.

======================================================================

DEVICE LABELING

Verify

□ Device ID

□ Equipment Name

□ Asset Tag

□ Network Name (If Applicable)

□ Manufacturer Model

□ Service Reference

--------------------------------------------------

Labels shall not obstruct ventilation or service

access.

======================================================================

CABLE LABELING

Required At

□ Both Ends

□ Patch Panels

□ Equipment Terminations

□ Intermediate Pull Points

(Where Required)

□ Splice Locations

--------------------------------------------------

Cable labels shall match project documentation.

======================================================================

PATCH PANEL LABELING

Identify

□ Patch Panel Number

□ Port Number

□ Destination

□ Source

□ VLAN (When Applicable)

--------------------------------------------------

Patch panel documentation shall match network

records.

======================================================================

NETWORK DEVICE LABELING

Identify

□ Hostname

□ IP Address

(Where Approved)

□ VLAN

□ Asset Number

□ Rack Location

□ Switch Port Reference

======================================================================

FACEPLATE LABELING

Identify

□ Outlet Number

□ Room Number

□ Port Number

□ System Identifier

--------------------------------------------------

Labels shall remain visible after installation.

======================================================================

QR CODE STANDARDS

QR Codes Shall Link To

□ Asset Register

□ Service History

□ Warranty Information

□ Manuals

□ Configuration Records

□ Replacement History

--------------------------------------------------

QR codes shall be tested before project closeout.

======================================================================

COLOR CODING

Recommended

Blue

Data

--------------------------------------------------

Yellow

Security

--------------------------------------------------

Green

Audio

--------------------------------------------------

Purple

Fiber

--------------------------------------------------

Red

Emergency / Critical Systems

--------------------------------------------------

Gray

General Infrastructure

======================================================================

ASSET REGISTER REQUIREMENTS

Every Asset Shall Include

□ Asset ID

□ Manufacturer

□ Model

□ Serial Number

□ Firmware Version

□ Installation Date

□ Warranty Status

□ Service History

□ Current Location

======================================================================

QUALITY CONTROL

Verify

□ Labels complete

□ Labels legible

□ QR codes operational

□ Asset Register updated

□ Drawings updated

□ Documentation complete

======================================================================

DOCUMENTATION

Required

□ Asset Register

□ Label Verification Checklist

□ QR Code Verification

□ Equipment Schedule

□ Rack Schedule

□ Cable Schedule

□ Digital Project Record Updated

======================================================================

PROJECT COMPLETION REQUIREMENTS

Before Closeout

□ Every asset labeled

□ Asset Register complete

□ QR codes verified

□ Drawings updated

□ Documentation complete

□ Ready for turnover

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Label Accuracy Rate

--------------------------------------------------

Asset Register Accuracy

--------------------------------------------------

QR Code Success Rate

--------------------------------------------------

Service Asset Identification Time

--------------------------------------------------

Documentation Accuracy

--------------------------------------------------

Customer Acceptance Rate

======================================================================

DOCUMENTATION RULES

1.

Every permanent asset installed by Digitally

Defined shall receive a unique company asset

identifier.

--------------------------------------------------

2.

Every cable shall be labeled at both ends unless

specifically exempted by engineering.

--------------------------------------------------

3.

Asset identifiers shall remain consistent across

drawings, programming, service records, and the

Asset Register.

--------------------------------------------------

4.

QR codes shall be verified before project turnover.

--------------------------------------------------

5.

Damaged or illegible labels shall be replaced

immediately upon discovery.

--------------------------------------------------

6.

Every project shall conclude with a verified Asset

Register, completed labeling, QR verification,

updated Digital Project Records, and approved

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Handwritten permanent labels

• Duplicate asset numbers

• Missing cable labels

• Incorrect rack numbering

• QR codes not tested

• Asset Register mismatches

• Labels hidden behind equipment

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

DD-061 Quality Assurance Standards Library

DD-0621 Project Documentation Standard

DD-0622 As-Built Drawings &

Record Documents Standard

Asset Register

Digital Project Record

QR Asset Database

Company Labeling Guide

======================================================================

REVISION APPROVAL

Operations Approval

______________________

Quality Manager Approval

______________________

Documentation Manager Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0623

======================================================================