======================================================================

DIGITALLY DEFINED

DOCUMENT 063

INSTALLATION PRODUCTION MANUAL

DOCUMENT ID:

DD-063

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Installation Production Manual establishes the standardized

production process for every installation performed by Digitally

Defined.

The objective is to ensure every technician performs every

installation using the same workflow, regardless of builder,

community, floor plan, or package selected.

This manual defines the production sequence—not the technical

installation details. Technical procedures are defined by the

approved Assembly Standards.

======================================================================

OBJECTIVE

Every installation shall be:

• Safe

• Organized

• Efficient

• Repeatable

• Fully Documented

• Quality Verified

======================================================================

INSTALLATION PHASES

Phase 1

Project Preparation

↓

Phase 2

Material Verification

↓

Phase 3

Prewire Installation

↓

Phase 4

Trim Installation

↓

Phase 5

Equipment Installation

↓

Phase 6

Programming

↓

Phase 7

Quality Control

↓

Phase 8

Project Closeout

======================================================================

PHASE 1

PROJECT PREPARATION

Before arriving onsite:

Verify:

• Builder

• Community

• Lot Number

• Floor Plan

• Package

• Approved Upgrades

• Project Notes

• Schedule

======================================================================

PHASE 2

MATERIAL VERIFICATION

Confirm:

• Project Materials

• Assemblies

• Equipment

• Specialty Items

• Labels

• Documentation

• Tools

• Test Equipment

No installation begins with missing materials unless

approved by Operations.

======================================================================

PHASE 3

PREWIRE

Install:

• ENT Conduit

• Cat6

• RG6

• Speaker Wire

• Camera Wire

• Security Wire

• Equipment Home Runs

Follow the approved Floor Plan Library and Assembly

Standards.

======================================================================

PHASE 4

TRIM

Install:

• Wall Plates

• Keystone Jacks

• Faceplates

• Speaker Brackets

• Camera Brackets

• Structured Panel Components

Verify all cable labeling.

======================================================================

PHASE 5

EQUIPMENT INSTALLATION

Install:

• TVs

• Network Equipment

• Cameras

• Speakers

• Equipment Rack

• Routers

• Switches

• Wireless Access Points

Install only approved products.

======================================================================

PHASE 6

PROGRAMMING

Configure:

• Network

• Cameras

• Audio

• Smart Devices

• Equipment Updates

• Customer Settings

Document all completed programming.

======================================================================

PHASE 7

QUALITY CONTROL

Verify:

• Installation Quality

• Cable Testing

• Equipment Operation

• Network Performance

• Camera Function

• Audio Function

• Required Photos

• Documentation

Every project shall pass QC before completion.

======================================================================

PHASE 8

PROJECT CLOSEOUT

Complete:

• Builder Walkthrough

• Customer Walkthrough (when required)

• Documentation Upload

• Required Photos

• Warranty Registration

• Close Project

======================================================================

INSTALLATION STANDARDS

Every installation shall:

• Follow approved floor plans.

• Follow approved assemblies.

• Follow approved room standards.

• Maintain clean workmanship.

• Protect customer property.

• Meet company quality standards.

======================================================================

PROJECT DOCUMENTATION

Every completed project shall include:

• Installation Checklist

• QC Checklist

• Test Results

• Photos

• Labor Report

• Material Report

• Warranty Information

======================================================================

INSTALLATION RULES

1.

No work shall begin without approved project

documentation.

--------------------------------------------------

2.

No field engineering is permitted.

--------------------------------------------------

3.

Only approved assemblies shall be installed.

--------------------------------------------------

4.

All deviations require Operations approval.

--------------------------------------------------

5.

Every completed installation shall pass Quality

Control.

--------------------------------------------------

6.

Projects shall be closed only after all required

documentation has been completed.

======================================================================

PRODUCTION FLOW

Builder Release

↓

Project Assignment

↓

Warehouse Staging

↓

Vehicle Loading

↓

Prewire

↓

Trim

↓

Equipment

↓

Programming

↓

Quality Control

↓

Builder Acceptance

↓

Warranty

======================================================================

THIS DOCUMENT REFERENCES

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-057 Room Standards Library

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

DD-060 Community Configuration Library

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-063

======================================================================