======================================================================

DIGITALLY DEFINED

SAFETY STANDARDS LIBRARY

STANDARD ID

DD-0631

--------------------------------------------------

STANDARD CLASSIFICATION CODE

SAF-GJS-001

--------------------------------------------------

STANDARD NAME

General Jobsite

Safety Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Safety Standards

--------------------------------------------------

Standard Type

General Jobsite Safety &

Risk Management

--------------------------------------------------

Difficulty Level

2 of 5

--------------------------------------------------

Required Crew

All Employees

All Subcontractors

All Visitors

--------------------------------------------------

Estimated Labor

Continuous Compliance

--------------------------------------------------

Required Skill Level

All Levels

--------------------------------------------------

Dependencies

Compliance & Incident Response Matrix

Universal Employee Guide

Training & Testing Packets

Safety Forms Library

======================================================================

PURPOSE

The General Jobsite Safety Standard establishes

Digitally Defined's minimum safety requirements for

all personnel working on customer sites, company

projects, warehouses, offices, and temporary work

locations.

The objective is to provide a safe work

environment, reduce injuries, protect customers,

protect company assets, and ensure compliance with

company safety expectations.

======================================================================

SAFETY OBJECTIVES

Protect employees.

--------------------------------------------------

Protect customers.

--------------------------------------------------

Protect property.

--------------------------------------------------

Reduce incidents.

--------------------------------------------------

Maintain professional jobsites.

--------------------------------------------------

Promote a safety-first culture.

======================================================================

STANDARD APPLICATIONS

Applies To

• New Construction

• Existing Buildings

• Service Calls

• Preventative Maintenance

• Warehouses

• Offices

• Company Vehicles

• Customer Facilities

======================================================================

GENERAL SAFETY REQUIREMENTS

Every Employee Shall

□ Arrive fit for duty

□ Wear required PPE

□ Follow company procedures

□ Maintain situational awareness

□ Report hazards immediately

□ Stop unsafe work

□ Protect customer property

□ Maintain professional conduct

======================================================================

PRE-WORK SAFETY REVIEW

Before Beginning Work

□ Review scope of work

□ Identify hazards

□ Verify PPE

□ Inspect tools

□ Inspect ladders

□ Verify access

□ Identify emergency exits

□ Review customer safety rules

======================================================================

JOBSITE HOUSEKEEPING

Maintain

□ Clean work areas

□ Organized materials

□ Clear walkways

□ Proper trash disposal

□ Safe cable routing

□ Secure tools

□ Trip hazard prevention

--------------------------------------------------

Housekeeping shall be maintained throughout the

entire workday.

======================================================================

HAZARD IDENTIFICATION

Watch For

□ Electrical hazards

□ Trip hazards

□ Falling objects

□ Overhead work

□ Sharp edges

□ Water intrusion

□ Structural damage

□ Unauthorized personnel

--------------------------------------------------

Hazards shall be corrected or reported immediately.

======================================================================

CUSTOMER PROTECTION

Protect

□ Finished surfaces

□ Furniture

□ Flooring

□ Equipment

□ Landscaping

□ Personal property

--------------------------------------------------

Damage shall be reported immediately.

======================================================================

TOOL SAFETY

Verify

□ Tools inspected

□ Guards installed

□ Batteries secure

□ Extension cords inspected

□ Test equipment operational

□ Defective tools removed

======================================================================

WORK AREA CONTROL

Establish

□ Safe work zone

□ Warning signage

□ Barrier tape (If Required)

□ Controlled access

□ Ladder safety zone

□ Material staging area

======================================================================

INCIDENT REPORTING

Immediately Report

□ Injuries

□ Near misses

□ Property damage

□ Safety violations

□ Equipment failures

□ Environmental hazards

--------------------------------------------------

Reports shall be submitted before the end of the

workday unless emergency conditions require

immediate escalation.

======================================================================

STOP WORK AUTHORITY

Every Employee Has Authority To Stop Work When

□ Unsafe conditions exist

□ Serious hazards identified

□ Safety equipment unavailable

□ Customer requests unsafe work

□ Injury risk exists

--------------------------------------------------

No employee shall be disciplined for exercising

good-faith Stop Work Authority.

======================================================================

QUALITY CONTROL

Verify

□ PPE compliant

□ Jobsite clean

□ Hazards addressed

□ Customer property protected

□ Documentation complete

□ Safety requirements met

======================================================================

DOCUMENTATION

Required

□ Daily Safety Checklist

□ Hazard Report

□ Incident Report (If Applicable)

□ Toolbox Talk Attendance

□ Corrective Action Log

======================================================================

JOB COMPLETION REQUIREMENTS

Before Leaving

□ Work area cleaned

□ Tools accounted for

□ Waste removed

□ Safety barriers removed

□ Customer notified

□ Hazards eliminated

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Recordable Incident Rate

--------------------------------------------------

Near-Miss Reporting Rate

--------------------------------------------------

Housekeeping Compliance

--------------------------------------------------

Safety Inspection Score

--------------------------------------------------

Tool Inspection Compliance

--------------------------------------------------

Customer Safety Complaints

======================================================================

SAFETY RULES

1.

Safety is the responsibility of every employee on

every jobsite.

--------------------------------------------------

2.

No work shall begin until hazards have been

identified and appropriate controls implemented.

--------------------------------------------------

3.

Employees shall immediately stop work if unsafe

conditions exist.

--------------------------------------------------

4.

Customer property shall be protected throughout all

work activities.

--------------------------------------------------

5.

Unsafe tools or equipment shall be removed from

service immediately.

--------------------------------------------------

6.

Every jobsite shall be left clean, safe, and in

equal or better condition than when work began.

======================================================================

COMMON ERRORS TO AVOID

• Poor housekeeping

• Ignoring hazards

• Using damaged tools

• Blocking exits

• Leaving trip hazards

• Failing to report incidents

• Unsafe work practices

======================================================================

REFERENCED LIBRARIES

Compliance & Incident Response Matrix

Universal Employee Guide

Training & Testing Packets

PPE Standards

Tool Safety Standards

Company Operating System

======================================================================

REVISION APPROVAL

Safety Manager Approval

______________________

Operations Approval

______________________

Owner Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0631

======================================================================