======================================================================

DIGITALLY DEFINED

SAFETY STANDARDS LIBRARY

STANDARD ID

DD-0632

--------------------------------------------------

STANDARD CLASSIFICATION CODE

SAF-ESL-001

--------------------------------------------------

STANDARD NAME

Electrical Safety &

Lockout/Tagout Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Safety Standards

--------------------------------------------------

Standard Type

Electrical Safety,

De-Energization &

Lockout/Tagout

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

All Field Personnel

Lead Technician

Authorized Service Personnel

--------------------------------------------------

Estimated Labor

As Required

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

DD-0631 General Jobsite Safety Standard

Compliance & Incident Response Matrix

Manufacturer Safety Instructions

Company Training Program

======================================================================

PURPOSE

The Electrical Safety & Lockout/Tagout Standard

establishes the minimum requirements for safely

working around electrical systems, preventing

unexpected energization, and protecting employees,

customers, and equipment during installation,

service, and maintenance activities.

The objective is to eliminate electrical injuries,

prevent equipment damage, and ensure electrical

work is performed safely and consistently.

======================================================================

SAFETY OBJECTIVES

Prevent electrical shock.

--------------------------------------------------

Prevent arc-related injuries.

--------------------------------------------------

Prevent accidental energization.

--------------------------------------------------

Protect customer equipment.

--------------------------------------------------

Protect company personnel.

--------------------------------------------------

Maintain safe work practices.

======================================================================

STANDARD APPLICATIONS

Applies To

• Network Equipment

• UPS Systems

• Low-Voltage Power Supplies

• Access Control Systems

• Security Systems

• AV Systems

• Electrical Rooms

• Equipment Racks

======================================================================

GENERAL REQUIREMENTS

Employees Shall

□ Treat all circuits as energized until verified

□ Follow manufacturer instructions

□ Use approved test equipment

□ Wear required PPE

□ Maintain safe work practices

□ Report unsafe electrical conditions

======================================================================

PRE-WORK VERIFICATION

Before Beginning Work

□ Review scope

□ Identify power sources

□ Locate disconnects

□ Inspect work area

□ Verify required PPE

□ Inspect test equipment

□ Identify emergency exits

======================================================================

LOCKOUT/TAGOUT (LOTO)

When Required

□ Equipment servicing

□ Equipment replacement

□ Electrical troubleshooting

□ Major repairs

□ Maintenance requiring exposed energized parts

--------------------------------------------------

Simple plug-connected devices under the exclusive

control of the technician may not require formal

LOTO when permitted by company policy and safe work

practices.

======================================================================

LOTO PROCEDURE

1.

Notify affected personnel.

--------------------------------------------------

2.

Identify all energy sources.

--------------------------------------------------

3.

Shut equipment down normally.

--------------------------------------------------

4.

Isolate energy source.

--------------------------------------------------

5.

Apply approved lock(s).

--------------------------------------------------

6.

Apply identification tag(s).

--------------------------------------------------

7.

Release stored energy.

--------------------------------------------------

8.

Verify zero energy using approved test equipment.

--------------------------------------------------

9.

Perform work.

--------------------------------------------------

10.

Inspect work area before re-energizing.

--------------------------------------------------

11.

Remove locks and tags.

--------------------------------------------------

12.

Restore power and verify operation.

======================================================================

TESTING REQUIREMENTS

Verify

□ Meter inspected

□ Correct meter selected

□ Meter tested before use

□ Circuit tested

□ Meter retested after use

--------------------------------------------------

Always verify the tester on a known live source

before and after checking for absence of voltage.

======================================================================

WORKING ON ENERGIZED EQUIPMENT

Only Permitted When

□ De-energization creates greater hazard

or

□ Operational testing is required

--------------------------------------------------

Additional approval may be required before

performing energized work.

======================================================================

PROHIBITED ACTIONS

Do Not

□ Bypass safety devices

□ Remove another employee's lock

□ Use damaged meters

□ Work in wet conditions without controls

□ Modify electrical equipment without approval

□ Leave exposed energized conductors unattended

======================================================================

EMERGENCY RESPONSE

If Electrical Incident Occurs

□ Do not touch energized victim

□ De-energize source if safe

□ Call emergency services

□ Notify management

□ Preserve incident scene (when appropriate)

□ Complete incident report

======================================================================

QUALITY CONTROL

Verify

□ LOTO completed

□ Zero energy confirmed

□ Equipment tested

□ Work area safe

□ Documentation complete

□ System restored properly

======================================================================

DOCUMENTATION

Required

□ LOTO Log (When Required)

□ Electrical Safety Checklist

□ Incident Report (If Applicable)

□ Corrective Action Record

□ Equipment Verification

======================================================================

JOB COMPLETION REQUIREMENTS

Before Leaving

□ Covers installed

□ Equipment operational

□ Lockout devices removed

□ Work area cleaned

□ Customer notified

□ Documentation completed

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Electrical Incident Rate

--------------------------------------------------

LOTO Compliance Rate

--------------------------------------------------

Unsafe Condition Reports

--------------------------------------------------

Electrical Inspection Score

--------------------------------------------------

Corrective Action Completion Rate

--------------------------------------------------

Zero-Energy Verification Compliance

======================================================================

SAFETY RULES

1.

Electrical equipment shall be considered energized

until proven otherwise using approved testing

procedures.

--------------------------------------------------

2.

Lockout/Tagout shall be used whenever required to

prevent unexpected energization.

--------------------------------------------------

3.

Only the employee who applied a personal lock

shall remove that lock, except under approved

emergency procedures.

--------------------------------------------------

4.

Approved test equipment shall be verified before

and after testing for absence of voltage.

--------------------------------------------------

5.

Unsafe electrical conditions shall be corrected or

reported immediately.

--------------------------------------------------

6.

No employee shall intentionally expose themselves

to unnecessary electrical hazards to save time or

avoid inconvenience.

======================================================================

COMMON ERRORS TO AVOID

• Assuming power is off

• Failing to verify zero energy

• Using damaged test equipment

• Skipping LOTO procedures

• Removing another employee's lock

• Working without identifying all power sources

• Leaving energized equipment unsecured

======================================================================

REFERENCED LIBRARIES

DD-0631 General Jobsite Safety Standard

Compliance & Incident Response Matrix

Manufacturer Safety Instructions

Company Training Program

Electrical Safety Forms

======================================================================

REVISION APPROVAL

Safety Manager Approval

______________________

Operations Approval

______________________

Owner Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0632

======================================================================