======================================================================

DIGITALLY DEFINED

SAFETY STANDARDS LIBRARY

STANDARD ID

DD-0633

--------------------------------------------------

STANDARD CLASSIFICATION CODE

SAF-LLE-001

--------------------------------------------------

STANDARD NAME

Ladder, Lift &

Elevated Work Standard

VERSION

1.0

STATUS

FROZEN

======================================================================

STANDARD METADATA

Standard Category

Safety Standards

--------------------------------------------------

Standard Type

Ladder Safety,

Aerial Lift Safety &

Elevated Work

--------------------------------------------------

Difficulty Level

2 of 5

--------------------------------------------------

Required Crew

All Field Personnel

Lead Technician

Lift Operators

--------------------------------------------------

Estimated Labor

As Required

--------------------------------------------------

Required Skill Level

Level-1

--------------------------------------------------

Dependencies

DD-0631 General Jobsite Safety Standard

Manufacturer Operating Manuals

Company Training Program

Equipment Inspection Forms

======================================================================

PURPOSE

The Ladder, Lift & Elevated Work Standard

establishes the minimum requirements for safely

performing work above ground level using ladders,

step stools, scaffolds, aerial lifts, or other

approved access equipment.

The objective is to prevent falls, protect

employees and customers, minimize property damage,

and ensure elevated work is completed safely and

professionally.

======================================================================

SAFETY OBJECTIVES

Prevent falls.

--------------------------------------------------

Prevent equipment tip-over.

--------------------------------------------------

Protect employees below.

--------------------------------------------------

Protect customer property.

--------------------------------------------------

Maintain safe access.

--------------------------------------------------

Promote proper equipment use.

======================================================================

STANDARD APPLICATIONS

Applies To

• Ladder Work

• Ceiling Work

• Cable Installation

• Camera Installation

• Speaker Installation

• Display Installation

• Aerial Lift Operations

• Elevated Service Work

======================================================================

GENERAL REQUIREMENTS

Employees Shall

□ Use the correct access equipment

□ Inspect equipment before use

□ Maintain three points of contact

□ Keep work area clear

□ Secure tools

□ Prevent falling objects

□ Follow manufacturer limits

======================================================================

PRE-WORK INSPECTION

Before Use

□ Ladder inspected

□ Lift inspected

□ Wheels locked (When Applicable)

□ Stabilizers deployed

□ Surface stable

□ Area free of hazards

□ Overhead hazards identified

□ Safe access confirmed

======================================================================

LADDER SELECTION

Use

□ Step Ladder

□ Extension Ladder

□ Platform Ladder

□ Podium Ladder

--------------------------------------------------

Do Not Use

□ Chairs

□ Buckets

□ Boxes

□ Shelving

□ Improvised platforms

======================================================================

LADDER SAFETY

Verify

□ Ladder fully opened

□ Spreaders locked

□ Stable footing

□ Proper climbing angle

□ Top step not used unless designed for standing

□ Three points of contact maintained

□ Body centered between rails

--------------------------------------------------

Never overreach. Reposition the ladder as needed.

======================================================================

EXTENSION LADDER REQUIREMENTS

Verify

□ Proper angle (approximately 4:1)

□ Secured at top (when practical)

□ Stable footing

□ Three-foot extension above landing

(When accessing roofs or platforms)

□ Area protected from pedestrian traffic

======================================================================

AERIAL LIFT SAFETY

Before Operation

□ Operator trained

□ Daily inspection completed

□ Emergency controls tested

□ Ground conditions verified

□ Overhead clearance verified

□ Work zone secured

--------------------------------------------------

Employees shall remain inside manufacturer-approved

guardrails while elevated.

======================================================================

FALL PROTECTION

Use When Required By

□ Manufacturer instructions

□ Customer requirements

□ Applicable regulations

□ Company policy

--------------------------------------------------

Approved fall protection equipment shall be

inspected before use.

======================================================================

TOOL SAFETY

While Elevated

□ Secure tools

□ Use tool lanyards when practical

□ Do not throw materials

□ Maintain organized work area

□ Protect personnel below

======================================================================

WORK AREA CONTROL

Establish

□ Safety cones

□ Barrier tape

□ Spotter (When Required)

□ Warning signage

□ Restricted access zone

======================================================================

PROHIBITED ACTIONS

Do Not

□ Stand on top cap of ladders

□ Lean ladders sideways

□ Move lifts while elevated unless specifically

approved by the manufacturer

□ Exceed weight limits

□ Use damaged equipment

□ Leave elevated equipment unattended

======================================================================

EMERGENCY RESPONSE

If Fall or Equipment Failure Occurs

□ Stop work immediately

□ Secure area

□ Call emergency services if required

□ Notify management

□ Preserve equipment for investigation

□ Complete incident report

======================================================================

QUALITY CONTROL

Verify

□ Equipment inspected

□ Safe setup completed

□ Work zone protected

□ Elevated work completed safely

□ Equipment removed

□ Documentation complete

======================================================================

DOCUMENTATION

Required

□ Equipment Inspection Checklist

□ Lift Inspection Form

□ Incident Report (If Applicable)

□ Corrective Action Record

□ Daily Safety Checklist

======================================================================

JOB COMPLETION REQUIREMENTS

Before Leaving

□ Equipment lowered

□ Ladder removed

□ Tools accounted for

□ Barricades removed

□ Work area cleaned

□ Equipment returned to storage

======================================================================

KEY PERFORMANCE INDICATORS (KPIs)

Fall Incident Rate

--------------------------------------------------

Equipment Inspection Compliance

--------------------------------------------------

Lift Inspection Completion Rate

--------------------------------------------------

Unsafe Elevated Work Observations

--------------------------------------------------

Work Area Protection Compliance

--------------------------------------------------

Equipment Damage Rate

======================================================================

SAFETY RULES

1.

Employees shall use only approved access equipment

appropriate for the task.

--------------------------------------------------

2.

Every ladder and aerial lift shall be inspected

before each day's use.

--------------------------------------------------

3.

Improvised climbing devices are strictly prohibited.

--------------------------------------------------

4.

Work areas below elevated work shall be protected

from personnel and falling objects.

--------------------------------------------------

5.

Damaged ladders or lifts shall be removed from

service immediately.

--------------------------------------------------

6.

Every elevated work activity shall conclude with

equipment inspection, safe cleanup, and documented

completion when required.

======================================================================

COMMON ERRORS TO AVOID

• Standing on the top cap of ladders

• Overreaching instead of repositioning

• Using damaged ladders

• Moving lifts improperly

• Failing to secure work zones

• Leaving tools unsecured

• Ignoring overhead hazards

======================================================================

REFERENCED LIBRARIES

DD-0631 General Jobsite Safety Standard

Manufacturer Operating Manuals

Company Training Program

Equipment Inspection Forms

Safety Forms Library

======================================================================

REVISION APPROVAL

Safety Manager Approval

______________________

Operations Approval

______________________

Owner Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF STANDARD

DD-0633

======================================================================