======================================================================

DIGITALLY DEFINED

DOCUMENT 064

FIELD TECHNICIAN MANUAL

DOCUMENT ID:

DD-064

VERSION:

1.0

STATUS:

FROZEN

DOCUMENT OWNER:

Digitally Defined

======================================================================

PURPOSE

The Field Technician Manual establishes the daily expectations,

responsibilities, standards, and procedures for every field

technician employed by Digitally Defined.

The objective is to ensure every technician represents the company

professionally, performs work consistently, follows approved

installation standards, and delivers a superior experience to both

builders and homeowners.

======================================================================

OBJECTIVE

Every technician shall be:

• Professional

• Prepared

• Productive

• Organized

• Safety Focused

• Quality Driven

======================================================================

TECHNICIAN RESPONSIBILITIES

Every technician is responsible for:

• Arriving on time

• Maintaining company vehicles

• Maintaining company tools

• Following installation standards

• Protecting customer property

• Completing assigned documentation

• Communicating with management

• Producing quality workmanship

======================================================================

STANDARD WORKDAY

Arrival

↓

Morning Preparation

↓

Vehicle Inspection

↓

Material Verification

↓

Travel to Jobsite

↓

Installation

↓

Quality Verification

↓

Daily Closeout

↓

Preparation for Tomorrow

======================================================================

BEFORE LEAVING THE SHOP

Verify:

• Work Order

• Floor Plan

• Assigned Package

• Upgrade List

• Materials

• Equipment

• Tools

• Test Equipment

• Safety Equipment

Nothing leaves the shop incomplete.

======================================================================

ON JOBSITE

Upon arrival:

• Park appropriately.

• Check in with builder if required.

• Review scope of work.

• Walk the project.

• Identify concerns.

• Begin work according to company standards.

======================================================================

WORKMANSHIP STANDARDS

Every installation shall be:

• Straight

• Secure

• Labeled

• Protected

• Organized

• Easily Serviceable

• Code Compliant

• Builder Ready

======================================================================

CUSTOMER INTERACTION

When interacting with homeowners:

• Be courteous.

• Be professional.

• Answer approved questions.

• Never speculate.

• Refer pricing or scope changes to management.

======================================================================

JOBSITE CLEANLINESS

Every technician shall:

• Protect finished surfaces.

• Keep materials organized.

• Remove trash continuously.

• Leave the project cleaner than it was found.

======================================================================

QUALITY RESPONSIBILITIES

Every technician shall verify:

• Correct installation

• Proper labeling

• Equipment operation

• Cable testing

• Documentation completion

• Required photographs

======================================================================

END OF DAY RESPONSIBILITIES

Complete:

• Daily Production Report

• Material Usage Report

• Vehicle Inspection

• Tool Inspection

• Warranty Items

• Next-Day Preparation

======================================================================

TECHNICIAN PERFORMANCE

Performance shall be evaluated on:

• Quality

• Productivity

• Attendance

• Safety

• Documentation

• Customer Feedback

• Builder Feedback

• Teamwork

======================================================================

FIELD RULES

1.

Only approved installation methods shall be used.

--------------------------------------------------

2.

Field engineering is prohibited without management

approval.

--------------------------------------------------

3.

Safety always takes priority over production.

--------------------------------------------------

4.

Every technician represents the Digitally Defined

brand.

--------------------------------------------------

5.

Problems shall be reported immediately.

--------------------------------------------------

6.

Every completed installation shall meet company

quality standards before leaving the project.

======================================================================

CAREER PATH

Apprentice

↓

Installation Technician

↓

Senior Technician

↓

Lead Technician

↓

Project Manager

↓

Operations Manager

======================================================================

THIS DOCUMENT REFERENCES

DD-011 Installation Standards

DD-012 Quality Control Standards

DD-015 Scheduling Standards

DD-021 Training Standards

DD-035 Company Safety Standards

DD-046 Daily Operations Standards

DD-063 Installation Production Manual

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF DOCUMENT

DD-064

======================================================================