======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-002

ROOM NAME:

Primary Bedroom

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Primary Bedroom serves as the homeowner's primary sleeping

space while also functioning as a secondary entertainment and

technology location.

This standard establishes the required infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Primary Bedroom installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Primary Bedroom shall follow this standard.

======================================================================

ROOM FUNCTION

Primary Sleeping Area

Secondary Television Location

Secondary Network Usage

Optional Audio Zone

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

1

--------------------------------------------------

ENT Conduit

1

2" ENT

Home Run to Structured Wiring Panel

--------------------------------------------------

Cat6

2

Home Run

--------------------------------------------------

RG6

1

Home Run

--------------------------------------------------

Power Bridge

Optional

Installed only when included in package

--------------------------------------------------

Equipment Location

None

(Default equipment located in structured panel.)

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Standard Coverage

--------------------------------------------------

Dedicated Access Point

Optional

Installed only when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Pair of Ceiling Speakers

--------------------------------------------------

Upgrade Option

Bedroom Audio Zone

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

None

======================================================================

SECURITY REQUIREMENTS

Optional

Motion Sensor

If required by builder package.

--------------------------------------------------

Optional

Glass Break Sensor

If required by security package.

======================================================================

ASSEMBLIES

Required

ASM-TV-001

Standard TV Infrastructure

--------------------------------------------------

Required

ASM-DATA-001

Dual Cat6

--------------------------------------------------

Required

ASM-RG6-001

Single RG6

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-AUD-001

Pair of Ceiling Speakers

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

From Package Library

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ ENT Installed

□ Pull String Installed

□ Two Cat6 Installed

□ One RG6 Installed

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Wall Plate Height

□ Cable Protection

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Additional TV Outlet

□ Additional Cat6

□ Additional RG6

□ Pair of Ceiling Speakers

□ Bedroom Audio Zone

□ TV Mount Installation

□ Concealed Wire Package

□ Smart TV Connection Package

======================================================================

ROOM DESIGN RULES

1.

Every Primary Bedroom shall contain one standard

television location.

--------------------------------------------------

2.

Every Primary Bedroom shall receive two Cat6 home

runs as the company standard.

--------------------------------------------------

3.

Every Primary Bedroom shall receive one RG6 home run

as the company standard.

--------------------------------------------------

4.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

--------------------------------------------------

5.

Equipment shall not be located inside the room unless

specified by the package.

--------------------------------------------------

6.

Only approved assemblies may be installed.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-002

======================================================================