======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-011

ROOM NAME:

Garage

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Garage serves as the primary utility, equipment, and future

expansion area for the home.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Garage installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Garage shall follow this standard.

======================================================================

ROOM FUNCTION

Utility Area

Equipment Expansion Area

Future Technology Hub

Vehicle Technology Support

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

Optional

--------------------------------------------------

ENT Conduit

1

2" ENT

Future Expansion

--------------------------------------------------

Cat6

1

Home Run

(Standard Utility Location)

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

Optional

Only when specified by approved floor plan.

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Access Point

Optional

Installed when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Pair of Garage Speakers

======================================================================

CAMERA REQUIREMENTS

Optional

Garage Interior Camera

--------------------------------------------------

Optional

Garage Exterior Camera

References Exterior Camera Standard.

======================================================================

SECURITY REQUIREMENTS

Standard

Garage Door Contact

--------------------------------------------------

Optional

Garage Motion Sensor

--------------------------------------------------

Optional

Garage Door Controller

======================================================================

SMART HOME OPTIONS

Optional

Smart Garage Door Controller

--------------------------------------------------

Optional

EV Charger Network Connection

--------------------------------------------------

Optional

Smart Utility Monitoring

======================================================================

ASSEMBLIES

Required

ASM-TUBE-001

Standard ENT Conduit

--------------------------------------------------

Required

ASM-DATA-002

Single Cat6

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-CAM-002

Garage Camera

--------------------------------------------------

Optional

ASM-SEC-002

Garage Door Contact

--------------------------------------------------

Optional

ASM-AP-001

Wireless Access Point

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ ENT Installed

□ Cat6 Installed

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Garage Door Contact Installed

(If Applicable)

□ Camera Wiring Installed

(If Applicable)

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Smart Garage Door Controller

□ EV Charger Data Connection

□ Interior Garage Camera

□ Exterior Garage Camera

□ Wireless Access Point

□ Pair of Garage Speakers

□ Utility Equipment Network Connection

□ Workshop Data Outlet

======================================================================

ROOM DESIGN RULES

1.

Every Garage shall receive one Cat6 home run as the

company standard.

--------------------------------------------------

2.

Every Garage shall receive one future expansion

conduit.

--------------------------------------------------

3.

Garage security devices shall follow approved

security package standards.

--------------------------------------------------

4.

Wireless coverage shall extend throughout the Garage.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

Garage technology shall support future homeowner

expansion without requiring structural modification.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-011

======================================================================