======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-012

ROOM NAME:

Laundry Room

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Laundry Room serves as the home's utility and appliance support

area while providing infrastructure for smart appliances, network

connectivity, and future technology expansion.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Laundry Room installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Laundry Room shall follow this standard.

======================================================================

ROOM FUNCTION

Utility Area

Smart Appliance Location

Future Expansion Area

Home Infrastructure Support

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

1

1" ENT

Future Expansion

--------------------------------------------------

Cat6

1

Home Run

(Standard Appliance Location)

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Access Point

None

Unless required by engineered wireless coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

======================================================================

CAMERA REQUIREMENTS

None

======================================================================

SECURITY REQUIREMENTS

Optional

Water Leak Sensor

--------------------------------------------------

Optional

Temperature Sensor

======================================================================

SMART HOME OPTIONS

Optional

Smart Washer Connection

--------------------------------------------------

Optional

Smart Dryer Connection

--------------------------------------------------

Optional

Water Shut-Off Valve

--------------------------------------------------

Optional

Utility Monitoring

======================================================================

ASSEMBLIES

Required

ASM-DATA-002

Single Cat6

--------------------------------------------------

Required

ASM-TUBE-002

Utility Expansion Conduit

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-SMART-001

Smart Appliance Connection

--------------------------------------------------

Optional

ASM-SEC-005

Water Leak Detection

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Cat6 Installed

□ Expansion Conduit Installed

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Leak Sensor Installed

(If Applicable)

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Smart Washer Connection

□ Smart Dryer Connection

□ Water Leak Detection

□ Automatic Water Shut-Off

□ Utility Monitoring

□ Additional Cat6

□ Future Expansion Conduit

======================================================================

ROOM DESIGN RULES

1.

Every Laundry Room shall receive one Cat6 home run

as the company standard.

--------------------------------------------------

2.

Every Laundry Room shall receive one future

expansion conduit.

--------------------------------------------------

3.

Technology shall support future smart appliances.

--------------------------------------------------

4.

Water protection devices shall be installed when

included in the selected package.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

Technology shall remain unobtrusive and serviceable.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-012

======================================================================