======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-014

ROOM NAME:

Standard Bathroom

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Standard Bathroom serves as a secondary bathroom while providing

limited technology infrastructure for future expansion and optional

smart home integration.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every secondary bathroom installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Standard Bathroom shall follow this standard.

======================================================================

ROOM FUNCTION

Secondary Bathroom

Guest Bathroom

Future Smart Device Support

Utility Space

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

None

--------------------------------------------------

Cat6

None

(Standard installation does not require data.)

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Standard Coverage

--------------------------------------------------

Dedicated Access Point

None

Unless required by engineered wireless coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Single Moisture-Rated Ceiling Speaker

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

None

Interior cameras are prohibited in bathrooms.

======================================================================

SECURITY REQUIREMENTS

Optional

Water Leak Sensor

======================================================================

SMART HOME OPTIONS

Optional

Voice Assistant

--------------------------------------------------

Optional

Smart Exhaust Fan

--------------------------------------------------

Optional

Water Leak Detection

======================================================================

ASSEMBLIES

Required

ASM-LABEL-001

Room Identification

--------------------------------------------------

Optional

ASM-AUD-011

Moisture-Rated Ceiling Speaker

--------------------------------------------------

Optional

ASM-SMART-002

Smart Bathroom Devices

--------------------------------------------------

Optional

ASM-SEC-005

Water Leak Detection

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Speaker Wiring Installed

(If Applicable)

□ Leak Sensor Installed

(If Applicable)

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Moisture-Rated Ceiling Speaker

□ Voice Assistant

□ Smart Exhaust Fan

□ Water Leak Detection

□ Whole Home Audio Integration

======================================================================

ROOM DESIGN RULES

1.

Interior surveillance devices are prohibited.

--------------------------------------------------

2.

Only moisture-rated products shall be installed in

wet environments.

--------------------------------------------------

3.

Technology shall remain discreet and maintain the

finished appearance of the room.

--------------------------------------------------

4.

Water leak detection devices shall be installed only

when included in the selected package.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All optional technology shall integrate with the

approved package selected for the home.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-014

======================================================================