======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-015

ROOM NAME:

Foyer / Entryway

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Foyer / Entryway serves as the primary entrance to the home

and the central location for visitor interaction, security

integration, and smart home access.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Foyer or Entryway installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Foyer shall follow this standard.

======================================================================

ROOM FUNCTION

Primary Home Entrance

Security Zone

Smart Home Control Area

Visitor Interaction Area

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

None

--------------------------------------------------

Cat6

1

Home Run

(Control Device Location)

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Access Point

None

Unless required by engineered wireless coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

Exterior Cameras

Reference Exterior Entry Standard

--------------------------------------------------

Interior Cameras

Not Standard

======================================================================

SECURITY REQUIREMENTS

Standard

Security Keypad Location

--------------------------------------------------

Optional

Touchscreen Control Panel

--------------------------------------------------

Optional

Video Doorbell Integration

--------------------------------------------------

Optional

Smart Door Lock

======================================================================

SMART HOME OPTIONS

Optional

Touchscreen Automation Panel

--------------------------------------------------

Optional

Voice Assistant

--------------------------------------------------

Optional

Scene Control Keypad

--------------------------------------------------

Optional

Smart Lighting Control

======================================================================

ASSEMBLIES

Required

ASM-DATA-002

Single Cat6

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-SEC-001

Security Keypad

--------------------------------------------------

Optional

ASM-SEC-003

Touchscreen Panel

--------------------------------------------------

Optional

ASM-SMART-003

Smart Home Control Station

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Cat6 Installed

□ Security Wiring Installed

□ Proper Labeling

□ Proper Wall Height

□ Device Location Verified

□ Smart Device Installed

(If Applicable)

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Touchscreen Control Panel

□ Smart Door Lock

□ Video Doorbell

□ Voice Assistant

□ Scene Controller

□ Smart Lighting Control

□ Additional Cat6

======================================================================

ROOM DESIGN RULES

1.

Every Foyer shall receive one Cat6 home run for

future smart home expansion.

--------------------------------------------------

2.

Security control devices shall be installed near the

primary entrance unless otherwise specified.

--------------------------------------------------

3.

Interior surveillance devices shall only be installed

when specifically approved by the homeowner.

--------------------------------------------------

4.

Technology shall remain clean, accessible, and

architecturally integrated.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-015

======================================================================