======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-016

ROOM NAME:

Pantry

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Pantry serves as a food storage and household utility area while

providing infrastructure for future smart home devices and inventory

management technologies.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Pantry installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Pantry shall follow this standard.

======================================================================

ROOM FUNCTION

Food Storage

Household Storage

Smart Appliance Support

Future Expansion Ready

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

None

--------------------------------------------------

Cat6

1

Home Run

(Standard Smart Device Location)

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Standard Coverage

--------------------------------------------------

Dedicated Access Point

None

Unless required by engineered wireless coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

======================================================================

CAMERA REQUIREMENTS

None

======================================================================

SECURITY REQUIREMENTS

None

======================================================================

SMART HOME OPTIONS

Optional

Smart Pantry Display

--------------------------------------------------

Optional

Inventory Scanner

--------------------------------------------------

Optional

Environmental Sensor

(Temperature / Humidity)

--------------------------------------------------

Optional

Voice Assistant

======================================================================

ASSEMBLIES

Required

ASM-DATA-002

Single Cat6

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-SMART-004

Smart Inventory Station

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Cat6 Installed

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Device Location Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Smart Pantry Display

□ Voice Assistant

□ Environmental Monitoring

□ Inventory Management Station

□ Additional Cat6

======================================================================

ROOM DESIGN RULES

1.

Every Pantry shall receive one Cat6 home run as the

company standard.

--------------------------------------------------

2.

Technology shall remain concealed whenever practical.

--------------------------------------------------

3.

Equipment shall not interfere with shelving or

storage space.

--------------------------------------------------

4.

Only approved assemblies may be installed.

--------------------------------------------------

5.

Future expansion shall be supported without requiring

structural modification.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-016

======================================================================