======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-017

ROOM NAME:

Mud Room

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Mud Room serves as the transition area between the garage and

the living space while supporting smart home devices, security

equipment, and future technology expansion.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Mud Room installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Mud Room shall follow this standard.

======================================================================

ROOM FUNCTION

Transition Area

Secondary Home Entry

Smart Home Device Location

Utility Support Area

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

None

--------------------------------------------------

Cat6

1

Home Run

(Standard Device Location)

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Standard Coverage

--------------------------------------------------

Dedicated Access Point

None

Unless required by engineered wireless coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

None

Exterior cameras reference Exterior Camera Standards.

======================================================================

SECURITY REQUIREMENTS

Optional

Secondary Security Keypad

--------------------------------------------------

Optional

Door Contact

--------------------------------------------------

Optional

Motion Sensor

======================================================================

SMART HOME OPTIONS

Optional

Smart Lighting Control

--------------------------------------------------

Optional

Touchscreen Control Panel

--------------------------------------------------

Optional

Voice Assistant

--------------------------------------------------

Optional

Package Delivery Notification Device

======================================================================

ASSEMBLIES

Required

ASM-DATA-002

Single Cat6

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-SEC-001

Security Keypad

--------------------------------------------------

Optional

ASM-SEC-002

Door Contact

--------------------------------------------------

Optional

ASM-SMART-003

Smart Home Control Station

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Cat6 Installed

□ Security Wiring Installed

(If Applicable)

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Device Locations Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Secondary Security Keypad

□ Smart Lighting Control

□ Voice Assistant

□ Touchscreen Control Panel

□ Door Contact

□ Motion Sensor

□ Additional Cat6

======================================================================

ROOM DESIGN RULES

1.

Every Mud Room shall receive one Cat6 home run as

the company standard.

--------------------------------------------------

2.

Technology shall support convenient homeowner access

without obstructing daily use.

--------------------------------------------------

3.

Security devices shall be installed only in approved

locations.

--------------------------------------------------

4.

Equipment shall remain visually clean and accessible.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-017

======================================================================