======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-018

ROOM NAME:

Mechanical / Utility Room

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Mechanical / Utility Room serves as the central location for

critical home infrastructure and supports future technology

expansion, network equipment, structured wiring, and smart home

systems.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Mechanical or Utility Room installed by Digitally

Defined.

Unless specifically overridden by an approved floor plan revision,

every Mechanical Room shall follow this standard.

======================================================================

ROOM FUNCTION

Infrastructure Support

Equipment Distribution

Structured Wiring Hub

Future Expansion Area

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

Structured Wiring Panel

Required

(Default Location)

--------------------------------------------------

Equipment Backboard

Required

3/4" Fire-Rated Plywood

--------------------------------------------------

ENT Conduit

Minimum (2)

2" ENT

Future Expansion

--------------------------------------------------

Cat6

2

Service Loops

--------------------------------------------------

RG6

1

Service Loop

--------------------------------------------------

Dedicated Equipment Power

Required

(Provided by Electrical Contractor)

======================================================================

NETWORK REQUIREMENTS

Primary Network Equipment

Located Here

--------------------------------------------------

Patch Panel

Located Here

--------------------------------------------------

Network Switch

Located Here

--------------------------------------------------

Router

Located Here

--------------------------------------------------

UPS Battery Backup

Optional

======================================================================

AUDIO OPTIONS

Optional

Audio Distribution Hub

======================================================================

CAMERA REQUIREMENTS

Optional

NVR Installation

======================================================================

SECURITY REQUIREMENTS

Optional

Security Panel

--------------------------------------------------

Optional

Alarm Communication Module

======================================================================

SMART HOME OPTIONS

Optional

Automation Controller

--------------------------------------------------

Optional

Lighting Processor

--------------------------------------------------

Optional

Audio Matrix

--------------------------------------------------

Optional

Rack Cooling System

======================================================================

ASSEMBLIES

Required

ASM-RACK-001

Structured Wiring Panel

--------------------------------------------------

Required

ASM-DATA-004

Network Equipment Area

--------------------------------------------------

Required

ASM-TUBE-003

Expansion Conduit

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-UPS-001

Battery Backup

--------------------------------------------------

Optional

ASM-SEC-010

Security Panel

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

From Package Library

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Structured Wiring Panel Installed

□ Backboard Installed

□ Expansion Conduit Installed

□ Equipment Mounted Properly

□ Service Loops Maintained

□ Cable Management Complete

□ Labeling Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Full Equipment Rack

□ UPS Battery Backup

□ Rack Cooling System

□ Security Panel

□ Audio Distribution Hub

□ Home Automation Controller

□ Additional Expansion Conduits

□ Fiber Backbone

======================================================================

ROOM DESIGN RULES

1.

Every home shall have one designated technology

distribution location.

--------------------------------------------------

2.

The Mechanical Room is the preferred location unless

otherwise specified by the approved floor plan.

--------------------------------------------------

3.

All structured wiring shall terminate in this room.

--------------------------------------------------

4.

Equipment shall be mounted to approved company

standards.

--------------------------------------------------

5.

Future expansion space shall always be preserved.

--------------------------------------------------

6.

Only approved assemblies may be installed.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

DD-063 Installation Production Manual

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-018

======================================================================