======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-024

ROOM NAME:

Outdoor Kitchen

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Outdoor Kitchen serves as an exterior cooking and entertainment

area while supporting outdoor television, audio, networking, and

future smart outdoor living technologies.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Outdoor Kitchen installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Outdoor Kitchen shall follow this standard.

======================================================================

ROOM FUNCTION

Outdoor Cooking Area

Entertainment Space

Outdoor Audio Zone

Future Expansion Ready

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

1 Optional

--------------------------------------------------

ENT Conduit

1

2" ENT

Home Run to Structured Wiring Panel

--------------------------------------------------

Cat6

2

Home Run

--------------------------------------------------

RG6

1

Home Run

--------------------------------------------------

Power Bridge

Optional

Weather-Rated

--------------------------------------------------

Equipment Location

None

(Default equipment located inside the home.)

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Outdoor Access Point

Recommended

Installed when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

One Pair Outdoor Speakers

--------------------------------------------------

Upgrade Option

Two Pair Outdoor Speakers

--------------------------------------------------

Upgrade Option

Outdoor Subwoofer

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

Optional

Outdoor Camera

References Exterior Camera Standards.

======================================================================

SECURITY REQUIREMENTS

Optional

Motion Lighting Integration

--------------------------------------------------

Optional

Outdoor Motion Detection

======================================================================

SMART HOME OPTIONS

Optional

Outdoor Touchscreen

--------------------------------------------------

Optional

Smart Grill Connection

--------------------------------------------------

Optional

Voice Assistant

--------------------------------------------------

Optional

Outdoor Lighting Control

======================================================================

ASSEMBLIES

Required

ASM-TUBE-001

Standard ENT Conduit

--------------------------------------------------

Required

ASM-DATA-001

Dual Cat6

--------------------------------------------------

Optional

ASM-TV-002

Outdoor Television Location

--------------------------------------------------

Optional

ASM-RG6-001

Single RG6

--------------------------------------------------

Optional

ASM-AUD-010

Outdoor Speaker Pair

--------------------------------------------------

Optional

ASM-AP-002

Outdoor Wireless Access Point

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ ENT Installed

□ Pull String Installed

□ Two Cat6 Installed

□ RG6 Installed

□ Weather-Rated Components Installed

□ Exterior Penetrations Properly Sealed

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Outdoor Television

□ Outdoor Speaker Package

□ Outdoor Subwoofer

□ Outdoor Wireless Access Point

□ Exterior Camera

□ Smart Grill Connection

□ Voice Assistant

□ Outdoor Touchscreen

□ Smart Lighting Control

□ Additional Cat6

======================================================================

ROOM DESIGN RULES

1.

Every Outdoor Kitchen shall receive one ENT conduit.

--------------------------------------------------

2.

Every Outdoor Kitchen shall receive two Cat6 home

runs as the company standard.

--------------------------------------------------

3.

Every Outdoor Kitchen shall receive one RG6 home run

when a television location is included.

--------------------------------------------------

4.

Only weather-rated products shall be installed in

exterior environments.

--------------------------------------------------

5.

All exterior penetrations shall be sealed to prevent

water intrusion.

--------------------------------------------------

6.

Only approved assemblies may be installed.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-024

======================================================================