======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-027

ROOM NAME:

Wine Room / Wine Cellar

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Wine Room / Wine Cellar serves as a climate-controlled storage

and entertainment space while supporting environmental monitoring,

accent lighting, distributed audio, and future smart home

integration.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Wine Room or Wine Cellar installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Wine Room shall follow this standard.

======================================================================

ROOM FUNCTION

Wine Storage

Entertainment Space

Environmental Monitoring

Luxury Feature Area

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

Optional

--------------------------------------------------

ENT Conduit

1

1" ENT

Home Run to Structured Wiring Panel

--------------------------------------------------

Cat6

2

Home Run

--------------------------------------------------

RG6

Optional

Installed only when television location is included.

--------------------------------------------------

Power Bridge

Optional

Installed only when television package is selected.

--------------------------------------------------

Equipment Location

None

(Default equipment located in structured wiring panel.)

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Access Point

Optional

Installed only when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Pair of In-Ceiling Speakers

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

Optional

Inventory Monitoring Camera

(Customer approval required.)

======================================================================

SECURITY REQUIREMENTS

Optional

Door Contact

--------------------------------------------------

Optional

Temperature Alert

--------------------------------------------------

Optional

Humidity Alert

======================================================================

SMART HOME OPTIONS

Optional

Climate Monitoring

--------------------------------------------------

Optional

Temperature Sensor

--------------------------------------------------

Optional

Humidity Sensor

--------------------------------------------------

Optional

Accent Lighting Control

--------------------------------------------------

Optional

Voice Assistant

======================================================================

ASSEMBLIES

Required

ASM-TUBE-002

Utility Conduit

--------------------------------------------------

Required

ASM-DATA-001

Dual Cat6

--------------------------------------------------

Optional

ASM-TV-002

Television Location

--------------------------------------------------

Optional

ASM-RG6-001

Single RG6

--------------------------------------------------

Optional

ASM-AUD-001

Pair of Ceiling Speakers

--------------------------------------------------

Optional

ASM-SMART-005

Environmental Monitoring

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ ENT Installed

□ Pull String Installed

□ Two Cat6 Installed

□ Environmental Sensor Wiring Installed

(If Applicable)

□ Proper Stapling

□ Proper Bend Radius

□ Proper Labeling

□ Climate Device Locations Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Television Location

□ Additional Cat6

□ Environmental Monitoring

□ Temperature Alerts

□ Humidity Monitoring

□ Ceiling Speaker Package

□ Accent Lighting Control

□ Voice Assistant

□ Inventory Monitoring Camera

======================================================================

ROOM DESIGN RULES

1.

Every Wine Room shall receive one ENT conduit for

future expansion.

--------------------------------------------------

2.

Every Wine Room shall receive two Cat6 home runs as

the company standard.

--------------------------------------------------

3.

Technology shall not interfere with climate control

equipment.

--------------------------------------------------

4.

Environmental monitoring devices shall be installed

only in approved locations.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-027

======================================================================