======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-030

ROOM NAME:

Stairway

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Stairway serves as the primary vertical circulation path between

levels of the home while supporting wireless coverage, life safety,

security devices, and future smart home automation.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Stairway installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Stairway shall follow this standard.

======================================================================

ROOM FUNCTION

Vertical Circulation

Life Safety Zone

Wireless Transition Area

Smart Lighting Area

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

None

--------------------------------------------------

Cat6

None

(Standard installation not required.)

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Access Point

Optional

Installed only when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

None

Interior cameras installed only by homeowner request

and management approval.

======================================================================

SECURITY REQUIREMENTS

Optional

Motion Sensor

--------------------------------------------------

Optional

Smoke / CO Interface

(Reference Life Safety Standards.)

======================================================================

SMART HOME OPTIONS

Optional

Occupancy Sensor

--------------------------------------------------

Optional

Automatic Stair Lighting

--------------------------------------------------

Optional

Smart Lighting Scene Controller

======================================================================

ASSEMBLIES

Required

ASM-LABEL-001

Room Identification

--------------------------------------------------

Optional

ASM-AP-001

Wireless Access Point

--------------------------------------------------

Optional

ASM-SEC-004

Motion Sensor

--------------------------------------------------

Optional

ASM-SMART-006

Occupancy Sensor

--------------------------------------------------

Optional

ASM-SMART-007

Smart Stair Lighting

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Motion Sensor Installed

(If Applicable)

□ Occupancy Sensor Installed

(If Applicable)

□ Access Point Installed

(If Applicable)

□ Proper Mounting Height

□ Proper Labeling

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Motion Sensor

□ Wireless Access Point

□ Smart Stair Lighting

□ Occupancy Sensor

□ Night Lighting Automation

□ Scene Lighting Controller

======================================================================

ROOM DESIGN RULES

1.

Stairways shall remain free of unnecessary visible

technology.

--------------------------------------------------

2.

Life safety devices shall comply with applicable

building codes.

--------------------------------------------------

3.

Wireless coverage shall be maintained between floor

levels.

--------------------------------------------------

4.

Technology shall never create trip hazards or impede

safe travel.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All optional technology shall integrate with the

approved package selected for the home.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-030

======================================================================