======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-031

ROOM NAME:

Front Porch

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Front Porch serves as the home's primary exterior entry area

while supporting visitor communication, security, surveillance,

lighting automation, and smart home integration.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Front Porch installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Front Porch shall follow this standard.

======================================================================

ROOM FUNCTION

Primary Entrance

Visitor Communication

Security Zone

Exterior Smart Home Area

======================================================================

STANDARD INFRASTRUCTURE

Video Doorbell

1

Required

--------------------------------------------------

Cat6

1

Home Run

(Video Doorbell / Future Device)

--------------------------------------------------

ENT Conduit

1

1" ENT

Future Expansion

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Access Point

Optional

Installed only when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Door Chime Integration

--------------------------------------------------

Upgrade Option

Outdoor Speaker

======================================================================

CAMERA REQUIREMENTS

Standard

Front Entry Camera

(Video Doorbell or Dedicated Camera)

--------------------------------------------------

Optional

Additional Porch Camera

======================================================================

SECURITY REQUIREMENTS

Required

Door Contact

--------------------------------------------------

Optional

Motion Detector

--------------------------------------------------

Optional

Smart Lock Integration

======================================================================

SMART HOME OPTIONS

Optional

Video Doorbell

--------------------------------------------------

Optional

Smart Lock

--------------------------------------------------

Optional

Package Detection

--------------------------------------------------

Optional

Smart Lighting

======================================================================

ASSEMBLIES

Required

ASM-DATA-002

Single Cat6

--------------------------------------------------

Required

ASM-CAM-001

Front Entry Camera

--------------------------------------------------

Required

ASM-SEC-002

Door Contact

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

--------------------------------------------------

Optional

ASM-SMART-008

Smart Entry System

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Cat6 Installed

□ Expansion Conduit Installed

□ Camera Installed

□ Door Contact Installed

□ Smart Lock Installed

(If Applicable)

□ Proper Labeling

□ Exterior Sealant Applied

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Smart Door Lock

□ Video Doorbell

□ Additional Camera

□ Motion Sensor

□ Smart Lighting

□ Wireless Access Point

□ Outdoor Speaker

======================================================================

ROOM DESIGN RULES

1.

Every Front Porch shall include one front entry

camera location.

--------------------------------------------------

2.

Every Front Porch shall include one Cat6 home run.

--------------------------------------------------

3.

All exterior devices shall be weather-rated.

--------------------------------------------------

4.

All wall penetrations shall be sealed against water

intrusion.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-031

======================================================================