======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-032

ROOM NAME:

Rear Yard / Backyard

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Rear Yard / Backyard serves as the primary outdoor recreation

and entertainment space while supporting wireless coverage,

security surveillance, landscape audio, lighting automation, and

future outdoor technology expansion.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Rear Yard installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Rear Yard shall follow this standard.

======================================================================

ROOM FUNCTION

Outdoor Recreation Area

Entertainment Space

Security Zone

Landscape Technology Area

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

Optional

--------------------------------------------------

ENT Conduit

2

2" ENT

Future Expansion

--------------------------------------------------

Cat6

2

Home Run

--------------------------------------------------

RG6

Optional

Installed only when outdoor television is included.

--------------------------------------------------

Power Bridge

Optional

Weather-Rated

--------------------------------------------------

Equipment Location

None

(Default equipment located inside the home.)

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Outdoor Access Point

Recommended

Installed when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Landscape Speaker System

--------------------------------------------------

Upgrade Option

Patio Speaker Pair

--------------------------------------------------

Upgrade Option

Outdoor Subwoofer

--------------------------------------------------

Upgrade Option

Whole Home Audio Integration

======================================================================

CAMERA REQUIREMENTS

Recommended

Rear Yard Camera

--------------------------------------------------

Optional

Pool Camera

--------------------------------------------------

Optional

Gate Camera

======================================================================

SECURITY REQUIREMENTS

Optional

Motion Detection

--------------------------------------------------

Optional

Gate Contact

--------------------------------------------------

Optional

Perimeter Monitoring

======================================================================

SMART HOME OPTIONS

Optional

Landscape Lighting Control

--------------------------------------------------

Optional

Irrigation Integration

--------------------------------------------------

Optional

Pool Automation

--------------------------------------------------

Optional

Voice Assistant

======================================================================

ASSEMBLIES

Required

ASM-TUBE-003

Future Expansion Conduit

--------------------------------------------------

Required

ASM-DATA-001

Dual Cat6

--------------------------------------------------

Optional

ASM-CAM-004

Rear Yard Camera

--------------------------------------------------

Optional

ASM-AUD-010

Landscape Audio

--------------------------------------------------

Optional

ASM-AP-002

Outdoor Wireless Access Point

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Expansion Conduit Installed

□ Two Cat6 Installed

□ Exterior Devices Weather Protected

□ Exterior Penetrations Sealed

□ Camera Wiring Installed

(If Applicable)

□ Speaker Wiring Installed

(If Applicable)

□ Proper Labeling

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Rear Yard Camera

□ Pool Camera

□ Gate Camera

□ Outdoor Television

□ Landscape Audio

□ Outdoor Subwoofer

□ Wireless Access Point

□ Landscape Lighting Control

□ Pool Automation

□ Irrigation Integration

======================================================================

ROOM DESIGN RULES

1.

Every Rear Yard shall receive two future expansion

conduits where practical.

--------------------------------------------------

2.

Wireless coverage shall extend across all primary

outdoor living areas.

--------------------------------------------------

3.

All exterior products shall be weather-rated.

--------------------------------------------------

4.

All exterior penetrations shall be sealed against

water intrusion.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-032

======================================================================