======================================================================

DIGITALLY DEFINED

ROOM STANDARDS LIBRARY

ROOM STANDARD

ROOM ID:

ROOM-033

ROOM NAME:

Front Yard / Landscape

VERSION:

1.0

STATUS:

FROZEN

======================================================================

PURPOSE

The Front Yard serves as the primary exterior presentation of the

home while supporting security surveillance, pathway lighting,

landscape automation, visitor access, and future smart exterior

technology.

This standard establishes the required technology infrastructure,

installation requirements, assembly assignments, and upgrade paths

for every Front Yard installed by Digitally Defined.

Unless specifically overridden by an approved floor plan revision,

every Front Yard shall follow this standard.

======================================================================

ROOM FUNCTION

Home Exterior

Security Zone

Landscape Technology

Visitor Approach

======================================================================

STANDARD INFRASTRUCTURE

Television Locations

None

--------------------------------------------------

ENT Conduit

2

2" ENT

Future Landscape Expansion

--------------------------------------------------

Cat6

2

Home Run

--------------------------------------------------

RG6

None

--------------------------------------------------

Power Bridge

None

--------------------------------------------------

Equipment Location

None

======================================================================

NETWORK REQUIREMENTS

Wireless Coverage

Required

--------------------------------------------------

Dedicated Outdoor Access Point

Optional

Installed when required by engineered wireless

coverage plan.

======================================================================

AUDIO OPTIONS

Builder Standard

None

--------------------------------------------------

Upgrade Option

Landscape Speaker System

--------------------------------------------------

Upgrade Option

Entry Audio Zone

======================================================================

CAMERA REQUIREMENTS

Required

Front Elevation Camera

--------------------------------------------------

Optional

Driveway Camera

--------------------------------------------------

Optional

Gate Camera

======================================================================

SECURITY REQUIREMENTS

Optional

Perimeter Motion Detection

--------------------------------------------------

Optional

Vehicle Gate Contact

--------------------------------------------------

Optional

Package Detection Camera

======================================================================

SMART HOME OPTIONS

Optional

Landscape Lighting Control

--------------------------------------------------

Optional

Holiday Lighting System

--------------------------------------------------

Optional

Irrigation Monitoring

--------------------------------------------------

Optional

Smart Mailbox Notification

======================================================================

ASSEMBLIES

Required

ASM-TUBE-003

Future Expansion Conduit

--------------------------------------------------

Required

ASM-DATA-001

Dual Cat6

--------------------------------------------------

Required

ASM-CAM-005

Front Elevation Camera

--------------------------------------------------

Optional

ASM-AUD-010

Landscape Audio

--------------------------------------------------

Optional

ASM-AP-002

Outdoor Wireless Access Point

--------------------------------------------------

Required

ASM-LABEL-001

Cable Identification

======================================================================

LABOR

Automatically Generated

Prewire

From Assembly Library

--------------------------------------------------

Trim

From Assembly Library

--------------------------------------------------

Equipment

If Applicable

--------------------------------------------------

Programming

If Applicable

======================================================================

PRODUCTS

Automatically Generated

No manual product selection permitted.

======================================================================

QUALITY CONTROL

Verify

□ Expansion Conduit Installed

□ Two Cat6 Installed

□ Exterior Devices Weather Protected

□ Camera Wiring Installed

□ Exterior Penetrations Sealed

□ Proper Labeling

□ Landscape Device Locations Verified

□ Photo Documentation

======================================================================

AVAILABLE UPGRADES

□ Driveway Camera

□ Gate Camera

□ Landscape Speaker System

□ Wireless Access Point

□ Landscape Lighting Control

□ Holiday Lighting System

□ Smart Mailbox Notification

□ Irrigation Monitoring

======================================================================

ROOM DESIGN RULES

1.

Every Front Yard shall receive two future expansion

conduits where practical.

--------------------------------------------------

2.

Security camera placement shall maximize property

coverage while respecting homeowner privacy.

--------------------------------------------------

3.

All exterior devices shall be weather-rated.

--------------------------------------------------

4.

All exterior penetrations shall be sealed against

water intrusion.

--------------------------------------------------

5.

Only approved assemblies may be installed.

--------------------------------------------------

6.

All wiring shall terminate in the structured wiring

location unless otherwise engineered.

======================================================================

RELATED DOCUMENTS

DD-055 Floor Plan Library

DD-056 Builder Package Catalog

DD-058 Assembly Standards Library

DD-059 Upgrade Catalog

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ROOM STANDARD

ROOM-033

======================================================================